## Slide 1: Laboratory Diagnostics in Hepatitis C Elimination Program
George Kamkamidze, MD, PhD, MS
Clinic NeoLab & Health Research Union
4th Annual Hepatitis C Elimination Workshop
Tbilisi, Georgia
9-10 March 2017

## Slide 2: Minimum Requirement For Laboratory in Quality Management, Hepatitis C Elimination Program
Laboratory internal quality control system
  standard operating procedures approved for each laboratory test
Technical resources for conducting necessary laboratory tests
Personnel certified by rules under current legislation
Ability to provide the tests results within 5 working days
Ability to maintain patient records with test results for at least 2 years
Capacity and experience to conduct all tests in the Program

## Slide 3: Public Health Laboratory Infrastructure
Laboratory Network of the National Center for Disease Control and Public Health (NCDC) is core institution in infectious disease pathogen
NCDC National Laboratory, Lugar Center, located in Tbilisi
Network laboratories are spread throughout the country based on population density and disease prevalence.
  2 Zonal Diagnostic Laboratories (ZDL): Adjara (Batumi) and Imereti (Kutaisi).
  7 Laboratory Support Stations (LSS): Kakheti, Shida Kartli, Samtskhe-Javakheti, Guria, Racha, Samegrelo – Zemo Svaneti regions and the port of Poti.
Laboratory network activities include surveillance, sentinel-site based active surveillance, outbreak response, and public health campaigns.

## Slide 4: New Testing Algorithm, Hepatitis C Elimination Program (March 1, 2017)
Step 1
HCV seropositive patients are tested by HCV RNA Real-time PCR assay
Step 2
Patients positive on HCV RNA are tested for CBC, ALT AST
Step 3
HCV genotyping, HBsAg, Anti-HBc Total, Bil (Total, Direct), g-GT, ALP, Creatinine, Glucose, Albumin, INR.
FIB4 is calculated by patient’s age, ALT, AST, & platelet count
+ TSH for Interferon containing regimen
Current Activities

## Slide 5: New treatment monitoring algorithm for regimen without ribavirin (March 1, 2017)
Treatment week | 4th week | 8th week | 12th week (EOT) | SVR (12 week after EOT)
HCV RNA quantitative | X |  |  | X
CBC | X |  | X | 
ALT | X | X | X | 
Creatinine |  |  | X | 
Bilirubin |  |  | X | 

## Slide 6: New treatment monitoring algorithm for regimen with ribavirin (March 1, 2017)
Treatment week | 4th week | 8th week | 12th week (EOT) | SVR (12 week after EOT)
HCV RNA quantitative | X |  |  | X
CBC | X | X | X | 
ALT | X | X | X | 
Creatinine |  |  | X | 
Bilirubin |  |  | X | 

## Slide 7: New treatment monitoring algorithm for regimen with interferon (12wks) (March 1, 2017)
Treatment week | 4th week | 8th week | 12th week (EOT) | SVR (12 week after EOT)
HCV RNA quantitative | X |  |  | X
CBC | X | X | X | 
ALT | X | X | X | 
Creatinine |  |  | X | 
Bilirubin |  |  | X | 
TSH |  |  | X | 

## Slide 8: New treatment monitoring algorithm for regimen with interferon (24 wks) (March 1, 2017)
Treatment week | 4th wk. | 8th wk. | 12th wk. | 16th wk. | 20th wk. | 24th week (EOT) | SVR (12 week after EOT)
HCV RNA quantitative | X |  |  |  |  |  | X
CBC | X | X | X | X | X | X | 
ALT | X | X | X | X | X | X | 
Creatinine |  |  | X |  |  | X | 
Bilirubin |  |  | X |  |  | X | 
TSH |  |  | X |  |  | X | 

## Slide 9: Current Activities (cont.)
Screening on HIV and HCV antibodies has been implemented at the provider clinics
Implementation of optimized laboratory diagnostics algorithm (with reduced number and overall cost of tests for monitoring antiviral treatment process and outcome)

## Slide 10: Current Activities (cont.)
Laboratory Working Group at the MoLHSA has developed the regulatory document for licensing of laboratory service providers
Decree # 320 of July 11, 2016
Posted at: http://www.moh.gov.ge/index.php?lang_id=GEO&sec_id=756
New regulations on the laboratory certification system
Implementation started since January 1, 2017
The EQA system is in the process of implementation

## Slide 11: Current Activities (cont.)
New regulations include:
General technical requirements for labs at in-patient and out-patient settings
Specific requirements for the following directions:
  Clinical lab. / Hematology
  Biochemistry
  Immunology / Serology
  Microbiology / Bacteriology
  Molecular diagnostics
Pre-analytical and analytical SOPs
Biosafety procedures
QC/QA plan

## Slide 12: Georgia HCV Elimination / Project ECHO Established collaboration ! Including discussion of complicated cases in HCV laboratory diagnostics
Hubs (since Feb 2016): Clinic “Mrcheveli”
Clinic “NeoLab”
Launched in September 2016:
Expanding Network of Participating Clinics
in Tbilisi, Kutaisi, Rustavi and Gori.

## Slide 13: Gaps
Laboratory quality control is limited;
Test kits vary by time and availability from the suppliers; most test kits have not been validated;
No unified standard procedures have been identified for participating laboratories;
External Quality Assessment (EQA) has not been implemented yet
Laboratory personnel are not provided systematic training in biosafety procedures and standards.

## Slide 14: Proposed Actions/Next Steps
Establish a unified system of laboratory quality assurance;
Implement External Quality Assessment (EQA) system
Implement National Laboratory Certification System;
Implement the National Program of Competency Assessment in Laboratory Medicine;
Conduct research activities (now regulated by Scientific Committee established on August 31, 2016).

## Slide 15
Objective | Indicator | Measurement | Data Source | Frequency
4.1 Improve laboratory detection of HCV infection | 1. Proportion of labs providing HCV lab services for Hepatitis C Elimination Program that are registered in the National Laboratory Registry | Numerator: Number of laboratories performing HCV laboratory services that are registered in the National Laboratory Registry Denominator: A total number of laboratories performing hepatitis C laboratory services | MoLHSA Data will be available for May 2017 | Annually
 | 2. Lugar center is functioning as a EQA provider for hepatitis C laboratory services | N/A | NCDC | One-off
 | 3. Proportion of labs providing HCV lab services for Hepatitis C Elimination Program that are enrolled in the National Hepatitis C External Quality Assurance (EQA) program | Numerator: Number of laboratories performing HCV laboratory services that are enrolled in national hepatitis C External Quality Assurance (EQA) program Denominator: A total number of laboratories performing hepatitis C laboratory services | NCDC Data will be available for December 2017 | Annually

## Slide 16
Objective | Indicator | Measurement | Data Source | Frequency
4.1 Improve laboratory detection of HCV infection | 4. Quality Management System standards for certification are defined, approved and published |  | Published QMS standards MoLHSA | One-off
 | 5. Proportion of labs providing HCV lab services for Hepatitis C Elimination Program that are certified according to national laboratory Quality Management System (QMS) standards | Numerator: Number of laboratories performing HCV laboratory services that are certified according to QMS standards Denominator: A total number of laboratories performing HCV lab services | MoLHSA Data will be available for December 2017 | Annually

## Slide 17: Thank you !
Acknowledgements:
Gilead Sciences
US CDC team
ECHO and L.I.F.E.R teams
MoLHSA and NCDC
Special thanks to :
Jan Drobeniuc, MD, PhD
Beth Skaggs, PhD