დანართი

| № | ტესტის დასახელება | კატალოგის ნომერი | ტესტების რაოდენობა |
| --- | --- | --- | --- |
| 1 | AB-Serum, antibody-free dilution medium, suspension medium and reagent for internal quality control in blood serological tests | 805 135 | 10 მლ |
| 2 | Seraclone™ Control ABO+Rh, negative control for monoclonal ABO and Rh reagents (Seraclone™) | 805 171 | 10 მლ |
| 3 | Erytype™ S ABO+D single, for determination of ABO, RhD and reverse typing Anti-A/-B/-AB/-D/negative control/A1/B/O | 806 107 | 10 პლანშეტი |
| 4 | Erytype™ S ABD Confirmation I, for ABO and RhD confirmation Anti-A/-B/-D/negative control/Anti-A/-B/-D/negative control | 806 110 | 10 პლანშეტი |
| 5 | Erytype™ S ABD Confirmation II, for ABO and RhD confirmation (detection with the 2. monoclonal cell line) Anti-A/-B/-D/negative control/Anti-A/-B/-D/negative control | 806 112 | 10 პლანშეტი |
| 6 | Erytype™ S ABO, for determination of ABO and reverse typing Anti-A/-B/-AB/negative control/A1/A2/B/O | 806 115 | 10 პლანშეტი |
| 7 | Erytype™ S ABD+Rev. A1, B, O, for determination of ABO and RhD (double typing with 2 monoclonal Anti-D reagents) Anti-A/-B/-D/-D/negative control/A1/B/O | 806 125 | 10 პლანშეტი |

| 8 | Erytype™ S ABD+Rev. A1, B, for determination of ABO and RhD (double typing with 2 monoclonal Anti-D reagents) [Anti-A/-B/-AB/-D/-D/negative control/A1/B | 806 127 | 10 პლანშეტი |
| --- | --- | --- | --- |
| 9 | Erytype™ S CDE+K, for Rh subtyping and determination of Kell (double typing with 2 monoclonal Anti-K reagents) Anti-CDE/-K/-K/negative control/Anti-CDE/-K/-K/negative control | 806 155 | 10 პლანშეტი |
| 10 | Erytype™ S Rh(D), for determination of RhD and CDE (double typing with 2 monoclonal Anti-D reagents) [Anti-D/-D/-CDE/negative control/Anti-D/-D/-CDE/negative control | 806 165 | 10 პლანშეტი |
| 11 | Erytype™ S Rh+K reagent I, for Rh subtyping and determination of Cw and Kell Anti-D/-C/-c/-E/-e/-Cw/-K/negative control | 806 180 | 10 პლანშეტი |
| 12 | Erytype™ S Rh+K, for Rh subtyping and determination of Kell (double typing with 2 monoclonal Anti-K reagents) Anti-D/-C/-c/-E/-e/-K/-K/negative control | 806 181 | 10 პლანშეტი |
| 13 | Erytype™ S Rh+K reagent II, for Rh subtyping and determination of Cw and Kell (detection with the 2. monoclonal cell line) Blank/Anti-C/-c/-E/-e/-Cw/-K/negative control | 806 186 | 10 პლანშეტი |
| 14 | Solidscreen™ II-Control, positive control (Anti-D) for Solidscreen™ II | 806 514 | 4 მლ |
| 15 | Coombscell-E*, IgG loaded erythrocytes for control of the antiglobulin test | 816 030 | 10 მლ |
| 16 | Control Set E, red cells for quality control of Rh (including weak D) reagent and Kell antisera | 816 033 | 5X5 მლ |
| 17 | Control Set S, test sera for quality control in antibody detection and compatibility testing | 816 036 | 3X10 მლ |
| 18 | Coombszym-K, positive control reagent for internal quality control of antiglobulin and enzyme test | 816 040 | 10 მლ |
| 19 | Washing Solution Concentrate (washing buffer concentrate (5x) for tests performed on Solidscreen™ II plates) | 848 000 090 | 6X1000 მლ |
| 20 | Bromelin, for enzyme treatment of red cells in antibody detection | 805 012 | 10 მლ |
| 21 | Papain, lyophilized reagent for enzyme testing for the detection of red cells antibodies | 805 030 | 5 მლ |
| 22 | MLB 2, modified LISS solution, suspension medium for red cells | 805 200 | 50 მლ |
| 23 | MLB 2, modified LISS solution, suspension medium for red cells | 805 205 | 10X10 მლ |
| 24 | Bromelin Erytype ready to use, for enzyme treatment of red cells in blood typing with Erytype and Erytype S | 806 220 | 10X50 მლ |
| 25 | Alsevers F, modified Alsevers solution, for suspension and stabilization of red cells, contains fungicide | 806 505 | 50 მლ |
| 26 | Alsevers F, modified Alsevers solution, for suspension and stabilization of red cells, contains fungicide | 806 506 | 1,000 მლ |
| 27 | Titrations medium Solidscreen II, for titer determination of antibodies | 806 511 | 50 მლ |
| 28 | Solidscreen II Strip | 806 521 | 10 პლანშეტი |