## HospitalEq (Tenders)
# | HOSPITAL EQUIPMENT | UNOPS | Total Amount Requested | The First University Clinic of TSMU | Batumi Clinical Hospital | N.Kipshidze Central University Clinic (Rukhi) | „Regional Healthcare Center“ Kutaisi | SACHKHERE REGIONAL HOSPITAL- POLICLINICAL UNIFICATION | Infectious Diseases, AIDS and Clinical Immunology Research Centre
30 | Angiography system equipment | LOCAL /International TENDER | 2 |  | 1 | 1
31 | C-arm Mobile X-Ray | LOCAL /International TENDER | 2 |  | 1 | 1
32 | MRI system machine, 3T | LOCAL /International TENDER | 2 |  | 1 | 1
| OR |  | 0
49 | An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized | LOCAL /International TENDER | 7 |  | 3 | 3 | 1
51 | Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit. | LOCAL /International TENDER | 13 |  | 7 | 3 | 3
52 | Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod. | LOCAL /International TENDER | 13 |  | 7 | 3 | 3
| Radiology Unit |  | 0
| Clinical Laboratory |  | 0
60 | Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes | LOCAL /International TENDER | 3 |  | 1 | 1 |  |  | 1
61 | Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately) | LOCAL /International TENDER | 4 |  | 1 | 1 | 1 |  | 1
62 | automatic Immunological analyzer, (list of reagents provided separately) | LOCAL /International TENDER | 3 |  | 1 | 1 |  |  | 1
63 | Coagulometer, automatic | LOCAL /International TENDER | 2 |  | 1 | 1
64 | Urine analyzer, automatic | LOCAL /International TENDER | 2 |  | 1 | 1
65 | Centrifuge, 10-1500 rpm; general | LOCAL /International TENDER | 2 |  | 1 | 1
66 | Centrifuge, for small samples 2-20000b / min | LOCAL /International TENDER | 2 |  | 1 | 1
67 | Pipette set (should include 5 mcg - 1000 mcl, with different scales) | LOCAL /International TENDER | 2 |  | 1 | 1
68 | Dispenser, for adjustable dosing | LOCAL /International TENDER | 2 |  | 1 | 1
| Freezer 20 degree | LOCAL /International TENDER | 4 | [5 empty] | 4
| Freezer 80 degree | LOCAL /International TENDER | 3 | [5 empty] | 3
| refrigerator | LOCAL /International TENDER | 6 | [5 empty] | 6
69 | Laboratory Scale | LOCAL /International TENDER | 2 |  | 1 | 1
WARDS
STERILAZATION
83 | 2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials | LOCAL /International TENDER | 7 |  | 2 | 3 |  | 2
84 | Plasma sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization. | LOCAL /International TENDER | 4 |  | 1 | 2 |  | 1
85 | Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers) | LOCAL /International TENDER | 5 |  | 2 | 2 |  | 1
86 | Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set | LOCAL /International TENDER | 8 |  | 3 | 1 |  | 4
87 | Ultrasonic washer, capacity 20 l or more | LOCAL /International TENDER | 4 |  | 1 | 2 |  | 1
| other items - sterilisation (specification separately) | LOCAL /International TENDER | 2 |  | 1 | 0 |  | 1
88 | Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers | LOCAL /International TENDER | 6 |  | 2 | 2 |  | 2
| Other specific Items for COVID-19 Intensive Care |  | 0
89 | A multifunctional system for all treatment modes in therapeutic apheresis | LOCAL /International TENDER | 2 |  | 1 |  |  |  | 1
90 | ECMO - Extracorporeal Membrane Oxygenation | LOCAL /International TENDER | 2 |  |  | 1 |  |  | 1
91 | Universal Ultrusound diagnoistic system Convex, linear and cardiac transducers and with liver elastograph | LOCAL /International TENDER | 1 | [5 empty] | 1
93 | Electric Impedance Tomography EIT system | LOCAL /International TENDER | 1 | [5 empty] | 1
SUM

## HospitalEq (RFQs)
# | HOSPITAL EQUIPMENT | UNOPS | Total Amount Requested | The First University Clinic of TSMU | Batumi Clinical Hospital | N.Kipshidze Central University Clinic (Rukhi) | „Regional Healthcare Center“ Kutaisi | SACHKHERE REGIONAL HOSPITAL- POLICLINICAL UNIFICATION | Infectious Diseases, AIDS and Clinical Immunology Research Centre
7 | central monitoring station: connects at least 30 monitors | To be procured via Local RFQ. | 2 |  | 2
12 | negatoscope 35*43 | Small Procurement, Can be purchased locally directly | 8 | 3 |  | 5
15 | pressure infusion bag | Small Procurement, Can be purchased locally directly | 68 |  |  | 68
18 | LED mobile lights for operation cabinet | Small Procurement, Can be purchased locally via RFQ | 17 |  | 15 | 2
19 | Video laryngoscope with different sized blades 2-2 pieces with multiple blades | Small Procurement, Can be purchased locally via RFQ | 9 | 1 | 4 | 4
20 | Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | Small Procurement, Can be purchased locally via RFQ | 12 | 5 |  | 7
21 | Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | Small Procurement, Can be purchased locally via RFQ | 4 |  |  | 4
22 | Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | Small Procurement, Can be purchased locally via RFQ | 2 |  |  | 2
23 | Ambu - Masks for adults | Small Procurement, Can be purchased locally via RFQ | 65 | 8 |  | 57
24 | Ambu - Masks pediatric | Small Procurement, Can be purchased locally via RFQ | 10 |  |  | 10
25 | Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter) | Small Procurement, Can be purchased locally via RFQ | 20 |  | 10 | 10
26 | glucometer with strips | Small Procurement, Can be purchased locally via RFQ | 5 |  |  | 5
36 | bronchoscope | Small Procurement, Can be purchased locally via RFQ | 1 |  |  | 1
37 | gastroscope | Small Procurement, Can be purchased locally via RFQ | 2 |  | 1 | 1
40 | dialysis machine | Small Procurement, Can be purchased locally via RFQ | 36 |  | 14 | 20 |  |  | 2
41 | Solution heating system - Infusion Warmer | To be procured via Local RFQ. | 14 |  | 6 | 8
| OR |  | 0
| Laparoscopic set | Small Procurement, Can be purchased locally via RFQ | 2 |  |  | 1 | 1
53 | Surgical instruments set (general thoraco-abdominal, neuro, microsurgical) | Small Procurement, Can be purchased locally via RFQ | 10 |  | 8 | 1 | 1
54 | solution heating system - infusion warmer | Small Procurement, Can be purchased locally via RFQ | 4 |  | 2 | 2
55 | patient warmer | Small Procurement, Can be purchased locally via RFQ | 17 |  | 15 | 2
| Radiology Unit |  | 0
| Clinical Laboratory |  | 0
WARDS
74 | Shock table (cart) | To be procured via Local RFQ. | 25 |  | 7 | 18
STERILAZATION
| Other specific Items for COVID-19 Intensive Care |  | 0
SUM

## Emergency Service Radio Station (hidden)
# | Items | Quantity
1 | Set of Tetra standard hand Radio station | 490
2 | Set of Tetra standard Car Radio station | 380
3 | Tetra system dispatch control and monitoring set | 43

## Data Validation (hidden)
Selection:
Available through existing LTA/Contracts
Available stock
Not available