## Sheet1
Technical Responsiveness Table
LOT 1
Bidder: UGT Ltd
# | Item | Required Specifications | Offered Speciviations
1 | Server Enclosure |  | Manufacturer: Rittal. Model: DK-TS8
|  | DK-TS8 NETWORK ENCL TYPE2 47U w/o Side panels 600x1200x2200mm (2 Units) | DK-TS8 NETWORK ENCL TYPE2 47U w/o Side panels 600x1200x2200mm (2 Units)
|  | Wall 1200x2200, horizontally divided, RAL 7035 (1 Unit) | Wall 1200x2200, horizontally divided, RAL 7035 (1 Unit)
|  | CMC BUSBAR WITH SUPPLY MODULE (2 Units) | CMC BUSBAR WITH SUPPLY MODULE (2 Units)
|  | Busbar fixing kit (2 Units) | Busbar fixing kit (2 Units)
|  | Power system module connector 1phase (4 Units) | Power system module connector 1phase (4 Units)
|  | Plugin Modules 6way C13 (10 Units) | Plugin Modules 6way C13 (10 Units)
|  | Plugin Modules 4way C19 (4 Units) | Plugin Modules 4way C19 (4 Units)
|  | TS Baying Connector (3 Units) | TS Baying Connector (3 Units)
|  | DK Blanking Panel pk. of 10 1U (2 Units) | DK Blanking Panel pk. of 10 1U (2 Units)
|  | DK Blanking Panel pk. of 2 3U (10 Units) | DK Blanking Panel pk. of 2 3U (10 Units)
|  | Gland plate modules (7 Units) | Gland plate modules (7 Units)
2 | Liquid Cooling System |  | Manufacturer: Rittal. Model: SK Chiller RK 36.0 kW; SK LCP T3+.
|  | SK LCP T3+ 47U (2 Units) | SK LCP T3+ 47U (2 Units)
|  | SK Connection House 1" (4 Units) | SK Connection House 1" (4 Units)
|  | Add-on cover (1 Units) | Add-on cover (1 Units)
|  | SK vertical shielding SK (5 Units) | SK vertical shielding SK (5 Units)
|  | SK Ethilen-Glykol 200l outdoor (1 Units) | SK Ethilen-Glykol 200l outdoor (1 Units)
|  | SK Chiller RK 36.0 kW (1 Units) | SK Chiller RK 36.0 kW (1 Units)
3 | Fire Detection and Distinguishing System |  | Manufacturer: Rittal. Model: DET-AC Plus Extinguishing unit.
|  | DET-AC Plus Extinguishing unit (1 Units) | DET-AC Plus Extinguishing unit (1 Units)
|  | DET-AC Plus Slave extinquishing unit (1 Units) | DET-AC Plus Slave extinquishing unit (1 Units)
|  | CMC-TC access sensor (2 Units) | CMC-TC access sensor (2 Units)
|  | Depth-variable slide for DET-AC (2 Units) | Depth-variable slide for DET-AC (2 Units)
|  | Pipe Kit for DET-AC Plus and EFD Plus (2 Units) | Pipe Kit for DET-AC Plus and EFD Plus (2 Units)