# Georgia April 21, 2020

# Attachment

# CRITICAL MEDICAL CONSUMABLES AND EQUIPMENT NEEDED

| List of items | No of units requested | Unit price (average) |
| --- | --- | --- |
| - Gloves | 19000000 | 0.07 |
| - Gowns | 24000000 | 0.8 |
| - Goggles | 200000 | 13 |
| - Surgical masks | 40000000 | 0.66 |
| - N95 respirator masks | 4000000 | 3 |
| - N95 mask fit test kit | 29 | 400 |
| - Antibacterial liquid soap (liters) | 142000 | 10 |
| - Alcohol-based hand rub (70%, liters) | 142000 | 12 |
| - Chlorine-based cleaning solution for surfaces | 60000 | 15 |
| - Disposable paper tissue rolls | 220000 | 5 |
| - Thermometers (standard) | 2000 | 4 |
| - Infrared thermometers | 2020 | 25 |
| - portable transport ventilator for adults pediatric and neonatal patients, approved for use helicopters and airplanes | 50 | 25000 |
| - Patient ventilator, for critical care | 350 | 14000 |
| - Defibrilator with patient monitoring system for adults and pediatric with multiple peds, cardio version function | 350 | 4000 |
| - ECG 12 lead | 1150 | 1400 |
| - ambulance car b type | 50 | 60000 |
| - ambulance car c type (intensive care mobile unit) | 30 | 80000 |
| - portable oxygen generation system (pogs) | 90 | 30000 |
| - patient monitor for vital signs | 950 | 1500 |
| - portable oxygen concentrator | 950 | 1200 |
| - Extracorporeal membrane oxygenation machine | 22 | 75000 |
| - Pulse oximeters | 1000 | 18 |
| - Oxygen masks | 550000 | 15 |
| - Portable HEPA filters, for negative pressure | 23 | 4500 |
| - Test tubes with viral transport media | 310000 | 7 |
| - Insulated transport boxes for moving lab material | 15 | 100 |
| - Hospital tents sets | 13 | 25000 |
| - Waste bins | 200 | 15 |
| - Triple packaging boxes for international shipping of samples | 40 | 30 |
| - Set of Tetra standard hand Radio station | 490 | 1000 |
| - Set of Tetra standard Car Radio station | 360 | 1400 |
| - Tetra system dispatch control and monitoring set | 43 | 41000 |

Laboratory consumables

| COVID19 PCR reagents and consumables - needs for NCDC Lugar Center for 20,000 tests |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item |  |  |  |  |  |  |  |  | Number of Units | Unit price |  |
| Sample collection tubes with VTM and 2 plastic swab applicators |  |  |  |  |  |  |  |  | 20000 | 1.00 |  |
| QIAamp Viral RNA Mini Kit |  |  | QIAGEN | 52906 |  |  |  |  | 80 | 1100 |  |
| QIAamp Mini Collection Tubes |  |  | QIAGEN | 19201 |  |  |  |  | 20 | 240 |  |
| AVL buffer for QIAamp Viral RNA Mini Kit |  |  | QIAGEN | 19073 |  |  |  |  | 80 | 160 |  |
| AVE buffer QIAamp Viral RNA Mini Kit |  |  | QIAGEN | 1020953 |  |  |  |  | 10 | 515 |  |
| MagMax Core (100 rxn) |  |  | Thermo | A32700 |  |  |  |  | 10 | 150 |  |
| MagMax Core (500 rxn) |  |  | Thermo | A32702 |  |  |  |  | 40 | 250 |  |
| KingFisher Deepwell 96 Plate, V-bottom, polypropylene |  |  | Thermo | 95040450 |  |  |  |  | 40 | 130 |  |
| KingFisher 96 KF microplate (200μL) |  |  | Thermo | 97002540 |  |  |  |  | 15 | 180 |  |
| KingFisher 96 tip comb for DW magnets, 10 x 10 pcs/box |  |  | Thermo | 97002534 |  |  |  |  | 8 | 150 |  |
| Thermo Scientific™ Matrix™ Pipette Tips (960 per case) |  |  | THERMOFISHER | 8045 |  |  |  |  | 50 | 200 |  |
| 200 nmol, nCoV Forward primer (HKU-ORF1b-nsp14F): 5’-TGGGGYTTTACRGGTAACCT-3’ |  |  | Eurofins |  |  |  |  |  | 3 | 35 |  |
| 200 nmol, nCoV Reverse primer (HKU- ORF1b-nsp14R)): 5’-AACRCGCTTAACAAAGCACTC-3’ |  |  | Eurofins |  |  |  |  |  | 4 | 35 |  |
| 200 nmol, nCoV Probe (HKU-ORF1b-nsp141P): 5’-FAM-TAGTTGTGATGCWATCATGACTAG-TAMRA-3’ |  |  | Eurofins |  |  |  |  |  | 10 | 500 |  |
| 200 nmol, nCoV Forward primer (HKU-NF): 5’-TAATCAGACAAGGAACTGATTA-3’ |  |  | Eurofins |  |  |  |  |  | 5 | 30 |  |
| 200 nmol, nCoV Reverse primer (HKU-NR): 5’-CGAAGGTGTGACTTCCATG-3’ |  |  | Eurofins |  |  |  |  |  | 3 | 30 |  |
| 200 nmol, nCoV Probe (HKU-NP): 5’-FAM-GCAAATTGTGCAATTTGCGG-TAMRA-3’ |  |  | Eurofins |  |  |  |  |  | 6 | 500 |  |
| TaqMan™ Fast Virus 1-Step Master Mix |  |  | AB | 4444434 |  |  |  |  | 20 | 2000 |  |
| Modular Wuhan CoV E-gene |  |  | Roche | 9155368001 |  |  |  |  | 200 | 450 |  |
| Modular Wuhan CoV RdRP-gene |  |  | Roche | 9155376001 |  |  |  |  | 10 | 450 |  |
| LightCycler® Multiplex RNA Virus Master |  |  | Roche | 6754155001 |  |  |  |  | 105 | 450 |  |
| VIRAL RNA / DNA KIT |  |  | Roboklon | E3592-02 |  |  |  |  | 20 | 250 |  |
| Molecular grade Ethanol, 500 ml bottle |  |  | any | any |  |  |  |  | 5 | 200 |  |
| PPE for GEO regional laboratories - 200,000 samples |  |  |  |  |  |
| WHO Code | Lab technician PPE kit elements |  |  |  |  |  | Qtity |  |  | Unit price |  |
| YMEQGLASWS1--A1 | GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  |  |  |  |  | 2000 |  |  | 13.00 |  |
| PEXTALCO1G---A1 | ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  |  |  |  |  | 10000 |  |  | 1.29 |  |
| EWASBAGBR007-A1 | BAG BIOHAZARD, REFUSE, AUTOCLAVABLE, 30x50cm, yellow |  |  |  |  |  | 20000 |  |  | 0.35 |  |
| EWASYCHN5G1--A1 | CHLORINE NaDCC, 45-55%, gran., 1kg, pot |  |  |  |  |  | 100 |  |  | 6.00 |  |
| CPPEGOWI3L---A1 | GOWN, AAMI level 3, non sterile, disp., size L |  |  |  |  |  | 15000 |  |  | 0.80 |  |
| CPPEGOWI3M---A1 | GOWN, AAMI level 3, non sterile, disp., size M |  |  |  |  |  | 15000 |  |  | 0.80 |  |
| CPPEGOWI3XL--A1 | GOWN, AAMI level 3, non sterile, disp., size XL |  |  |  |  |  | 5000 |  |  | 0.80 |  |
| CPPEGOWI3XXL-A1 | GOWN, AAMI level 3, non sterile, disp., size XXL |  |  |  |  |  | 5000 |  |  | 0.80 |  |
| CMSUGLEN1L1--A1 | GLOVE EXAMINATION, nitrile, pf, size L |  |  |  |  |  | 50000 |  |  | 0.07 |  |
| CMSUGLEN1M1--A1 | GLOVE EXAMINATION, nitrile, pf, size M |  |  |  |  |  | 50000 |  |  | 0.07 |  |
| CMSUGLEN1S1--A1 | GLOVE EXAMINATION, nitrile, pf, size S |  |  |  |  |  | 25000 |  |  | 0.07 |  |
| CMSUGLEN1XL--A1 | GLOVE EXAMINATION, nitrile, pf, size XL |  |  |  |  |  | 25000 |  |  | 0.07 |  |
| CPPEMASS2RL--A1 |  | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  |  |  |  |  | 10000 |  |  | 0.66 |  |
| CPPEMASS2RM--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  |  |  |  |  | 10000 |  |  | 0.66 |  |
| CPPEMASS2RS--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  |  |  |  |  | 10000 |  |  | 0.66 |  |
| CPPEMASPF205-A1 | RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  |  |  |  |  | 10000 |  |  | 0.66 |  |
| CPPEFSHIED02-A1 | FACE SHIELD, clear plastic, disp. |  |  |  |  |  | 2000 |  |  | 0.43 |  |
| CMSUTHERI01--A1 | THERMOMETER, INFRARED, no contact, handheld |  |  |  |  |  | 100 |  |  | 25.00 |  |
| CINSCONTC51--A1 | SAFETY BOX, needles/syringes, 5l, cardboard for incineration |  |  |  |  |  | 1000 |  |  | 0.82 |  |
| OPACUN62BS1--A1 | BOX, triple packaging, biological substance UN3373 +pouch |  |  |  |  |  | 50 |  |  | 6.18 |  |
| OPACUN62IS1--A1 | BOX, triple packaging, infectious substance UN2814 |  |  |  |  |  | 50 |  |  | 30.28 |  |

| COVID19 PCR reagents and consumables for 200, 000 tests - GEO regional laboratories |  |  |  |
| --- | --- | --- | --- |
|  |  | Quantities needed | Unit price |
| nCov-2019 PCR detection kit (primer & control probe) | For 200000 reaction (200 kits x 100 test) | 200 | 500 |
| SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | For 200000 reaction (200 kits x 100 test) | 200 | 150 |
| Tris (1 M), pH 8.0, RNase-free | 5000ml (100mlx50) | 50 | 50 |
| RT-PCR Grade Water | 5000ml (100mlx50) | 50 | 30 |
| PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 200000 tubes (250 tubesx 800 paks) | 800 | 50 |
| VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | For 200000 extraction | 20000 | 2 |
| TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 20000 tubes (50 tubes x 400 rack) | 400 | 50 |
| DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 10000 tabs (50 tabs x 200 pack) | 200 | 25 |
| PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 |
| PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 800000 tips (1000 tips x 800 box) | 800 | 50 |
| PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 |
| PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 |
| TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 200000 tubes (500 tubes x 400 box) | 400 | 50 |
| CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 400000 tubes (500 tubes x 800 box) | 800 | 25 |
| swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 200000 swabs | 20000 | 0.5 |
| decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 100 tubes x 250 ml | 100 | 30 |

| COVID19 PCR reagents and consumables for 20,000 tests - Abkhazia laboratories |  | Quantities needed | Unit price |
| --- | --- | --- | --- |
| nCov-2019 PCR detection kit (primer & control probe) | For 20000 reaction (20 kits x 100 test) | 20 | 500 |
| SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | For 20000 reaction (20 kits x 100 test) | 20 | 150 |
| Tris (1 M), pH 8.0, RNase-free | 5000ml (100mlx5) | 5 | 50 |
| RT-PCR Grade Water | 5000ml (100mlx5) | 5 | 30 |
| PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 20000 tubes (250 tubes x 80 packs) | 80 | 50 |
| VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | For 20000 extraction | 20000 | 2 |
| TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 20000 tubes (50 tubes x 40 rack) | 40 | 50 |
| DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 10000 tabs (50 tabs x 20 pack) | 20 | 25 |
| PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 |
| PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 80000 tips (1000 tips x 80 box) | 80 | 50 |
| PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 |
| PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 |
| TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 20000 tubes (500 tubes x 40 box) | 40 | 50 |
| CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 40000 tubes (500 tubes x 80 box) | 80 | 25 |
| swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 20000 swabs | 20000 | 0.5 |
| decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 10 tubes x 250 ml | 10 | 30 |

|  | PPE for Abkhazia regional laboratories - 20,000 samples |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| WHO Code | Lab technician PPE kit elements | Qtity | Unit price |
| YMEQGLASWS1--A1 | GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. | 200 | 13.00 |
| PEXTALCO1G---A1 | ALCOHOL-BASED HAND RUB, gel, 100mL, bottle | 1000 | 1.29 |
| EWASBAGBR007-A1 | BAG BIOHAZARD, REFUSE, AUTOCLAVABLE, 30x50cm, yellow | 2000 | 0.35 |
| EWASYCHN5G1--A1 | CHLORINE NaDCC, 45-55%, gran., 1kg, pot | 10 | 6.00 |
| CPPEGOWI3L---A1 | GOWN, AAMI level 3, non sterile, disp., size L | 1500 | 0.80 |
| CPPEGOWI3M---A1 | GOWN, AAMI level 3, non sterile, disp., size M | 1500 | 0.80 |
| CPPEGOWI3XL--A1 | GOWN, AAMI level 3, non sterile, disp., size XL | 500 | 0.80 |
| CPPEGOWI3XXL-A1 | GOWN, AAMI level 3, non sterile, disp., size XXL | 500 | 0.80 |
| CMSUGLEN1L1--A1 | GLOVE EXAMINATION, nitrile, pf, size L | 5000 | 0.07 |
| CMSUGLEN1M1--A1 | GLOVE EXAMINATION, nitrile, pf, size M | 5000 | 0.07 |
| CMSUGLEN1S1--A1 | GLOVE EXAMINATION, nitrile, pf, size S | 2500 | 0.07 |
| CMSUGLEN1XL--A1 | GLOVE EXAMINATION, nitrile, pf, size XL | 2500 | 0.07 |
| CPPEMASS2RL--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L | 1000 | 0.66 |
| CPPEMASS2RM--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M | 1000 | 0.66 |
| CPPEMASS2RS--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S | 1000 | 0.66 |
| CPPEMASPF205-A1 | RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip | 1000 | 0.66 |
| CPPEFSHIED02-A1 | FACE SHIELD, clear plastic, disp. | 200 | 0.43 |
| CMSUTHERI01--A1 | THERMOMETER, INFRARED, no contact, handheld | 10 | 25.00 |
| CINSCONTC51--A1 | SAFETY BOX, needles/syringes, 5l, cardboard for incineration | 100 | 0.82 |
| OPACUN62BS1--A1 | BOX, triple packaging, biological substance UN3373 +pouch | 5 | 6.18 |
| OPACUN62IS1--A1 | BOX, triple packaging, infectious substance UN2814 | 5 | 30.28 |

Hospital Equipment and quantity per hospital (200 beds hospital)

| HOSPITAL EQUIPMENT ICU |  | Unit price |
| --- | --- | --- |
| Pulmonary Ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invasive breathing regimes. | 50 |  |
| Pulmonary Ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 10 |  |
| basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 30 |  |
| patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, IBP, NIBP, LAN/WiFI (invasive) | 20 |  |
| patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, NIP , IBP, CO2 lAN/WIFI (high class model for pediatric and adult use) | 6 |  |
| patient monitor for transportation ECG, Resp, HR, NIBP,Temp, SpO2 | 3 |  |
| central monitoring station: connects at least 30 monitors | 3 |  |
| ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment. | 50 |  |
| ICU bed, pediatric: four-section resuscitation medical bed (with electric control) pediatric. Divided into appropriate sections, with a mattress resistant to washing-chemical processing | 6 |  |
| anti pressure sores mattress with compressor control | 15 |  |
| Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 3 |  |
| negatoscope 35*43 | 3 |  |
| medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides. | 10 |  |
| medical cart: shock table, with drawers | 10 |  |
| Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 120 |  |
| syringe pump, volumetric: Drip chamber, compatible with different manufacturer systems | 20 |  |
| pressure infusion bag | 50 |  |
| high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 5 |  |
| 12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes | 3 |  |
| Cabinet for medicines and consumables | 10 |  |
| High-risk medication Wardrobe with lock | 2 |  |
| Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 |  |
| LED mobile lights | 1 |  |
| Wheelchair, to move the patient within the building | 2 |  |
| privacy screen with 3-4 wings | 70 |  |
| Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 2 |  |
| Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 6 |  |
| Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 3 |  |
| Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 3 |  |
| Ambu - Masks for adults | 50 |  |
| Ambu - Masks pediatric | 10 |  |
| Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter) | 5 |  |
| glucometer with strips | 5 |  |
| Stainless steel Shelves | 10 |  |
| Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 1 |  |
| X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz. | 1 |  |
| Ultrasound diagnostic device, portable, high class, with at least 3 transducers, with proper cart, integrated batteries. General tests Color Doppler display, Cardiology. With abdominal, linear, and cardio transduction | 1 |  |
| Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 70 |  |
| bronchoscope | 2 |  |
| gastroscope | 1 |  |
| pump | 50 |  |
| dialysis machine | 1 |  |
| Solution heating system | 6 |  |
| Portable pulse oximeter for adults | 5 |  |
| Multiple use silicone contour with compatible valve | 120 |  |
| ER |  |  |
| ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and noninvasive breathing regimes. | 1 |  |
| ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 2 |  |
| basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 15 |  |
| pediatric shock stretcher | 2 |  |
| stretcher for adults, with maximum patient weight 200 kg or higher | 20 |  |
| Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 2 |  |
| negatoscope 35*42 | 2 |  |
| medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides. | 10 |  |
| medical cart: shock table, with drawers | 5 |  |
| Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 20 |  |
| syringe pump, volumetric: Drip chamber, compatible with different manufacturer systems | 5 |  |
| pressure infusion bag | 15 |  |
| high pressure surgical suction pump not less than 50 liters per minute . Two cans not less than 2 L | 3 |  |
| 12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 2 |  |
| Cabinet for medicines and consumables | 6 |  |
| High-risk medication Wardrobe with lock | 1 |  |
| Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 |  |
| LED mobile lights | 1 |  |
| Wheelchair, to move the patient within the building | 5 |  |
| privacy screen with 3-4 wings | 40 |  |
| Video laryngoscope with different sized blades, 2-2 pieces with multiple blades | 1 |  |
| Ambu - Masks for adults | 5 |  |
| Ambu - Masks pediatric | 2 |  |
| Portable oxygen tank 5-10 liters, with reductor (with DIN standard flowmeter) | 5 |  |
| glucometer with strips | 5 |  |
| Stainless steel Shelves | 5 |  |
| mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteries and With different software capabilities. | 1 |  |
| Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 30 |  |
| tool stand | 50 |  |
| Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 1 |  |
| Portable pulse oximeter for adults | 5 |  |
| OR |  |  |
| An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized | 2 |  |
| Patient monitor, compatible with anesthetic apparatus. With at least a 15-inch screen. ECG, Resp, HR, NIBP, Temp, SpO2, NIPP, IBP, lAN / WIFI, OxyCRG (High Class Pediatric / Adult) | 2 |  |
| Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit. | 1 |  |
| Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod. | 1 |  |
| Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 1 |  |
| medical cart: shock table, with drawers | 1 |  |
| Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 4 |  |
| syringe pump, volumetric: Drip chamber, compatible with different manufacturer systems | 1 |  |
| pressure infusion bag | 2 |  |
| high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 2 |  |
| 12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 1 |  |
| Cabinet for medicines and consumables | 1 |  |
| Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 |  |
| Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 1 |  |
| Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 1 |  |
| Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 1 |  |
| Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 1 |  |
| Ambu - Masks for adults | 2 |  |
| Ambu - Masks pediatric | 1 |  |
| Surgical instruments set (general thoraco-abdominal, neuro, microsurgical) | 1 |  |
| solution heating system | 2 |  |
| patient heating system | 2 |  |
| Radiology Unit |  |  |
| Computer tomography: at least 64 layers, with different applications, with a special program compatible modern protocol for lung tests with subsequent appropriate updates in future. Gentry diameter not less than 72 cm, table load capacity, not less than 220 kg; ; Set: digital printer for different sizes of tapes; Continuous power supply of appropriate capacity and characteristics, injector for 200 ml syringes, cart, remote control. | 1 |  |
| Digital Xray | 1 |  |
| Ultrosound machine | 1 |  |
| Clinical Laboratory |  |  |
| Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes | 1 |  |
| Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately) | 1 |  |
| automatic Immunological analyzer, (list of reagents provided separately) | 1 |  |
| Coagulometer, automatic | 1 |  |
| Urine analyzer, automatic | 1 |  |
| Centrifuge, 10-1500 rpm; general | 1 |  |
| Centrifuge, for small samples 2-20000b / min | 1 |  |
| Pipette set (should include 5 mcg - 1000 mcl, with different scales) | 1 |  |
| Dispenser, for adjustable dosing | 1 |  |
| Laboratory Scale | 1 |  |
| work bench | 1 |  |
| work bench for equipment | 3 |  |
| cabinet | 1 |  |
| shelf | 1 |  |
| WARDS |  |  |
| Standard hospital beds |  |  |
| Table for patient feeding, table-top, mobile | 150 |  |
| ICU stations | 30 |  |
| Resuscitation beds | 20 |  |
| Defibrillator Biphasic 360 Joules, Adult and Pediatric Multiple Electrodes, Cardio Version, Self-Test Diagnosis. | 10 |  |
| Shock table (cart) | 10 |  |
| Cardiograph with a 3-channel color liquid crystal display, the display should have 12 outputs. With different software capabilities. With the ability to process a cardiogram. With multiple chest and limb electrodes. (Can be sterilized and disinfected), with proper cart, with multiple electrodes | 60 |  |
| Patient monitor, basic: (ECG, Resp, HR, NIBP,Temp, SpO2, ), sensory,with easy to clean screen | 50 |  |
| Glucometer with strips (100) | 2 |  |
| Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more; | 4 |  |
| Tripod | 72 |  |
| Laryngoscope set, Macintosh, 1,2,3,4 size with blades (high quality) | 1 |  |
| Laryngoscope set, Miller, 1,2,3,4 size with blades (high quality) | 1 |  |
| High-pressure surgical resection not less than 50 l / min, with two jars, not less than 2 l | 2 |  |
| Infusomat, volumetric: Drip compatible with different manufacturer's systems | 2 |  |
| Soap dispenser | 72 |  |
| STERILAZATION |  |  |
| 2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials | 2 |  |
| Plasma sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization. | 1 |  |
| Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers) | 2 |  |
| Stainless steel shelf: app. 40 * 100 * 200 cm | 10 |  |
| Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set | 3 |  |
| Ultrasonic washer, capacity 20 l or more | 1 |  |
| Table, stainless metal: app. size 70 * 70 * 150 cm, proper, easy to wash, adjustable in height with a soft-seat, round chair | 3 |  |
| Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers | 2 |  |
| Washing sink (deep chan) with warm, cold, clean water and compressed air supply | 2 |  |
| Working table - lockable, for packing irons and rolls with proper stand-up, approximate length-width: 150 * 100 cm | 1 |  |

Equipment for Primary Care Units

| Item | Number of units |
| --- | --- |
| Standard equipment set per primary care clinics (otoscope, ophalmoscope, ECG | 1200 |
| Standard furniture per unit | 800 |
| Integrated telemedicine equipment for primary care sites | 500 |