## Sheet1
|  | Examination Gloves | Surgical Gloves | Gown | Surgical masks | Respirators (N95 or FFP2) | Goggles protective | Face shield
| Number of National manufactures | N/A | N/A | N/A | N/A | N/A | N/A | N/A
National reserve stock (if you have the numbers)
Requested quantities from WHO
Are you aware if the same request was submitted to other UN agencies and partners? If yes, to whom and quantities
| Facilities where PPE might be required | Primary healthcare clinics | Designated hospitals | Quarantine (if required) | POE | Others (please specify)
Quantity of facilities
Below you will find the technical specifications recommended for each type of PPE
| 1. Gloves, examination | Gloves, examination, nitrile, powder-free, non-sterile. Cuff length preferably reaching above the wrist (eg. minimum 230mm total length. Sizes, S, M, L) | • EU MDD directive 93/42/EEC Category III,
• EU PPE Regulation 2016/425 Category III,
• EN 455,
• EN 374,
• ANSI/ISEA 105,
• ASTM D6319,
• or equivalent set of standards
| 2. Gloves, surgical, length to forearm large (longer than examination gloves) | Gloves, surgical, nitrile, powder-free, single use. | • EU MDD directive 93/42/EEC Category III,
• EU PPE Regulation 2016/425 Category III,
|  | Gloves should have long cuffs, reaching well above the wrist, ideally to mid-forearm. (Sizes ranging 5.0 - 9.0) | • EN 455,
• ANSI/ISEA 105,
• ASTM 6319
or equivalent set of standards
| 3. Face shield | Made of clear plastic and provides good visibility to both the wearer and the patient. Adjustable band to attach firmly around the head and fit snuggly against the forehead, Fog resistant (preferable), Completely cover the sides and length of the face. May be re-usable (made of robust material which can be cleaned and disinfected) or disposable. | • EU PPE Regulation 2016/425,
• EN 166,
• ANSI/ISEA Z87.1,
or equivalent set of standards
| 4. Particulate respirator, grade N95 or higher | N95 or FFP2 respirator, or higher | • Minimum "N95" respirator according to FDA Class II, under 21 CFR 878.4040, and CDC NIOSH, or
|  | Good breathability with design that does not collapse against the mouth (e.g. duckbill, cup-shaped) | • Mnimum "FFP2" according to EN 149, EU PPE Regulation 2016/425 Category III,
or equivalent
| 5. Mask, medical | Medical mask, good breathability, internal and external faces should be clearly identified | • EU MDD directive 93/42/EEC Category III,
or equivalent,
• EN 14683 Type II, IR, IIR
• ASTM F2100 minimum level 1
or equivalent;
| 5. Gown | Single use, disposable, length mid-calf. | • EU PPE Regulation 2016/425 and EU MDD directive 93/42/EEC
• FDA class I or II medical device,
or equivalent
• EN 13795 any performance level, or
• AAMI PB70 all levels acceptable,
or equivalent
| 6. Goggles, protective | Good seal with the skin of the face, Flexible PVC frame to easily fit with all face contours with even pressure, Enclose eyes and the surrounding areas, Accommodate wearers with prescription glasses, Clear plastic lens with fog and scratch resistant treatments, Adjustable band to secure firmly so as not to become loose during clinical activity, Indirect venting to avoid fogging, May be re-usable (provided appropriate arrangements for decontamination are in place) or disposable. | • EU PPE Regulation 2016/425,
• EN 166,
• ANSI/ISEA Z87.1,
or equivalent