Hospital Equipment and quantity per hospital (200 beds hospital)

| HOSPITAL EQUIPMENT ICU |  | Unit price |
| --- | --- | --- |
| Pulmonary Ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invasive breathing regimes. | 50 | 20000$ |
| Pulmonary Ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 10 | 6000$ |
| basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 30 | 1500$(Touch screen-is gareshe – 700$) |
| patient monitor ECG, Resp, HR, NIBP,T2000$emp, SpO2, IBP, NIBP, LAN/WiFI (invasive) | 20 | 2000$ (Touch screen-is gareshe – 1100$) |
| patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, NIP , IBP, CO2 lAN/WIFI (high class model for pediatric and adult use) | 6 | 3500$ |
| patient monitor for transportation ECG, Resp, HR, NIBP,Temp, SpO2 | 3 | 1200$ |
| central monitoring station: connects at least 30 monitors | 3 | 3000$ |
| ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment. | 50 | 1500$ |
| ICU bed, pediatric: four-section resuscitation medical bed (with electric control) pediatric. Divided into appropriate sections, with a mattress resistant to washing-chemical processing | 6 | 1400$ |
| anti pressure sores mattress with compressor control | 15 | 140$ |
| Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 3 | 3500$ |
| negatoscope 35*43 | 3 | 500$ |
| medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides. | 10 | 350$ |
| medical cart: shock table, with drawers | 10 | 2200$ |
| Syringe Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 120 | 450$ -china 1100$ - Germany |
| Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 20 | 800$ -china 1300$ - Germany |
| pressure infusion bag | 50 | 50$ |
| high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 5 | 1000$ |
| 12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes | 3 | 1300$ |
| Cabinet for medicines and consumables | 10 | 700$ |
| High-risk medication Wardrobe with lock | 2 | 800$ |
| Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 | --------- |
| LED mobile lights | 1 | 500$ |
| Wheelchair, to move the patient within the building | 2 | 200$ |
| privacy screen with 3-4 wings | 70 | 120$ |
| Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 2 | 3500$ |
| Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 6 | 100$ |
| Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 3 | 100$ |
| Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 3 | 80$ |
| Ambu - Masks for adults | 50 | 40$ |
| Ambu - Masks pediatric | 10 | 40$ |
| Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter) | 5 | 500$ |
| glucometer with strips | 5 | 50$ |
| Stainless steel Shelves | 10 | 100$ |
| Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 1 | 7000$ |
| X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz. | 1 | 70000$ |
| Ultrasound diagnostic device, portable, high class, with at least 3 transducers, with proper cart, integrated batteries. General tests Color Doppler display, Cardiology. With abdominal, linear, and cardio transduction | 1 | 25000$ |
| Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 70 | 50$ |
| bronchoscope | 2 |  |
| gastroscope | 1 |  |
| pump | 50 | ????? |
| dialysis machine | 1 | 20000$ |
| Solution heating system | 6 |  |
| Portable pulse oximeter for adults | 5 | 800$ |
| Multiple use silicone contour with compatible valve | 120 | ????? |
| ER |  |  |
| ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and noninvasive breathing regimes. | 1 | 20000$ |
| ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 2 | 6000$ |
| basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 15 | 1500$(Touch screen-is gareshe – 700$) |
| pediatric shock stretcher | 2 | 1000$ |
| stretcher for adults, with maximum patient weight 200 kg or higher | 20 | 1000$ |
| Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 2 | 3500$ |
| negatoscope 35*42 | 2 | 500$ |
| medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides. | 10 | 350$ |
| medical cart: shock table, with drawers | 5 | 2200$ |
| Syringe Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 20 | 450$ -china 1100$ - Germany |
| Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 5 | 800$ -china 1300$ - Germany |
| pressure infusion bag | 15 | 50$ |
| high pressure surgical suction pump not less than 50 liters per minute . Two cans not less than 2 L | 3 | 1000$ |
| 12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 2 | 1300$ |
| Cabinet for medicines and consumables | 6 | 700$ |
| High-risk medication Wardrobe with lock | 1 | 800$ |
| Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 |  |
| LED mobile lights | 1 | 500$ |
| Wheelchair, to move the patient within the building | 5 | 200$ |
| privacy screen with 3-4 wings | 40 | 120$ |
| Video laryngoscope with different sized blades, 2-2 pieces with multiple blades | 1 | 3500$ |
| Ambu - Masks for adults | 5 | 100$ |
| Ambu - Masks pediatric | 2 | 100$ |
| Portable oxygen tank 5-10 liters, with reductor (with DIN standard flowmeter) | 5 | 500$ |
| glucometer with strips | 5 | 50$ |
| Stainless steel Shelves | 5 | 1000$ |
| mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteries and With different software capabilities. | 1 | 25000$ |
| Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 30 | 50$ |
| tool stand | 50 | 250$ |
| Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 1 | 7000$ |
| Portable pulse oximeter for adults | 5 | 800$ |
| OR |  |  |
| An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized | 2 | 30000$ |
| Patient monitor, compatible with anesthetic apparatus. With at least a 15-inch screen. ECG, Resp, HR, NIBP, Temp, SpO2, NIPP, IBP, lAN / WIFI, OxyCRG (High Class Pediatric / Adult) | 2 |  |
| Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit. | 1 | 12000$ |
| Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod. | 1 | 10500$ |
| Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 1 | 3500$ |
| medical cart: shock table, with drawers | 1 | 2200$ |
| Syringe Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 4 | 450$ -china 1100$ - Germany |
| Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 1 | 800$ -china 1300$ - Germany |
| pressure infusion bag | 2 | 50$ |
| high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 2 | 1000$ |
| 12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 1 | 1300$ |
| Cabinet for medicines and consumables | 1 | 700$ |
| Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 |  |
| Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 1 | 3500$ |
| Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 1 | 100$ |
| Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 1 | 100$ |
| Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 1 | 80$ |
| Ambu - Masks for adults | 2 | 40$ |
| Ambu - Masks pediatric | 1 | 40$ |
| Surgical instruments set (general thoraco-abdominal, neuro, microsurgical) | 1 | ????? |
| solution heating system | 2 |  |
| patient heating system | 2 | 2500$ |
| Radiology Unit |  |  |
| Computer tomography: at least 64 layers, with different applications, with a special program compatible modern protocol for lung tests with subsequent appropriate updates in future. Gentry diameter not less than 72 cm, table load capacity, not less than 220 kg; ; Set: digital printer for different sizes of tapes; Continuous power supply of appropriate capacity and characteristics, injector for 200 ml syringes, cart, remote control. | 1 | 450000$ |
| Digital Xray | 1 | 160000$ |
| Ultrosound machine | 1 | 70000$+ |
| Clinical Laboratory |  |  |
| Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes | 1 |  |
| Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately) | 1 |  |
| automatic Immunological analyzer, (list of reagents provided separately) | 1 |  |
| Coagulometer, automatic | 1 |  |
| Urine analyzer, automatic | 1 |  |
| Centrifuge, 10-1500 rpm; general | 1 |  |
| Centrifuge, for small samples 2-20000b / min | 1 |  |
| Pipette set (should include 5 mcg - 1000 mcl, with different scales) | 1 |  |
| Dispenser, for adjustable dosing | 1 |  |
| Laboratory Scale | 1 |  |
| work bench | 1 |  |
| work bench for equipment | 3 |  |
| cabinet | 1 |  |
| shelf | 1 |  |
| WARDS |  |  |
| Standard hospital beds |  |  |
| Table for patient feeding, table-top, mobile | 150 | 350$+125$ |
| ICU stations | 30 | ????? |
| Resuscitation beds | 20 | ????? |
| Defibrillator Biphasic 360 Joules, Adult and Pediatric Multiple Electrodes, Cardio Version, Self-Test Diagnosis. | 10 | 3500$ |
| Shock table (cart) | 10 | 2000$ |
| Cardiograph with a 3-channel color liquid crystal display, the display should have 12 outputs. With different software capabilities. With the ability to process a cardiogram. With multiple chest and limb electrodes. (Can be sterilized and disinfected), with proper cart, with multiple electrodes | 60 | 500$-China, 700$-Europe |
| Patient monitor, basic: (ECG, Resp, HR, NIBP,Temp, SpO2, ), sensory,with easy to clean screen | 50 | 700$ |
| Glucometer with strips (100) | 2 | 50$ |
| Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more; | 4 | 50$ |
| Tripod | 72 | 50$ |
| Laryngoscope set, Macintosh, 1,2,3,4 size with blades (high quality) | 1 | 100$ |
| Laryngoscope set, Miller, 1,2,3,4 size with blades (high quality) | 1 | 100$ |
| High-pressure surgical resection not less than 50 l / min, with two jars, not less than 2 l | 2 | 1000$ |
| Infusomat, volumetric: Drip compatible with different manufacturer's systems | 2 | 800$ -china 1300$ - Germany |
| Soap dispenser | 72 | 100$ |
| STERILAZATION |  |  |
| 2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials | 2 | 55000$(250l) |
| Plasma sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization. | 1 | 45000$ |
| Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers) | 2 | 2200$ |
| Stainless steel shelf: app. 40 * 100 * 200 cm | 10 | 1000$ |
| Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set | 3 | ????? |
| Ultrasonic washer, capacity 20 l or more | 1 | 2700$ |
| Table, stainless metal: app. size 70 * 70 * 150 cm, proper, easy to wash, adjustable in height with a soft-seat, round chair | 3 |  |
| Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers | 2 |  |
| Washing sink (deep chan) with warm, cold, clean water and compressed air supply | 2 |  |
| Working table - lockable, for packing irons and rolls with proper stand-up, approximate length-width: 150 * 100 cm | 1 |  |

Equipment for Primary Care Units

| Item | Number of units |
| --- | --- |
| Standard equipment set per primary care clinics (otoscope, ophalmoscope, ECG | 1200 |
| Standard furniture per unit | 800 |
| Integrated telemedicine equipment for primary care sites | 500 |