## Sheet2
HOSPITAL EQUIPMENT ICU | Quantity | Unit price USD | Totatal price USD | Model | Manufacturer
Pulmonary Ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invasive breathing regimes. | 50 | 13500 | 675000 | synovent E5 | mindray
Pulmonary Ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 10 | 9300 | 93000 | Synovent SV300 | mindray
basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 30 | 850 | 25500 | Umec 10 | mindray
patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, IBP, NIBP, LAN/WiFI (invasive) | 20 | 2200 | 44000 | EPM 15 | mindray
patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, NIP , IBP, CO2 lAN/WIFI (high class model for pediatric and adult use) | 6 | 2900 | 17400 | EPM 15 | mindray
patient monitor for transportation ECG, Resp, HR, NIBP,Temp, SpO2 | 3 | 700 | 2100 | Umec 10 | mindray
central monitoring station: connects at least 30 monitors | 3 | 2500 | 7500 | Benevision central monitoring station | mindray
ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment. | 50 | 2500 | 125000 | Mcare+mattras | Mespa
ICU bed, pediatric: four-section resuscitation medical bed (with electric control) pediatric. Divided into appropriate sections, with a mattress resistant to washing-chemical processing | 6 | 2000 | 12000
anti pressure sores mattress with compressor control | 15 | 100 | 1500
Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 3 | 3400 | 10200 | BeneHeart D3 | mindray
negatoscope 35*43 | 3 | 170 | 510 | MS 1730 | Mespa
medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides. | 10 | 350 | 3500 | MD 4100 | Mespa
medical cart: shock table, with drawers | 10 | 3000 | 30000 | HOSPITOOL MC | Mespa
Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 120 | 400 | 48000 | Benefusion Sp3 | mindray
volumetric PUMP: Drip chamber, compatible with different manufacturer systems | 20 | 550 | 11000 | Benefusion VP3 | mindray
pressure infusion bag | 50 | 50 | 2500
high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 5 |  | 0
12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes | 3 | 1600 | 4800 | BeneHeart R12 | mindray
Cabinet for medicines and consumables | 10 |  | 0
High-risk medication Wardrobe with lock | 2 |  | 0
Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 |  | 0
LED mobile lights | 1 | 1200 | 1200 | Hyled 200M | mindray
Wheelchair, to move the patient within the building | 2 |  | 0
privacy screen with 3-4 wings | 70 |  | 0
Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 2 | 1500 | 3000 | SL3-l | isnighter
Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 6 | 500 | 3000
Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 3 | 500 | 1500
Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 3 | 400 | 1200
Ambu - Masks for adults | 50 | 250 | 12500
Ambu - Masks pediatric | 10 | 250 | 2500
Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter) | 5 |  | 0
glucometer with strips | 5 |  | 0
Stainless steel Shelves | 10 | 700 | 7000
Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 1 | 15000 | 15000
X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz. | 1 | 75000 | 75000 | Mobileye 700(30KW) | mindray
Ultrasound diagnostic device, portable, high class, with at least 3 transducers, with proper cart, integrated batteries. General tests Color Doppler display, Cardiology. With abdominal, linear, and cardio transduction | 1 | 36000 | 36000 | M9 | mindray
Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 70 | 70 | 4900 | RTM15 | Technologiemedicale(france)
bronchoscope | 2 |  | 0
gastroscope | 1 |  | 0
pump | 50 | 400 | 20000 | Sp3 | mindray
dialysis machine | 1 | 30000 | 30000
Solution heating system | 6 |  | 0
Portable pulse oximeter for adults | 5 |  | 0
Multiple use silicone contour with compatible valve | 120 |  | 0
ER |  |  | 0
ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and noninvasive breathing regimes. | 1 | 9300 | 9300 | synovent E3 | mindray
ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 2 | 9300 | 18600 | Synovent SV300 | mindray
basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 15 | 850 | 12750 | Umec 10 | mindray
pediatric shock stretcher | 2 | 2000 | 4000
stretcher for adults, with maximum patient weight 200 kg or higher | 20 | 2700 | 54000 | VELO ADVANCE | MESPA
Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 2 | 3400 | 6800 | Beneheart D3 | mindray
negatoscope 35*42 | 2 | 170 | 340 | MS 1730 | Mespa
medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides. | 10 | 350 | 3500 | MD 4100 | Mespa
medical cart: shock table, with drawers | 5 |  | 0
Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 20 | 400 | 8000 | Benefusion Sp3 | mindray
volumetric PumP: Drip chamber, compatible with different manufacturer systems | 5 | 550 | 2750 | Benefusion VP3 | mindray
pressure infusion bag | 15 |  | 0
high pressure surgical suction pump not less than 50 liters per minute . Two cans not less than 2 L | 3 |  | 0
12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 2 | 1600 | 3200 | BeneHeart R12 | mindray
Cabinet for medicines and consumables | 6 |  | 0
High-risk medication Wardrobe with lock | 1 |  | 0
Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 |  | 0
LED mobile lights | 1 | 1200 | 1200 | Hyled 200M | mindray
Wheelchair, to move the patient within the building | 5 |  | 0
privacy screen with 3-4 wings | 40 |  | 0
Video laryngoscope with different sized blades, 2-2 pieces with multiple blades | 1 | 1500 | 1500 | SL3-l | isnighter
Ambu - Masks for adults | 5 |  | 0
Ambu - Masks pediatric | 2 |  | 0
Portable oxygen tank 5-10 liters, with reductor (with DIN standard flowmeter) | 5 |  | 0
glucometer with strips | 5 |  | 0
Stainless steel Shelves | 5 |  | 0
mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteries and With different software capabilities. | 1 | 26000 | 26000 | M7 | mindray
Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 30 | 70 | 2100 | RTM15 | Technologiemedicale(france)
tool stand | 50 |  | 0
Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 1 |  | 0
Portable pulse oximeter for adults | 5 |  | 0
OR |  |  | 0
An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized | 2 | 18000 | 36000 | wato ex 55 | mindray
Patient monitor, compatible with anesthetic apparatus. With at least a 15-inch screen. ECG, Resp, HR, NIBP, Temp, SpO2, NIPP, IBP, lAN / WIFI, OxyCRG (High Class Pediatric / Adult) | 2 | 2200 | 4400 | EPM 15 | mindray
Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit. | 1 | 13500 | 13500 | X9/X5 | mindray
Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod. | 1 | 9000 | 9000 | hybase 3000 | mindray
Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 1 | 3400 | 3400 | BeneHeart D3 | mindray
medical cart: shock table, with drawers | 1 |  | 0
Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 4 | 400 | 1600 | Benefusion Sp3 | mindray
, volumetric Pump: Drip chamber, compatible with different manufacturer systems | 1 | 550 | 550 | Benefusion VP3 | mindray
pressure infusion bag | 2 |  | 0
high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 2 |  | 0
12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 1 | 1600 | 1600 | BeneHeart R12 | mindray
Cabinet for medicines and consumables | 1 |  | 0
Safe (medium size, cabin. 30 * 50 * 40 cm) | 1 |  | 0
Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 1 | 1500 | 1500 | SL3-l | isnighter
Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 1 | 500 | 500
Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 1 | 500 | 500
Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 1 | 400 | 400
Ambu - Masks for adults | 2 | 250 | 500
Ambu - Masks pediatric | 1 | 250 | 250
Surgical instruments set (general thoraco-abdominal, neuro, microsurgical) | 1 |  | 0
solution heating system | 2 |  | 0
patient heating system | 2 |  | 0
Radiology Unit |  |  | 0
Computer tomography: at least 64 layers, with different applications, with a special program compatible modern protocol for lung tests with subsequent appropriate updates in future. Gentry diameter not less than 72 cm, table load capacity, not less than 220 kg; ; Set: digital printer for different sizes of tapes; Continuous power supply of appropriate capacity and characteristics, injector for 200 ml syringes, cart, remote control. | 1 | 285000 | 285000 | UCT 528 | United imaging
Digital Xray | 1 | 60000 | 60000 | uDR 266i (50KW) | United imaging
Ultrosound machine | 1 | 38000 | 38000 | DC 80 | mindray
Clinical Laboratory |  |  | 0
Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes | 1 | 22000 | 22000 | BC 5390 CRP | mindray
Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately) | 1 | 14000 | 14000 | BS 240pro | mindray
automatic Immunological analyzer, (list of reagents provided separately) | 1 | 18000 | 18000 | Cl 1000I | mindray
Coagulometer, automatic | 1 | 12000 | 12000 | C 3100 | mindray
Urine analyzer, automatic | 1 | 20000 | 20000 | EH-2040 | mindray
Centrifuge, 10-1500 rpm; general | 1 | 2500 | 2500
Centrifuge, for small samples 2-20000b / min | 1 | 3200 | 3200
Pipette set (should include 5 mcg - 1000 mcl, with different scales) | 1 |  | 0
Dispenser, for adjustable dosing | 1 |  | 0
Laboratory Scale | 1 | 400 | 400
work bench | 1 | 500 | 500
work bench for equipment | 3 | 500 | 1500
cabinet | 1 | 800 | 800
shelf | 1 | 120 | 120
WARDS |  |  | 0
Standard hospital beds |  |  | 0
Table for patient feeding, table-top, mobile | 150 | 140 | 21000 | MS 2190 | mespa
ICU stations | 30 |  | 0
Resuscitation beds | 20 | 2500 | 50000 | Mcare+mattras | Mespa
Defibrillator Biphasic 360 Joules, Adult and Pediatric Multiple Electrodes, Cardio Version, Self-Test Diagnosis. | 10 | 3400 | 34000 | BeneHeart D3 | mindray
Shock table (cart) | 10 | 3000 | 30000 | HOSPITOOL MC | mespa
Cardiograph with a 3-channel color liquid crystal display, the display should have 12 outputs. With different software capabilities. With the ability to process a cardiogram. With multiple chest and limb electrodes. (Can be sterilized and disinfected), with proper cart, with multiple electrodes | 60 | 500 | 30000 | beneheart R3 | mindray
Patient monitor, basic: (ECG, Resp, HR, NIBP,Temp, SpO2, ), sensory,with easy to clean screen | 50 | 700 | 35000 | Umec 10 | mindray
Glucometer with strips (100) | 2 |  | 0
Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more; | 4 | 70 | 280 | RTM15 | Technologiemedicale(france)
Tripod | 72 |  | 0
Laryngoscope set, Macintosh, 1,2,3,4 size with blades (high quality) | 1 |  | 0
Laryngoscope set, Miller, 1,2,3,4 size with blades (high quality) | 1 |  | 0
High-pressure surgical resection not less than 50 l / min, with two jars, not less than 2 l | 2 |  | 0
Infusomat, volumetric: Drip compatible with different manufacturer's systems | 2 | 550 | 1100 | Benefusion VP3 | mindray
Soap dispenser | 72 |  | 0
STERILAZATION |  |  | 0
2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials | 2 | 30000 | 60000 | 300D | erygit
Plasma sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization. | 1 | 42000 | 42000 | GP120 | erygit
Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers) | 2 |  | 0
Stainless steel shelf: app. 40 * 100 * 200 cm | 10 |  | 0
Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set | 3 |  | 0
Ultrasonic washer, capacity 20 l or more | 1 |  | 0
Table, stainless metal: app. size 70 * 70 * 150 cm, proper, easy to wash, adjustable in height with a soft-seat, round chair | 3 |  | 0
Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers | 2 |  | 0
Washing sink (deep chan) with warm, cold, clean water and compressed air supply | 2 |  | 0
Working table - lockable, for packing irons and rolls with proper stand-up, approximate length-width: 150 * 100 cm | 1 |  | 0
2335450
Item | Number of units
Standard equipment set per primary care clinics (otoscope, ophalmoscope, ECG | 1200 | გთხოვთ განგვიმარტოთ რამდენი ცალი otoscope, ophalmoscope, ECG არის საჭირო ცალ-ცალკე, აგრეთვე ECG სავარაუდოთ 3 არხიანი გნებავთ
Standard furniture per unit | 800 | გთხოვთ დეტალური აღწერილობა მოგვცეთ
Integrated telemedicine equipment for primary care sites | 500 | გთხოვთ დეტალური აღწერილობა მოგვცეთ