Thersmo Scientifics   COVID-19 tests.

- Supplier:   LTD ABM

- Contact Person:  Alexandre Khetereli;  mob: 591210099; mail:  info@abm.com.ge

- Director: Alexandre Khetereli;

|  |  |  |  |  |  |  |  |  | Delivery schedule |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Catalogue Number | Specifications | Quantity | Manufacturer | Manufacturing country | Unit price | Total value | contract price (18.05.2020) | 1 Months | 2 Months | 3Months | 4 Months | Term of shelf life |
| TaqPath™ COVID-19 CE-IVD RT-PCR Kit, 1000 tests | A48067 | TaqPath™ COVID-19 Assay Multiplex—Multiplexed assays that contain three primer/probe sets specific to different SARS-CoV-2 genomic regions and primers/probes for bacteriophage MS2. – MS2 Phage Control—RNA control to verify the efficacy of the sample preparation and the absence of inhibitors in the PCR reaction. To perform the control, add MS2 Phage Control to the samples before extraction of the RNA. | 250 | Thermo | USA | $ 18,900.00 | $ 4,725,000.00 | $ 18,900.00 | 20 | 25 | 100 | 105 | no less then 5 months |
| MagMAX™ Viral/Pathogen II (MVP II) Nucleic Acid Isolation Kit, 2,000 preps | A48383 | The MagMAX Viral/Pathogen II (MVP II) Nucleic Acid Isolation Kit is specifically designed to recover RNA and DNA from viral particles contained in viral transport media (VTM).The kit is designed for "KingFisher FLEX" extraction machine, it is recommended to diagnose a new coronavirus, Up to 2,000 preps. | 150 | Thermo | USA | $ 3,500.00 | $ 525,000.00 | $ 3,500.00 | 38 | 38 | 37 | 37 | no less then 6 months |
| KingFisher Deepwell 96 Plate, V-bottom, polypropylene, case of 60 plates | 95040450 | KingFisher 96 deep-well plate, v-bottom, polypropylene (for Duo Prime, Flex, Apex and Presto) For Use With (Equipment) For Use With (KingFisher Duo Prime, Flex, Apex and Presto) KingFisher Deepwell 96 Plate, V-bottom, polypropylene (50 plates) | 400 | Thermo | USA | $ 234.00 | $ 93,600.00 | $ 234.00 | 100 | 100 | 100 | 100 | long term |
| KingFisher 96 KF microplate (200μL) case of 48 plates | 97002540 | Designed for KingFisher FLEX extraction machine, specifically for DNA / RNA elution | 200 | Thermo | USA | $ 165.00 | $ 33,000.00 | $ 165.00 | 50 | 50 | 50 | 50 | long term |
| KingFisher 96 tip comb for DW magnets, 10 x 10 pcs/box | 97002534 | KingFisher 96 tip comb for deep-well magnets, 10 x 10 pcs/box (for Flex, Apex and Presto) | 300 | Thermo | USA | $ 570.00 | $ 171,000.00 | $ 570.00 | 75 | 75 | 75 | 75 | long term |
| Thermo Scientific™ Matrix™ 850-1250ul Pipette Filter Tips (960 per case) | 8045 | Thermo Scientific™ Matrix Impact 850-1250μL Volume (Metric) 1250μL Filtered, Sterile, Thermo Scientific™ Matrix Impact 850-1250μL, Unit Size Case of 960 | 500 | Thermo | USA | $ 275.00 | $ 137,500.00 |  | 125 | 125 | 125 | 125 | long term |
| Total |  |  |  |  |  |  | $ 5,685,100.00 |  |  |  |  |  |  |