## Sheet2
Manufacturer | Type of Test | Technical Note | Sample Collection Type | Test Target | Test Designation (LAB or RDT) | Country Approved | CE certified | შენიშვნა
CDC | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Wadsworth Center, NYSDOH | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Roche cobas | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA | CE mark
Thermo Fisher Scientific, Inc. | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA | CE mark | რეგისტრაციაზე ეთქვა უარი
Hologic, Inc | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Laboratory Corporation of America | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Quidel Corp. | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Quest Diagnostics Infectious Disease, Inc. | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Abbott Molecular | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
DiaSorin Molecular LLC | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
GenMark Diagnostics, Inc. | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Primerdesign Ltd | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Cepheid (Point of care test) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider r does not need to be sent to lab | Swab of nose and throat | Viral RNA | Lab Test | USA | CE mark
BioFire Defense, LLC | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Mesa Biotech Inc. | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
PerkinElmer, Inc. | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | USA
Roche Molecular Systems Inc. | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | Canada
ThermoFisher Scientific | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | Canada | CE mark
Luminarie Canada Inc. (SK) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | Canada
Diagnostic Hybrids, Inc. (US) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | Canada
Hangzhou Alltest Biotech Co., Ltd. (China) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | Canada
Life Sciences Research Institute (South Korea) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | Canada
Hologic (United States) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab Test | Canada
Cepheid (United States) | Lab and POC based PCR | Lab based test to be collected by trained professional. POC means at point of care including doctor's office lateral flow chromatographic immunoassay for the qualitative detection of IgG and IgM antibodies | Swab of nose and throat | Viral RNA | Lab test and POC | Canada
Diagnostics Development Hub (DxD) (Singapore) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
Veredus Laboratories Pte Ltd (Singapore) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
AITbiotech Pte Ltd (Singapore) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
DSO National Laboratories (Singapore) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
Roche Diagnostics Asia Pacific Pte Ltd | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
JN Medsys Pte Ltd (Singapore) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
Life Technologies Holdings Pte Ltd (Singapore) | Real-Time RT-PCR Diagnostic Panel | Lab test. Taken by trained provider lateral flow chromatographic immunoassay for the qualitative detection of IgG and IgM antibodies Loop-mediated isothermal amplification (LAMP) is a method that can amplify DNA under isothermal conditions. | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
Biowalker Pte Ltd (Singapore) | Isothermal Amplification-Real Time Fluorescence Assay | Helps avoid false positives Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
SPD Scientific Pte Ltd (Singapore) | Real-Time RT-PCR Diagnostic Panel | Subject to false positives Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | Singapore
Shanghai Liferiver Bio-Tech (United States) Corp | Real-Time RT-PCR Diagnostic Panel | Subject to false positives Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Shanghai GeneoDx Biotech Co., Ltd. | Real-Time RT-PCR Diagnostic Panel | Subject to false positives Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
BGI Tech (Wuhan) Co., Ltd. | Real-Time RT-PCR Diagnostic Panel cPAS, combinatorial probe-anchor synthesis sequencing method | Subject to false positives Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
BGI Tech (Wuhan) Co., Ltd. | fluorescent PCR method | Subject to false positives Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Da An Gene Co., Ltd. | fluorescent PCR method | Subject to false positives Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Sansure Biotech | fluorescent PCR method | Subject to false positives Lab test. Taken by trained provider | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Shanghai BioGerm | fluorescent PCR method | Subject to false positives Ten-minute lateral flow immunoassay that detects IgM and IgG antibodies directed against SARS-CoV-2 Ten-minute lateral flow immunoassay that detects IgM and IgG antibodies directed against SARS-CoV-3 | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Chengdu Capital Biotech Co., Ltd. | Acid Detection Kit (isothermal amplification chip method) | PCR | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Beijing X-ABT Biotech Co., Ltd. | fluorescent PCR method | PCR | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Maccura Biotech Co., Ltd. | fluorescent PCR method | Subject to false positives | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Wuhan Easy Diagnosis Biomedicine Co., Ltd. | PCR Kit (fluorescent PCR method) | Subject to false positives | Swab of nose and throat | Viral RNA | Lab diagnostic test | China
Novacyt (British-French) | Real-Time PCR assay | PCR | Swab of nose and throat | Viral RNA | Lab Test | Emergency authorization in US and will make in UK | CE mark
Co-Diagnostics (Utah, USA) | Real-Time PCR assay | PCR | Swab of nose and throat | Viral RNA | Lab Test | USA | CE mark | რეგისტრირებულია
1drop Inc | qPCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark | რეგისტრირებულია
AB Analitica | Nucleic Acid Test | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Beijing Applied Biological Technologies Co. Lts | Multiple Real-Time PCR | Lab and POC | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Beijing Kewei Clinical Diagnostic Reagent Inc. | Nucleic Acid Test | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Cancer Rop Co., Ltd. | RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Chaozhou Hybribio Biochemistry Ltd., | RT-PCR manual & automated labbased | manual & automated lab-based | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Clonit | RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
CTK Biotech, Inc. | Real Time Multiplex RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark | რეგისტრირებულია
Daan Gene Co., Ltd. of Sun Yat-sen University | RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Edinburgh Genetics Limited | Real Time Multiplex RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Eurobio Scientific | Real Time Multiplex RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Gencurix Inc. | Nucleic Acid Test | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Getein Biotech, Inc. | RT-PCR Kit | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
KH Medical Co. Ltd, | Real Time Multiplex RT-PCR? | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
KogeneBiotech Co. Ltd | RT-PCR Kit | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Liferiver | Real Time Multiplex RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Liming Bio-Products Co. | Real Time Multiplex RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Nanjing Vazyme Medical Technology Co., LTD. | Triplex RT-qPCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Novacyt/Primerdesign Ltd | RT-PCR Kit | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark | რეგისტრირებულია
PerkinElmer Inc. | RT-PCR Kit | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Sansure Biotech, Inc. | PCR-Fluorescence Probing | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
SD BIOSENSOR Inc. | RT-PCR Kit | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Shaanxi Lifegen Co., Ltd. | fluorescent PCR method | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Shenzhen Puruikang Biotech Co., Ltd | PCR-Fluorescence Probing | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Shenzhen Tailored Medical Ltd | PCR-Fluorescence Probing | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Vircell, S.L. | RT-PCR | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark | რეგისტრაციის პროცესშია
Wuhan Easydiagnosis Biomedicine Co., Ltd | Nucleic Acid Test | Lab | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark | რეგისტრაციის პროცესშია
3D Medicine Science & Technology Co., Ltd. | RT-qPCR | Automated labbased, near-POC NAT or POC NAT | Swab of nose and throat | Viral RNA | Lab Test or POC |  | CE mark
AITbiotech | qPCR | lab based | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Anatolia Geneworks | Multiplex Nucleic Acid Detection Kit for Respiratory Pathogens | lab based | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Bai-care | Multiplex Nucleic Acid Detection Kit for Respiratory Pathogens |  | Swab of nose and throat | Viral RNA | Lab Test |  | CE mark
Beijing Microread Genetics Co.,Ltd, | Multiplex Nucleic Acid Detection Kit for Respiratory Pathogens | lab-based or near-POC | Swab of nose and throat | Viral RNA | Lab Test or POC |  | CE mark
Hangzhou Alltest Biotech Co Ltd (China) | Lateral Flow IgG/IgM | antibodies | Blood | Antibody Test | Rapid Diagnostic | Australia
VivaCheck Biotech (Hangzhou) Co Ltd (China) | Lateral Flow IgG/IgM | antibodies | Blood | Antibody Test | Rapid Diagnostic | Australia
CTK Biotech Inc (USA) | Lateral Flow IgG/IgM | antibodies | Blood | Antibody Test | Rapid Diagnostic | Australia
Guangzhou Wondfo Biotech Co Ltd (China) | Lateral Flow IgG/IgM | antibodies | Blood | Antibody Test | Rapid Diagnostic | Australia
VivaChek Biotech (Hangzhou) Co Ltd (China) | Lateral Flow IgG/IgM | antibodies | Blood | Antibody Test | Rapid Diagnostic | Australia
Guangzhou Wondfo Biotech Co Ltd (China) | Lateral Flow IgG/IgM | lateral flow; chromatographic; immunoassay for the qualitative detection of IgG and IgM antibodies | Blood | Antibody Test | Rapid Diagnostic | Australia
Everest Links Pte Ltd (Singapore) | IgM/IgG Rapid Test | antibodies; lateral flow chromatographic; immunoassay for the qualitative detection of IgG and IgM | Blood | Antibody Test | Rapid Diagnostic | singapore
Biolidics Limited (Singapore) | IgG/IgM Detection Kit | antibodies, loop-mediated isothermal amplification (LAMP) is a method that can amplify DNA under isothermal conditions | Blood | Antibody Test | Rapid Diagnostic | singapore
Guangzhou Wondfo Biotech Co Ltd (China) | IgG/IgM Detection Kit (Colloidal Gold method_ | Directed against SARS-COV-2 ten-minute lateral flow immunoassay that detecs IgM and IgG antibodies | Blood | Antibody Test | Rapid Diagnostic | China
Innovita (Tangshan) Biotech Co. LTD | antobody test kid (colloid gold method | detected against SARS-COV-3 | Blood | Antibody Test | Rapid Diagnostic | China
Bioscience (Chongqing) Biotech Co., Ltd. | IgG Antibody Test Kit（magnetic particle chemiluminescence method |  | Blood | Antibody Test | Rapid Diagnostic | China
Xiamen InnoDx Biotech Co., Ltd. | antobody test kid (CLIA method) | lourescence 10-minute lateral flow immunoassay that detects IgG and IgM antibodies | Blood | Antibody Test | Rapid Diagnostic | China
Guangdong Hecin Biotech Co., Ltd. | IgM antobody test kit (Colloidal test method) | detected against SARS-COV-3 | Blood | Antibody Test | Rapid Diagnostic | China
Nanjing Vazyme Biotech Co., Ltd. | IgM/IgG Rapid Test | detected against SARS-COV-3 | Blood | Antibody Test | Rapid Diagnostic | China
Zhuhai Livzon Pharmaceutical Group Inc. | IgM/IgG Rapid Test | detected against SARS-COV-3 | Blood | Antibody Test | Rapid Diagnostic | China |  | რეგისტრირებულია
CERTEST BIOTEC SL - SPAIN Equipamentos E Suprimentos | VIASURE SARS-CoV-2 Real-Time PCR detection kit |  | Blood | Antibody Test | Rapid Diagnostic | Brazil |  | რეგისტრირებულია
GUANGZHOU WONDFO BIOTECH CO., LTD. - CHINA, PEOPLE'S REPUBLIC CELER BIOTECNOLOGIA S | A One Step COVID-2019 Test | IgM/IgG antibody test | Blood | Antibody Test | Rapid Diagnostic | Brazil
Xiamen Biotime Biotechnology Co., Ltd. | IgG/IgM Rapid Qualitative Test Kit |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Wuhan EasyDiagnosis Biomedicine Co.,Ltd | IgG antibody test kit (colloidal gold method |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark | რეგისტრაციის პროცესშია
VivaChek Biotech (Hangzhou) Co., Ltd | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Tianjin MNCHIP Technologies Co., Ltd. | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Sure Bio-Tech (USA) Co., Ltd. | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Sugentech, Inc. | IgM |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Shenzhen Tailored Medical Ltd. | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Shenzhen Bioeasy Biotechnology Co., Ltd. | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Shanghai Chemtron Biotech Co. Ltd. | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
SensingSelf, Pte, Ltd, Singapore, | Rapid Test Kit (IgG/IgM) |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
SD BIOSENSOR, Inc. | Rapid Test Kit (IgG/IgM) |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
RayBiotech | Rapid Test Kit (IgG/IgM) |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
PerGrande BioTech Development Co., Ltd. |  |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Nantong Egens Biotechnology Co., LTD | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
MedicalSystem Biotechnology Co., Ltd | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Liming Bio-Products Co., Ltd | Test Device |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Jiangsu Bioperfectus Technologies Co. Ltd | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Innovita Biological Technology Co. Ltd | Ab Test (Colloidal Gold) (IgM/IgG whole blood/serum/plasma combo) |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Hanghzhou AllTest Biotech Co., Ltd | IgM/IgG Rapid Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark | რეგისტრირებულია
Beijing Savant Biotechnology Co., Ltd. | Antigen Fluorescence Rapid detection Kit |  | Swab of nose and throat | Viral Antigen | Rapid Diagnostic |  | CE Mark
Epitope Diagnostics, Inc. | IgG/IgM ELISA Kit |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
EUROIMMUN AG | ELISA IgA / IgG | (manual; automated; CE-IVD) | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark | რეგისტრირებულია
Liming Bio-Products Co., Ltd | antigen Rapid test device |  | Swab of nose and throat | antigen Rapid | Rapid Diagnostic |  | CE Mark
LOMINA AG. | IgM/IgG Antibody Fast Detection Kit |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
SD BIOSENSOR, Inc. | Ag FIA (manual |  | Swab of nose and throat | antigen Rapid | Rapid Diagnostic |  | CE Mark
Shenzhen Yhlo Biotech Co. Ltd | IgM/IgG antibody test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Sugentech, Inc. | IgM/IgG antibody test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark | რეგისტრირებულია
Taizhou ZECEN Biotech Co. | IgM/IgG antibody test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
AmonMed Biotechnology Co., Ltd. | IgM/IgG test kit (Rare Earth Nano Fluorescence Immunochromatography) /IgM/IgG test kit (Colloidal Gold) / COVID-19/Influenza A virus/Influenza B virus IgM combo |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
AmonMed Biotechnology Co., Ltd. | COVID19 Antigen test kit |  | Swab of nose and throat | antigen Rapid | Rapid Diagnostic |  | CE Mark
Beijing Abace Biology Co., Ltd | COVID-19 Antibody (IgG/IgM)Test Kit (Colloidal Gold Immunochromatography) |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Beijing Diagreat Biotechnologies Co., Ltd. | IgG/IgM Antibody Determination Kit |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Beijing Kewei Clinical Diagnostic Reagent Inc. | IgM/IgG ELISA Test Kit |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Beijing Tigsun Diagnostics Co.,Ltd. | Combo IgM/IgG Rapid Test (Lateral flow method |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
BIOMAXIMA S.A. | IgG/IgM Rapid Test Cassette |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark | რეგისტრირებულია
BioMedomics, Inc. | COVID-19 IgM-IgG Dual Antibody rapid test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Cellex, Inc. | Cellex qSARS-CoV-2 IgGIgM Cassette |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark | რეგისტრაციის პროცესშია
Changsha Sinocare Inc. | Antibody Test Strip (Colloidal Gold method |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Core Technology Co., Ltd. | IgM/IgG Ab Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
CTK Biotech, Inc. | IgM/IgG Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark | რეგისტრირებულია
Dynamiker Biotechnology (Tianjin) Co., Ltd. | IgM/IgG Test |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark | რეგისტრირებულია
Edinburgh Genetics Limited | novel coronavirus antibody detection kit (colloidal gold) |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
GenBody, Inc. | IgM/IgG |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark
Getein Biotech, Inc. | IgM/IgG |  | Blood | Antibody Test | Rapid Diagnostic |  | CE Mark