报价单

OFFER SHEET

客户：Georgia

| PRODUCT | OFFERED PRODUCT | QUANTITY | PRICE | SHIPMENT | STANDARD | LEAD TIME | PAYMENT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| . Respiratory Virus Nucleic Acid Detection | Novel Coronavirus(2019-nCoV) Nucleic Acid Diagnostic Kit (PCR-Fluorescence Probing | 100000 | USD17 | FCA Beijing or Shanghai | Enterprise standard | 14Days | TT IN ADVANCE |
| IgG/IgM Rapid Test antibody test | Diagnostic Kit for IgM/IgG Antibody to Coronavirus (SARS-CoV-2) (Lateral Flow) | 100000 | USD8.5 | FCA Beijing or Shanghai | Enterprise standard | 21Days | TT IN ADVANCE |
| Antigen Rapid Test Kit (with Analyzer) | Product name： SARS-CoV-2 Antibody Test (Lateral Flow Method) | 100000 | USD6 | FCA Beijing or Shanghai | Enterprise standard | 14Days | TT IN ADVANCE |
| Ventilator VG70 | The same as the TECHNICAL DATA | 2 | USD49000 | FCA Beijing or Shanghai |  | We will try our best to get two Ventilators at the end of April or the beginning of May. But the goods could not be 100% sure to get, if we can not get，we will not undertake any responsibility and we will return back the payment | TT IN ADVANCE |
| Portable Patient Monitor: 10“ or larger with touch support, easy-clean, screen resistant to chemical processing, with ability to display no less than 6 graphs simultaneously, built in battery (4 hours), Specifications: ECG, Resp, HR, NIBP, Temp (Step: 0.1°C, Accuracy: ±0.1°C), SpO2). Fully equipped for use on a patient with all accessories. @230v/50hz | Mindray Part No. 6303B-PA02311 "iMEC10 Patient Monitor Combat COVID-19 Fixed Configuration" See the Mindray Quotation | 60 | BRAND: Mindray USD1900 | FCA Beijing or Shanghai |  | 30Days | TT IN ADVANCE |
| Patient Basic Monitor: Intensive care 12“ or larger with touch support, easy-clean, screen resistant to chemical processing, with ability to display no less than 8 graphs simultaneously, built in battery (4 hours), Specifications: ECG, Resp, HR, NIBP,Temp(Steo: 0.1°C, Accuracy: ±0.1°C), SpO2). Fully equipped for use on a patient with all accessories. @230v/50hz | Mindray Part No. 6301B-PA02261 "iMEC12 Patient Monitor Combat COVID-19 Fixed Configuration" See the Mindray Quotation | 150 | BRAND: Mindray USD2300 | FCA Beijing or Shanghai |  | 30Days | TT IN ADVANCE |
| Intensive care patient monitor: With physiological parameters monitoring function, 15“ or larger with touch support, easy-clean, screen resistant to chemical processing, with ability to display no less than 8 graphs simultaneously, built in battery (4 hours), Specifications: ECG, Resp, HR, NIBP,Temp, SpO2, CO2 (No more than 5 monitors) CO (no less than 5) . Fully equipped for use on a patient with all accessories. @230v/50hz | Mindray Part No. 6620B-PA00285 "BeneVision N15 Patient Monitor Combat COVID-19 Fixed Configuration" See the Mindray Quotation | 60 | BRAND: Mindray USD11125 | FCA Beijing or Shanghai |  | 60Days | TT IN ADVANCE |

VALIDITY: 2 DAYS，The quotation  remains valid until 21:40，April 11,2020（Beijing time）.