Additional Considerations around CT scanner technical specifications:

Question about the location and room Setup:

- Are the locations selected and ready for CT scanners to be installed?

- Is the dedicated air conditioning and humidity control in place?

- Are the walls and the door lead-shielded in accordance to local / international standards?

- Is the staff training necessary and to what extent?

General questions about the CT scanner:

- What will be the main purpose of CT scanner : Cardiac , Lung , Paediatric, Bariatric etc

- Should the scanner comply with any particular radiation dosage standards?

- Is specialized software needed?

- Can the mobile CT scanners be considered?

Questions about technical specifications:

Gentry:

- Is 72 CM absolute must or can there be a small variance?

- FOV?

- Is 3-D laser lights for positioning mandatory

X-Ray Generator:

- Frequency type

- Power Output

- MA Range

- KV Range

X-Ray Tube:

- Tube voltage

- Anode Heat Storage Capacity

Spiral Acquisition:

- Scan Time for full 360 degree rotation?

- Minimum slice thickness

- Pitch Factor (volume pitch):

Image Resolution:

Please provide information about high and low contrast resolutions requirements.

Data Acquisition System:

- Number of slices per 360 rotation

- Other information about detectors

Image Reconstruction:

Provide information about reconstruction resolution and reconstructed slice thickness.

Operator Console:

Information about computer and monitor capabilities and setup including size and type of monitor, and technical specifications of operating console.

Workstation client server architecture:

Please provide detailed technical specifications of about workstation client server architecture

Patient communication system

Please provide information about intercom and patient instruction systems.

System Configuration Accessories, spares and consumables manuals, support, warranty and any other consideration that should be taken into consideration.