## Hospital Equipment
# | HOSPITAL EQUIPMENT | TOTAL | Lisi Hospital | Batumi Hospital | Rukhi Hospital | Emergency/Ambulance Service | Infectios Desease Hospital
1 | Pulmonary Ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invasive breathing regimes. | 110 | 50 | 35 | 25
2 | Pulmonary Ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 69 | 10 | 5 | 4 | 50
3 | basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 95 | 45 | 30 | 20
4 | patient monitor ECG, Resp, HR, NIBP,T2000$emp, SpO2, IBP, NIBP, LAN/WiFI (invasive) | 45 | 20 | 15 | 10
5 | patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, NIP , IBP, CO2 lAN/WIFI (high class model for pediatric and adult use) | 14 | 6 | 6 | 2
6 | patient monitor for transportation ECG, Resp, HR, NIBP,Temp, SpO2 | 8 | 3 | 3 | 2
7 | central monitoring station: connects at least 30 monitors | 6 | 3 | 2 | 1
8 | ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment. | 115 | 50 | 40 | 25
9 | ICU bed, pediatric: four-section resuscitation medical bed (with electric control) pediatric. Divided into appropriate sections, with a mattress resistant to washing-chemical processing | 16 | 6 | 6 | 4
10 | anti pressure sores mattress with compressor control | 45 | 15 | 15 | 15
11 | Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 366 | 6 | 5 | 5 | 350
12 | negatoscope 35*43 | 9 | 3 | 3 | 3
13 | Syringe Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 324 | 144 | 100 | 80
14 | Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 46 | 21 | 15 | 10
15 | pressure infusion bag | 142 | 67 | 45 | 30
16 | high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 21 | 7 | 7 | 7
17 | 12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes | 9 | 3 | 3 | 3
18 | LED mobile lights for operation cabinet | 6 | 2 | 2 | 2
19 | Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 9 | 3 | 3 | 3
20 | Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 17 | 7 | 5 | 5
21 | Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 12 | 4 | 4 | 4
22 | Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 8 | 4 | 2 | 2
23 | Ambu - Masks for adults | 122 | 57 | 35 | 30
24 | Ambu - Masks pediatric | 23 | 13 | 5 | 5
25 | Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter) | 15 | 5 | 5 | 5
26 | glucometer with strips | 30 | 10 | 10 | 10
27 | Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 6 | 2 | 2 | 2
28 | X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz. | 3 | 1 | 1 | 1
29 | Ultrasound diagnostic device, portable, high class, with at least 3 transducers, with proper cart, integrated batteries. General tests Color Doppler display, Cardiology. With abdominal, linear, and cardio transduction | 3 | 1 | 1 | 1
30 | Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 280 | 100 | 100 | 80
31 | bronchoscope | 5 | 2 | 2 | 1
32 | gastroscope | 3 | 1 | 1 | 1
33 | pump | 150 | 50 | 50 | 50
34 | dialysis machine | 3 | 1 | 1 | 1
35 | Solution heating system | 18 | 6 | 6 | 6
36 | Portable pulse oximeter for adults | 30 | 10 | 10 | 10
37 | Multiple use silicone contour with compatible valve | 270 | 120 | 80 | 70
ER
38 | ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and noninvasive breathing regimes. | 3 | 1 | 1 | 1
39 | ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 6 | 2 | 2 | 2
40 | pediatric shock stretcher | 6 | 2 | 2 | 2
41 | stretcher for adults, with maximum patient weight 200 kg or higher | 60 | 20 | 20 | 20
42 | negatoscope 35*42 | 6 | 2 | 2 | 2
43 | Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 15 | 5 | 5 | 5
44 | high pressure surgical suction pump not less than 50 liters per minute . Two cans not less than 2 L | 9 | 3 | 3 | 3
45 | 12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 9 | 3 | 3 | 3
46 | Video laryngoscope with different sized blades, 2-2 pieces with multiple blades | 3 | 1 | 1 | 1
47 | Portable oxygen tank 5-10 liters, with reductor (with DIN standard flowmeter) | 15 | 5 | 5 | 5
48 | mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteries and With different software capabilities. | 3 | 1 | 1 | 1
OR
49 | An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized | 6 | 2 | 2 | 2
50 | Patient monitor, compatible with anesthetic apparatus. With at least a 15-inch screen. ECG, Resp, HR, NIBP, Temp, SpO2, NIPP, IBP, lAN / WIFI, OxyCRG (High Class Pediatric / Adult) | 6 | 2 | 2 | 2
51 | Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit. | 3 | 1 | 1 | 1
52 | Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod. | 3 | 1 | 1 | 1
53 | Surgical instruments set (general thoraco-abdominal, neuro, microsurgical) | 3 | 1 | 1 | 1
54 | solution heating system | 6 | 2 | 2 | 2
55 | patient heating system | 6 | 2 | 2 | 2
Radiology Unit
56 | Computer tomography: at least 64 layers, with different applications, with a special program compatible modern protocol for lung tests with subsequent appropriate updates in future. Gentry diameter not less than 72 cm, table load capacity, not less than 220 kg; ; Set: digital printer for different sizes of tapes; Continuous power supply of appropriate capacity and characteristics, injector for 200 ml syringes, cart, remote control. | 3 | 1 | 1 | 1
57 | Digital Xray | 3 | 1 | 1 | 1
58 | Ultrosound machine | 3 | 1 | 1 | 1
Clinical Laboratory
60 | Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes | 3 | 1 | 1 | 1
61 | Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately) | 3 | 1 | 1 | 1
62 | automatic Immunological analyzer, (list of reagents provided separately) | 3 | 1 | 1 | 1
63 | Coagulometer, automatic | 3 | 1 | 1 | 1
64 | Urine analyzer, automatic | 3 | 1 | 1 | 1
65 | Centrifuge, 10-1500 rpm; general | 3 | 1 | 1 | 1
66 | Centrifuge, for small samples 2-20000b / min | 3 | 1 | 1 | 1
67 | Pipette set (should include 5 mcg - 1000 mcl, with different scales) | 3 | 1 | 1 | 1
68 | Dispenser, for adjustable dosing | 3 | 1 | 1 | 1
69 | Laboratory Scale | 3 | 1 | 1 | 1
WARDS
70 | Standard hospital beds | 350 | 150 | 120 | 80
71 | ICU stations | 80 | 30 | 30 | 20
72 | Resuscitation beds | 65 | 20 | 20 | 25
73 | Defibrillator Biphasic 360 Joules, Adult and Pediatric Multiple Electrodes, Cardio Version, Self-Test Diagnosis. | 25 | 10 | 10 | 5
74 | Shock table (cart) | 30 | 10 | 10 | 10
75 | Cardiograph with a 3-channel color liquid crystal display, the display should have 12 outputs. With different software capabilities. With the ability to process a cardiogram. With multiple chest and limb electrodes. (Can be sterilized and disinfected), with proper cart, with multiple electrodes | 50 | 25 | 15 | 10
76 | Patient monitor, basic: (ECG, Resp, HR, NIBP,Temp, SpO2, ), sensory,with easy to clean screen | 140 | 50 | 50 | 40
77 | Glucometer with strips (100) | 6 | 2 | 2 | 2
78 | Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more; | 12 | 4 | 4 | 4
79 | Laryngoscope set, Macintosh, 1,2,3,4 size with blades (high quality) | 3 | 1 | 1 | 1
80 | Laryngoscope set, Miller, 1,2,3,4 size with blades (high quality) | 3 | 1 | 1 | 1
81 | High-pressure surgical resection not less than 50 l / min, with two jars, not less than 2 l | 6 | 2 | 2 | 2
82 | Infusomat, volumetric: Drip compatible with different manufacturer's systems | 6 | 2 | 2 | 2
STERILAZATION
83 | 2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials | 5 | 2 | 2 | 1
84 | Plasma sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization. | 4 | 1 | 1 | 2
85 | Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers) | 14 | 2 | 2 | 10
86 | Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set | 7 | 3 | 3 | 1
87 | Ultrasonic washer, capacity 20 l or more | 5 | 1 | 1 | 3
88 | Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers | 6 | 2 | 2 | 2
ADDITIONAL ITEMS
89 | Portable ECG 12 lead | 350 |  |  |  | 350
90 | portable oxygen generation system (pogs) | 90 |  |  |  | 90
91 | patient monitor for vital signs | 20 |  |  |  | 20
92 | portable oxygen concentrator | 20 |  |  |  | 20
93 | Pulse oximeters | 700 |  |  |  | 700
94 | Field Hospital tent sets for bioisolation patients | 4 |  |  |  | 4
95 | isolation patient transportation capsule | 15 |  |  |  | 15
96 | Bone Catheter for adults and pediatric patients | 1500 |  |  |  | 1500
97 | A multifunctional system for all treatment modes in therapeutic apheresis | 1 |  |  |  |  | 1
98 | Universal Ultrusound diagnoistic system Convex, linear and cardiac transducers and with liver elastograph | 1 |  |  |  |  | 1
99 | DNA and RNA Extraction system/instrument | 1 |  |  |  |  | 1

## Laboratory
Item | NCDC | Number of Units
PCR Reagents and Consumables
Sample collection tubes with VTM and 2 plastic swab applicators | 250000 | 20000
QIAamp Viral RNA Mini Kit | 600 | 80
QIAamp Mini Collection Tubes | 150 | 20
QIAsymphony DSP Virus/Pathogen Kit, 192 preps, includes reagent cartridges, enzyme racks and accessories | 500 | 80
TaqPath™ COVID-19 CE-IVD RT-PCR Kit, 1000 tests | 200 | 10
MagMAX™ Viral/Pathogen II (MVP II) Nucleic Acid Isolation Kit, 2,000 preps | 200
KingFisher Deepwell 96 Plate, V-bottom, polypropylene, case of 50 plates | 400 | 10
KingFisher 96 KF microplate (200μL) case of 48 plates | 100 | 40
KingFisher 96 tip comb for DW magnets, 10 x 10 pcs/box | 200
Thermo Scientific™ Matrix™ 850-1250ul Pipette Filter Tips (960 per case) | 700
KIT COBAS 6800/8800 SARS-COV-2 192T | 1060 | 40
KIT COBAS 6800/8800 SARS-COV-2 RMC | 130 | 15
KIT COBAS 6800/8800 BUFF NEG RMC IVD | 130 | 8
Solid Waste Bag With Insert Set of 20 | 70 | 50
cobas omni Processing Plate | 140 | 3
KIT COBAS 6800/8800 SPEC DIL REAGENT IVD | 180 | 4
KIT COBAS 6800/8800 LYS REAGENT IVD | 180 | 10
cobas omni Amplification Plate | 70 | 5
KIT COBAS 6800/8800 MGP IVD | 430 | 3
KIT COBAS 6800/8800 WASH IVD | 1060 | 6
KIT COBAS PCR MEDIA SECONDARY TUBE | 200 | 20
cobas omni Pipette Tips | 270
cobas® 6800 System | 1
06612601001 LightCycler 8-Tube Strips (white) – 10 packs | 1000
04729692001 LightCycler 480 Multiwell Plate 96 – 3 packs | 350
Modular Wuhan CoV E-gene | 1000
Modular Wuhan CoV RdRP-gene | 50
LightCycler® Multiplex RNA Virus Master | 550
Elecsys® Anti-SARS-CoV-2 | 204 | roche
ProCell | 32 | roche
CleanCell | 32 | roche
SysClean | 8 | roche
Assay Tips | 32 | roche
Assay Cups | 20 | roche
SysWash | 16 | roche
Diluent MultiAssay | 12 | roche
Clean-Liner | 8 | roche
Service Kit H, Elecsys/cobas e: | 2 | roche
Service Kit Y, Elecsys/cobas e: | 2 | roche
Valve Body, Elecsys/cobas e: | 3 | roche
Sipper Wash Station, Elecsys/cobas e: | 3 | roche
Measuring cell, Elecsys/cobas e: | 2 | roche
SAP Test Elecsys/cobas e | 4 | roche
BlankCell Elecsys.cobas e | 6 | roche
CellCheck Elecsys/cobas e | 6 | roche
TSH Elecsys cobas e 200 | 4 | roche
Logix Smart Coronavirus disease 2019 (COVID19) kit | 50000
RealStar® SARS-CoV-2 RT-PCR Kit 1.0, 384rxn, Prod. No 821015, Altona | 105
SARS-CoV-2 Amplification Reagent Kit 4*24 | 1000 | Abbott
SARS-CoV-2 Control Kit | 200 | Abbott
TECAN ASPS 1ML PIPETTE TIPS 24 X 96 | 1300 | Abbott
TECAN ASPS 0.2 ML PIPETTE TIPS 24 X 97 | 300 | Abbott
ASPS REACT VESSELS 500X | 1000 | Abbott
M2K 200 ML REAGENT VESSEL (6X15) | 1000 | Abbott
ASPS 96WELL DP PLATES 32 X | 2000 | Abbott
M2K 96WELL OPT PLATE 20X | 800 | Abbott
M2K OPTICAL AD COVERS100X | 100 | Abbott
mSample Preparation System DNA, 1*96 | 2000 | Abbott
Xpert® Xpress SARS-CoV-2 test | 100000 | Cepheid
Molecular grade Ethanol, 500 ml bottle | 500
RT-PCR Grade Water | 50
Real-time PCR plates with optical seals, 0.2 ml, compatible for ABI QS5/7 and Biorad CFX96, 100 per case | 100
PIPETTE TIP FILTER (MetlerToledo) , 0.1 - 10 ul, ster., box-960 | 700
PIPETTE TIP FILTER (MetlerToledo) , 10 - 100 ul, ster., box-960 | 100
PIPETTE TIP FILTER (MetlerToledo) , 20 - 200 ul, ster., box-960 | 100
PIPETTE TIP FILTER (TipOne) , 20 - 200 ul, ster., box-960 | 700
PIPETTE TIP FILTER (MetlerToledo) , 100 - 1200 ul, ster., box-960 | 700
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 350000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 200
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 100000
swab with breakpoint for collection of nasopharyngeal specimens | 350000
nCov-2019 Rapid detection kit (IgM/IgG) | 100000
nCov-2019 Rapid detection kit (Antigen) | 100000

## PPE
PPE | Total | NCDC | Emergency Service
GOGGLE | 54000
GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  | 4000 | 50000
GOWN | 2040000
GOWN, AAMI level 3, non sterile, disp., size L |  | 16000 | 2000000
GOWN, AAMI level 3, non sterile, disp., size M |  | 16000 | 0
GOWN, AAMI level 3, non sterile, disp., size XL |  | 7000 | 0
GOWN, AAMI level 3, non sterile, disp., size XXL |  | 1000 | 0
GLOVE | 1200000
GLOVE EXAMINATION, nitrile, pf, size L |  | 39000 | 1000000
GLOVE EXAMINATION, nitrile, pf, size M |  | 80000 | 0
GLOVE EXAMINATION, nitrile, pf, size S |  | 80000 | 0
GLOVE EXAMINATION, nitrile, pf, size XL |  | 1000 | 0
MASK | 3390315
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  | 15000 | 3000000
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  | 15000 | 0
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  | 10000 | 0
RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  | 50000 | 300000
FACE SHIELD, clear plastic, disp. |  | 300 | 0
N95 mask fit test kit |  | 10 | 5
SANITAZER LIQUID | 126000 |  | 0
ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  | 1000 | 100000
Antibacterial liquid soap (liters) |  | 0 | 0
Alcohol-based hand rub (70%, liters) |  | 5000 | 0
Chlorine-based cleaning solution for surfaces |  | 5000 | 10000
Disposable paper tissue rolls |  | 5000 | 0
OTHER CONSUMABLES | 160920 |  | 0
BOX, triple packaging, biological substance UN3373 +pouch |  | 50 | 0
Thermometers (standard) |  | 200 | 0
Infrared thermometers |  | 20 | 500
headband |  | 40000
boot covers |  | 80000
biohazard bag 19/24 |  | 40000
SAFETY bag for PPE equipment |  | 100
Papr |  | 50

## Data Validation (hidden)
Selection:
Available through existing LTA/Contracts
Available stock
Not available