Dear Ms. Timsit,

With reference to your letter of March 30, 2020 please be kindly informed that on 23rd of March Agreement on State Procurement was signed between the Ministry of Internally Displaced Persons from the Occupied Territories, Labour, Health and Social Affairs of Georgia and Shenzhen Bioeasy Biotechnology Co., Ltd regarding purchasing following rapid COVID-19 tests:

- 2019-Novel CoronaVirus (2019-nCov) IgG/IgM GICA Rapid Test – 4000 tests (Antibody tests)

- Novel CoronaVirus (2019-nCov) Ag GICA Rapid Test – 211 000 tests (Antigen tests)

At first, company requested to reimburse the value of the goods to be delivered in advance, however, after fruitful negotiations the parties agreed that at the initial stage, the cost of tests would be reimbursed after the actual receipt of the goods.

According to the agreement, the first delivery of the rapid tests (1000 antigens and 1000 antibodies) was scheduled on March 24. However, the company contacted to the Ministry on March 25 and informed that the quality control of the tests was performed on the same day and the sensitivity of the antigen test (Novel CoronaVirus (2019-nCov) Ag GICA Rapid Test) was not sufficient, as a result of which the company decided to recall the product. Therefore, The above 2000 tests, which had not yet undergone customs clearance procedures at that time, were returned to the supplier.

1000 antigen tests were replaced by 2000 another type of antigen tests (Bioeasy 2019-Novel Coronavirus (2019-nCoV) Antigen Rapid Test Kit (Fluorescence Immunochromatographic Assay)), the results of which are verified through analyzer. As for the antibody tests, they were received by the Ministry in full (4000 pieces) amount. All provided tests have been successfully used by relevant medical facilities.