## Hospital Equipment
# | HOSPITAL EQUIPMENT | Amount Requested | Lisi Hospital | Batumi Hospital | Rukhi Hospital | Emergency/Ambulance Service | Infectios Desease Hospital | Available for Supply Portal | Column1 | Unit Price $ | Total Price $ | Delivery | Country of Origin | Note
1 | Pulmonary Ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invasive breathing regimes. | 110 | 50 | 35 | 25 |  |  |  |  | 16000 | 1760000 | 45 Days FCA Italy | Italy | 50 Units available for urgent delivery in mid-July, with additional 60 by the end of July. Prices are attractive. Also 3 different LTAs in place
2 | Pulmonary Ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 69 | 10 | 5 | 4 | 50 |  |  |  | $7,000 from China $15,000 from USA | $483,000 from China $1,035,000 from USA | 28 Days Beijing 90 Days Boston | China USA | Multiple LTAs in place; need to clarify exact model/specs
3 | basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 95 | 45 | 30 | 20 |  |  |  |  | 320 | 30400 | 14 Days Shanghai or Hong Kong | China | Multiple LTAs in place; so back-up exists
4 | patient monitor ECG, Resp, HR, NIBP,T2000$emp, SpO2, IBP, NIBP, LAN/WiFI (invasive) | 45 | 20 | 15 | 10 |  |  |  |  | 1200 | 54000 | 14 Days Shanghai | China | Multiple LTAs in place; so back-up exists
5 | patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, NIP , IBP, CO2 lAN/WIFI (high class model for pediatric and adult use) | 14 | 6 | 6 | 2 |  |  |  |  | 1650 | 23100 | 28 Days Beijing | China
6 | patient monitor for transportation ECG, Resp, HR, NIBP,Temp, SpO2 | 8 | 3 | 3 | 2 |  |  |  |  | $1,200 China $2,012 Germany | $9,600 From China $16,100 From Germany | 28 Days, Shanghai 42 Days Frankfurt | China Germany | Need to confirm model/specs. Multiple LTAs in place; so back-up exists
7 | central monitoring station: connects at least 30 monitors | 6 | 3 | 2 | 1
8 | ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment. | 115 | 50 | 40 | 25 |  |  |  |  | $1,500 | 172500 | Waiting confirmation on delivery details | Turkey
9 | ICU bed, pediatric: four-section resuscitation medical bed (with electric control) pediatric. Divided into appropriate sections, with a mattress resistant to washing-chemical processing | 16 | 6 | 6 | 4 |  |  |  |  | $1,500 | 25600 | Waiting confirmation on delivery details | Turkey
10 | anti pressure sores mattress with compressor control | 45 | 15 | 15 | 15 |  |  |  |  | $150 | 6750 | 21 Days to Tbilisi | Italy | Local Supplier
11 | Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 366 | 6 | 5 | 5 | 350 |  |  |  | 3450 | 1262700 | 21 Days, Hong Kong | China
12 | negatoscope 35*43 | 9 | 3 | 3 | 3 |  |  |  |  | $270 | 2430 | 6 weeks to Tbilisi | Italy | Local Supplier
13 | Syringe Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 324 | 144 | 100 | 80 |  |  |  |  | 345 | 111780 | 50 Days to Hong Kong | Hong Kong
14 | Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 46 | 21 | 15 | 10 |  |  |  |  | 400 | 18400 | 27 Days to New Dehli | China
15 | pressure infusion bag | 142 | 67 | 45 | 30
16 | high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 21 | 7 | 7 | 7 |  |  |  |  | 424 | 8904 | 14 days to Shanghai | China
17 | 12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes | 9 | 3 | 3 | 3 |  |  |  |  | $ 990 $ 1400 | $8,910 $12,600 | 14 day to Shanghai 15 day to Hong Kong | China
18 | LED mobile lights for operation cabinet | 6 | 2 | 2 | 2 |  |  |  |  | $400 | 2400 | 6 Weeks to Tbilisi | Italy | Local Supplier
19 | Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 9 | 3 | 3 | 3 |  |  |  |  | 3500 | 31500 | 6 Weeks to Tbilisi | Taiwan | Local Supplier
20 | Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 17 | 7 | 5 | 5 |  |  |  |  | 50 | 850 | 15 days to Lahore | Pakistan
21 | Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 12 | 4 | 4 | 4 |  |  |  |  | 50 | 600 | 16 days to Lahore | Pakistan
22 | Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 8 | 4 | 2 | 2 |  |  |  |  | 70 | 560 | 6 Weeks to Tbilisi | Italy | Local Supplier
23 | Ambu - Masks for adults | 122 | 57 | 35 | 30 |  |  |  | oxygen masks? | 28 | 3416 | 6 Weeks to Tbilisi | Italy | Local Supplier
24 | Ambu - Masks pediatric | 23 | 13 | 5 | 5 |  |  |  | oxygen masks? | 22 | 506 | 1 Week Shanghai | China | Local Supplier
25 | Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter) | 15 | 5 | 5 | 5 |  |  |  |  | 445 | 6675 | 6 Weeks to Tbilisi | Italy | Local Supplier
26 | glucometer with strips | 30 | 10 | 10 | 10 |  |  |  |  | 12 | 360 | In stock | China | Local Supplier
27 | Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 6 | 2 | 2 | 2 |  |  |  |  | 4500 | 27000 | 15 Days Hong Kong | China
28 | X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz. | 3 | 1 | 1 | 1 |  |  |  |  | 51954 | 155862 | 21 days FCA Florence - FLR | Italy
29 | Ultrasound diagnostic device, portable, high class, with at least 3 transducers, with proper cart, integrated batteries. General tests Color Doppler display, Cardiology. With abdominal, linear, and cardio transduction | 3 | 1 | 1 | 1 |  |  |  |  | $11,477 $14,950 $29,791 | $34,431 $44,850 $89,373 | 14 days, Hong Kong 30 days, Florance 21 Days, Rotterdam | China Italy US
30 | Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 280 | 100 | 100 | 80 |  |  |  |  | 10.5 | 2940 | 28 days, Shanghai | Taiwan
31 | bronchoscope | 5 | 2 | 2 | 1 |  |  |  |  | N/A | N/A | N/A | N/A
32 | gastroscope | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A
33 | pump | 150 | 50 | 50 | 50 |  |  |  |  | N/A | N/A | N/A | N/A
34 | dialysis machine | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A
35 | Solution heating system | 18 | 6 | 6 | 6 |  |  |  |  | N/A | N/A | N/A | N/A
36 | Portable pulse oximeter for adults | 30 | 10 | 10 | 10 |  |  |  |  | $14 $20 $150 | $420 $600 $4500 | 30 Days, Beijing | China | Multiple LTAs in place; so back-up exists
37 | Multiple use silicone contour with compatible valve | 270 | 120 | 80 | 70 |  |  |  |  | N/A | N/A | N/A | N/A
ER
38 | ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and noninvasive breathing regimes. | 3 | 1 | 1 | 1 |  |  |  |  | 16000 | 48000 | 45 Days FCA Italy | Italy | 50 Units available for urgent delivery in mid-July, with additional 60 by the end of July. Prices are attractive. Also 3 different LTAs in place
39 | ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 6 | 2 | 2 | 2 |  |  |  |  | $7,000 from China $15,000 from USA | $42,000 from China $90,000 from USA | 28 Days Beijing 90 Days Boston | China USA | Multiple LTAs in place; need to clarify exact model/specs
40 | pediatric shock stretcher | 6 | 2 | 2 | 2 |  |  |  |  | $1,075 | 6450 | 6 Weeks to Tbilsi | Turkey | LTA and Local Supplier Available
41 | stretcher for adults, with maximum patient weight 200 kg or higher | 60 | 20 | 20 | 20 |  |  |  |  | $1,650 | 99000 | 6 Weeks to Tbilsi | Turkey | LTA and Local Supplier Available
42 | negatoscope 35*42 | 6 | 2 | 2 | 2 |  |  |  |  | $270 | 2430 | 6 weeks to Tbilisi | Italy | Local Supplier
43 | Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 15 | 5 | 5 | 5 |  |  |  |  | 400 | 6000 | 27 Days to New Dehli | China
44 | high pressure surgical suction pump not less than 50 liters per minute . Two cans not less than 2 L | 9 | 3 | 3 | 3 |  |  |  |  | 424 | 3816 | 14 days to Shanghai | China
45 | 12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 9 | 3 | 3 | 3 |  |  |  |  | $ 990 $ 1400 | $8,910 $12,600 | 14 day to Shanghai 15 day to Hong Kong | China
46 | Video laryngoscope with different sized blades, 2-2 pieces with multiple blades | 3 | 1 | 1 | 1 |  |  |  |  | 3500 | 10500 | 6 Weeks to Tbilisi | Taiwan | Local Supplier
47 | Portable oxygen tank 5-10 liters, with reductor (with DIN standard flowmeter) | 15 | 5 | 5 | 5 |  |  |  |  | 445 | 6675 | 6 Weeks to Tbilisi | Italy | Local Supplier
48 | mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteries and With different software capabilities. | 3 | 1 | 1 | 1 |  |  |  |  | $11,477 $14,950 $29,791 | $34,431 $44,850 $89,373 | 14 days, Hong Kong 30 days, Florance 21 Days, Rotterdam | China Italy US | Multiple LTAs in place, so back-up exists
OR
49 | An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized | 6 | 2 | 2 | 2 |  |  |  |  | 25000 | 150000 | 3 months to Tbilisi | Denmark | Local Supplier
50 | Patient monitor, compatible with anesthetic apparatus. With at least a 15-inch screen. ECG, Resp, HR, NIBP, Temp, SpO2, NIPP, IBP, lAN / WIFI, OxyCRG (High Class Pediatric / Adult) | 6 | 2 | 2 | 2 |  |  |  |  | 1650 | 9900 | 28 Days Beijing | China
51 | Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit. | 3 | 1 | 1 | 1 |  |  |  |  | 12500 | 37500 | 4 Weeks to Tbilisi | Germany
52 | Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod. | 3 | 1 | 1 | 1 |  |  |  |  | 12500 | 37500 | 4 Weeks to Tbilisi | Germany
53 | Surgical instruments set (general thoraco-abdominal, neuro, microsurgical) | 3 | 1 | 1 | 1 |  |  |  |  | 11000 | 33000 | 5 Weeks to Tbilisi | Turkey
54 | solution heating system | 6 | 2 | 2 | 2 |  |  |  |  | N/A | N/A | N/A | N/A
55 | patient heating system | 6 | 2 | 2 | 2 |  |  |  |  | N/A | N/A | N/A | N/A
Radiology Unit
56 | Computer tomography: at least 64 layers, with different applications, with a special program compatible modern protocol for lung tests with subsequent appropriate updates in future. Gentry diameter not less than 72 cm, table load capacity, not less than 220 kg; ; Set: digital printer for different sizes of tapes; Continuous power supply of appropriate capacity and characteristics, injector for 200 ml syringes, cart, remote control. | 3 | 1 | 1 | 1 |  |  |  |  | Hard to estimate; depends on final specs, room set-up, components; requires quick engineering assessment (could be USD 1M) | #VALUE! | 3-4 months to Tbilisi | Netherlands | UNOPS has recently done similar installation in Ukraine, and is ongoing in Kosovo and Albania; we are consulting supplier and other offices on tech specs as well as engineering requirements; we can do/replicate it in Georgia
57 | Digital Xray | 3 | 1 | 1 | 1 |  |  |  |  | 51954 | 155862 | 21 days FCA Florence - FLR | Italy
58 | Ultrosound machine | 3 | 1 | 1 | 1 |  |  |  |  | $11,477 $14,950 $29,791 | $34,431 $44,850 $89,373 | 14 days, Hong Kong 30 days, Florance 21 Days, Rotterdam | China Italy US | Multiple LTAs in place; back-up options exist
Clinical Laboratory
60 | Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
61 | Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately) | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
62 | automatic Immunological analyzer, (list of reagents provided separately) | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
63 | Coagulometer, automatic | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
64 | Urine analyzer, automatic | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
65 | Centrifuge, 10-1500 rpm; general | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
66 | Centrifuge, for small samples 2-20000b / min | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
67 | Pipette set (should include 5 mcg - 1000 mcl, with different scales) | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
68 | Dispenser, for adjustable dosing | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
69 | Laboratory Scale | 3 | 1 | 1 | 1 |  |  |  |  | N/A | N/A | N/A | N/A | N/A
WARDS
70 | Standard hospital beds | 350 | 150 | 120 | 80 |  |  |  |  | $700 $1,200 | $245,000 $420,000 | FCA India or Pakisgan, Turkey |  | LTA available as well as local supplier quotes
71 | ICU stations | 80 | 30 | 30 | 20 | [8 empty] | LTA available, but additional Information is needed
72 | Resuscitation beds | 65 | 20 | 20 | 25 |  |  |  |  | $700 $1,200 | $245,000 $420,000 | FCA India or Pakisgan, Turkey |  | LTA available as well as local company quotes
73 | Defibrillator Biphasic 360 Joules, Adult and Pediatric Multiple Electrodes, Cardio Version, Self-Test Diagnosis. | 25 | 10 | 10 | 5 |  |  |  |  | 3450 | 86250 | 21 Days, Hong Kong | China | Multiple LTAs in Place
74 | Shock table (cart) | 30 | 10 | 10 | 10
75 | Cardiograph with a 3-channel color liquid crystal display, the display should have 12 outputs. With different software capabilities. With the ability to process a cardiogram. With multiple chest and limb electrodes. (Can be sterilized and disinfected), with proper cart, with multiple electrodes | 50 | 25 | 15 | 10 |  |  |  |  | $ 990 $ 1400 | $8,910 $12,600 | 14 day to Shanghai 15 day to Hong Kong | China
76 | Patient monitor, basic: (ECG, Resp, HR, NIBP,Temp, SpO2, ), sensory,with easy to clean screen | 140 | 50 | 50 | 40 |  |  |  |  | 320 | 44800 | 14 Days Shanghai or Hong Kong | China
77 | Glucometer with strips (100) | 6 | 2 | 2 | 2 |  |  |  |  | 12 | 72 | In stock | China | Local Supplier
78 | Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more; | 12 | 4 | 4 | 4 |  |  |  |  | 10.5 | 126 | 28 days, Shanghai | Taiwan
79 | Laryngoscope set, Macintosh, 1,2,3,4 size with blades (high quality) | 3 | 1 | 1 | 1 |  |  |  |  | 50 | 150 | 15 days to Lahore | Pakistan
80 | Laryngoscope set, Miller, 1,2,3,4 size with blades (high quality) | 3 | 1 | 1 | 1 |  |  |  |  | 50 | 150 | 16 days to Lahore | Pakistan
81 | High-pressure surgical resection not less than 50 l / min, with two jars, not less than 2 l | 6 | 2 | 2 | 2 |  |  |  |  | 424 | 2544 | 14 days to Shanghai | China
82 | Infusomat, volumetric: Drip compatible with different manufacturer's systems | 6 | 2 | 2 | 2 |  |  |  |  | 400 | 2400 | 27 Days to New Dehli | China
STERILAZATION
83 | 2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials | 5 | 2 | 2 | 1
84 | Plasma sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization. | 4 | 1 | 1 | 2
85 | Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers) | 14 | 2 | 2 | 10
86 | Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set | 7 | 3 | 3 | 1
87 | Ultrasonic washer, capacity 20 l or more | 5 | 1 | 1 | 3
88 | Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers | 6 | 2 | 2 | 2
ADDITIONAL ITEMS
89 | Portable ECG 12 lead | 350 |  |  |  | 350 |  |  |  | $ 990 $ 1400 | $8,910 $12,600 | 14 day to Shanghai 15 day to Hong Kong | China | Multiple LTAs in place; several back-up options
90 | portable oxygen generation system (pogs) | 90 |  |  |  | 90 | [7 empty] | Additional Information is needed
91 | patient monitor for vital signs | 20 |  |  |  | 20 |  |  |  | 320 | 6400 | 14 Days Shanghai or Hong Kong | China
92 | portable oxygen concentrator | 20 |  |  |  | 20 |  |  |  | 908.4 | 18168 | 1000 Days, Shanghai | China
93 | Pulse oximeters | 700 |  |  |  | 700 |  |  |  | $14 $20 $150 | $420 $600 $4500 | 30 Days, Beijing | China
94 | Field Hospital tent sets for bioisolation patients | 4 |  |  |  | 4 | [7 empty] | Additional Information is needed, Mobile clinic LTA in place, Quotation largely depends on specifications
95 | isolation patient transportation capsule | 15 |  |  |  | 15 |  |  |  | $4,500 $10,000 | $67,000 $10,000
96 | Bone Catheter for adults and pediatric patients | 1500 |  |  |  | 1500 |  |  |  | N/A | N/A | N/A | N/A | N/A
97 | A multifunctional system for all treatment modes in therapeutic apheresis | 1 |  |  |  |  | 1 |  |  | N/A | N/A | N/A | N/A | N/A
98 | Universal Ultrusound diagnoistic system Convex, linear and cardiac transducers and with liver elastograph | 1 |  |  |  |  | 1 |  |  | $11,477 $14,950 $29,791 | $34,431 $44,850 $89,373 | 14 days, Hong Kong 30 days, Florance 21 Days, Rotterdam | China Italy US | Multiple LTAs in Place
99 | DNA and RNA Extraction system/instrument | 1 |  |  |  |  | 1 |  |  | N/A | N/A | N/A | N/A | N/A

## Emergency Service Radio Station (hidden)
# | Items | Quantity
1 | Set of Tetra standard hand Radio station | 490
2 | Set of Tetra standard Car Radio station | 380
3 | Tetra system dispatch control and monitoring set | 43

## Data Validation (hidden)
Selection:
Available through existing LTA/Contracts
Available stock
Not available