## Lugar - testing
COVID19 PCR reagents and consumables - needs for NCDC Lugar Center for 20,000 tests
|  |  |  | Total price in USD | Total price in USD
Sample collection tubes with VTM and 2 plastic swab aplicators |  |  | 20000
QIAamp Viral RNA Mini Kit | QIAGEN | 52906 | 80 | 1100 | 88000
QIAamp Mini Collection Tubes | QIAGEN | 19201 | 20 | 240 | 4800
AVL buffer for QIAamp Viral RNA Mini Kit | QIAGEN | 19073 | 80 | 160 | 12800
AVE buffer QIAamp Viral RNA Mini Kit | QIAGEN | 1020953 | 10 | 515 | 5150
MagMax Core (100 rxn) | Thermo | A32700 | 10 | 150 | 1500
MagMax Core (500 rxn) | Thermo | A32702 | 40 | 250 | 10000
KingFisher Deepwell 96 Plate, V-bottom, polypropylene | Thermo | 95040450 | 40 | 130 | 5200
KingFisher 96 KF microplate (200μL) | Thermo | 97002540 | 15 | 180 | 2700
KingFisher 96 tip comb for DW magnets, 10 x 10 pcs/box | Thermo | 97002534 | 8 | 150 | 1200
Thermo Scientific™ Matrix™ Pipette Tips (960 per case) | THERMOFISHER | 8045 | 50 | 200 | 10000
200 nmol, nCoV Forward primer (HKU-ORF1b-nsp14F): 5’-TGGGGYTTTACRGGTAACCT-3’ | Eurofins |  | 3 | 35 | 105
200 nmol, nCoV Reverse primer (HKU- ORF1b-nsp14R)): 5’-AACRCGCTTAACAAAGCACTC-3’ | Eurofins |  | 4 | 35 | 140
200 nmol, nCoV Probe (HKU-ORF1b-nsp141P): 5’-FAM-TAGTTGTGATGCWATCATGACTAG-TAMRA-3’ | Eurofins |  | 10 | 500 | 5000
200 nmol, nCoV Forward primer (HKU-NF): 5’-TAATCAGACAAGGAACTGATTA-3’ | Eurofins |  | 5 | 30 | 150
200 nmol, nCoV Reverse primer (HKU-NR): 5’-CGAAGGTGTGACTTCCATG-3’ | Eurofins |  | 3 | 30 | 90
200 nmol, nCoV Probe (HKU-NP): 5’-FAM-GCAAATTGTGCAATTTGCGG-TAMRA-3’ | Eurofins |  | 6 | 500 | 3000
TaqMan™ Fast Virus 1-Step Master Mix | AB | 4444434 | 20 | 2000 | 40000
Modular Wuhan CoV E-gene | Roche | 9155368001 | 200 | 450 | 90000
Modular Wuhan CoV RdRP-gene | Roche | 9155376001 | 10 | 450 | 45000
LightCycler® Multiplex RNA Virus Master | Roche | 6754155001 | 105 | 450 | 47500
VIRAL RNA / DNA KIT | Roboklon | E3592-02 | 20 | 250 | 5000
Molecular grade Ethanol, 500 ml bottle | any | any | 5 | 200 | 1000
|  | Total: |  |  | 378335

## PPE - reg.labs
PPE for GEO regional laboratories - 200,000 samples
[7 empty] | 9487.538 | 0.005625
WHO Code | Lab technician PPE kit elements | Comments | Qtity | Unit Cost USD | Total cost (USD) | Estim. Unit Weight (kg) | Estim. Total Weight (kg) | Estim. Unit Volume (m3)
YMEQGLASWS1--A1 | GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  | 2000 | 13 | 26000 | 0.86 | 1720 | 5e-05
PEXTALCO1G---A1 | ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  | 10000 | 1.2881 | 12880.5621 | 0.12 | 1200
EWASBAGBR007-A1 | BAG BIOHAZARD, REFUSE, AUTOCLAVABLE, 30x50cm, yellow |  | 20000 | 0.35 | 7000 | 0.005 | 100
EWASYCHN5G1--A1 | CHLORINE NaDCC, 45-55%, gran., 1kg, pot |  | 100 | 6 | 600 | 1 | 100
CPPEGOWI3L---A1 | GOWN, AAMI level 3, non sterile, disp., size L |  | 15000 | 0.8 | 12000 | 0.11467 | 1720.0534 | 0.0011256
CPPEGOWI3M---A1 | GOWN, AAMI level 3, non sterile, disp., size M |  | 15000 | 0.8 | 12000 | 0.11467 | 1720.0534 | 0.0011256
CPPEGOWI3XL--A1 | GOWN, AAMI level 3, non sterile, disp., size XL |  | 5000 | 0.8 | 4000 | 0.11467 | 573.3511 | 0.0011256
CPPEGOWI3XXL-A1 | GOWN, AAMI level 3, non sterile, disp., size XXL |  | 5000 | 0.8 | 4000 | 0.11467 | 573.3511 | 0.0011256
CMSUGLEN1L1--A1 | GLOVE EXAMINATION, nitrile, pf, size L |  | 50000 | 0.066 | 3300 | 0.0070701 | 353.5038 | 3.2418e-05
CMSUGLEN1M1--A1 | GLOVE EXAMINATION, nitrile, pf, size M |  | 50000 | 0.066 | 3300 | 0.0070701 | 353.5038 | 3.2418e-05
CMSUGLEN1S1--A1 | GLOVE EXAMINATION, nitrile, pf, size S |  | 25000 | 0.066 | 1650 | 0.0070701 | 176.7519 | 3.2418e-05
CMSUGLEN1XL--A1 | GLOVE EXAMINATION, nitrile, pf, size XL |  | 25000 | 0.066 | 1650 | 0.0070701 | 176.7519 | 3.2418e-05
CPPEMASS2RL--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASS2RM--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASS2RS--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASPF205-A1 | RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEFSHIED02-A1 | FACE SHIELD, clear plastic, disp. |  | 2000 | 0.42824 | 856.4815 | 0.01 | 20
CMSUTHERI01--A1 | THERMOMETER, INFRARED, no contact, handheld |  | 100 | 25 | 2500 | 0.02 | 2 | 5e-05
CINSCONTC51--A1 | SAFETY BOX, needles/syringes, 5l, cardboard for incineration |  | 1000 | 0.82176 | 821.7593 | 0.33 | 330 | 0.00074
OPACUN62BS1--A1 | BOX, triple packaging, biological substance UN3373 +pouch |  | 50 | 6.1775 | 308.8737 | 2 | 100
OPACUN62IS1--A1 | BOX, triple packaging, infectious substance UN2814 |  | 50 | 30.2844 | 1514.2207 | 2 | 100
|  |  | Total: |  | 120761.2572

## Testing - reg.labs
COVID19 PCR reagents and consumables for 200, 000 tests - GEO regional laboratories
|  | Quantities needed | Price units USD | Total cost USD
nCov-2019 PCR detection kit (primer & control probe) | For 200000 reaction (200 kits x 100 test) | 200 | 500 | 100000
SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | For 200000 reaction (200 kits x 100 test) | 200 | 150 | 30000
Tris (1 M), pH 8.0, RNase-free | 5000ml (100mlx50) | 50 | 50 | 2500
RT-PCR Grade Water | 5000ml (100mlx50) | 50 | 30 | 1500
PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 200000 tubes (250 tubesx 800 paks) | 800 | 50 | 40000
VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | For 200000 extraction | 20000 | 2 | 40000
TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 20000 tubes (50 tubes x 400 rack) | 400 | 50 | 20000
DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 10000 tabs (50 tabs x 200 pack) | 200 | 25 | 5000
PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 800000 tips (1000 tips x 800 box) | 800 | 50 | 40000
PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 200000 tubes (500 tubes x 400 box) | 400 | 50 | 20000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 400000 tubes (500 tubes x 800 box) | 800 | 25 | 20000
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 200000 swabs | 20000 | 0.5 | 10000
decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 100 tubes x 250 ml | 100 | 30 | 3000
| Total: |  |  | 392000

## Abkhazia - labs
COVID19 PCR reagents and consumables for 20,000 tests - Abkhazia laboratories
|  | Quantities needed | Price units USD | Total cost USD
nCov-2019 PCR detection kit (primer & control probe) | For 20000 reaction (20 kits x 100 test) | 20 | 500 | 10000
SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | For 20000 reaction (20 kits x 100 test) | 20 | 150 | 3000
Tris (1 M), pH 8.0, RNase-free | 5000ml (100mlx5) | 5 | 50 | 250
RT-PCR Grade Water | 5000ml (100mlx5) | 5 | 30 | 150
PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 20000 tubes (250 tubes x 80 packs) | 80 | 50 | 4000
VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | For 20000 extraction | 20000 | 2 | 40000
TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 20000 tubes (50 tubes x 40 rack) | 40 | 50 | 2000
DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 10000 tabs (50 tabs x 20 pack) | 20 | 25 | 500
PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 80000 tips (1000 tips x 80 box) | 80 | 50 | 4000
PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 20000 tubes (500 tubes x 40 box) | 40 | 50 | 2000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 40000 tubes (500 tubes x 80 box) | 80 | 25 | 2000
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 20000 swabs | 20000 | 0.5 | 10000
decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 10 tubes x 250 ml | 10 | 30 | 300
| Total: |  |  | 84200

## Abkhazia - PPE
PPE for Abkhazia regional laboratories - 20,000 samples
[7 empty] | 948.7538 | 0.005625
WHO Code | Lab technician PPE kit elements | Comments | Qtity | Unit Cost USD | Total cost (USD) | Estim. Unit Weight (kg) | Estim. Total Weight (kg) | Estim. Unit Volume (m3)
YMEQGLASWS1--A1 | GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  | 200 | 13 | 2600 | 0.86 | 172 | 5e-05
PEXTALCO1G---A1 | ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  | 1000 | 1.2881 | 1288.0562 | 0.12 | 120
EWASBAGBR007-A1 | BAG BIOHAZARD, REFUSE, AUTOCLAVABLE, 30x50cm, yellow |  | 2000 | 0.35 | 700 | 0.005 | 10
EWASYCHN5G1--A1 | CHLORINE NaDCC, 45-55%, gran., 1kg, pot |  | 10 | 6 | 60 | 1 | 10
CPPEGOWI3L---A1 | GOWN, AAMI level 3, non sterile, disp., size L |  | 1500 | 0.8 | 1200 | 0.11467 | 172.0053 | 0.0011256
CPPEGOWI3M---A1 | GOWN, AAMI level 3, non sterile, disp., size M |  | 1500 | 0.8 | 1200 | 0.11467 | 172.0053 | 0.0011256
CPPEGOWI3XL--A1 | GOWN, AAMI level 3, non sterile, disp., size XL |  | 500 | 0.8 | 400 | 0.11467 | 57.3351 | 0.0011256
CPPEGOWI3XXL-A1 | GOWN, AAMI level 3, non sterile, disp., size XXL |  | 500 | 0.8 | 400 | 0.11467 | 57.3351 | 0.0011256
CMSUGLEN1L1--A1 | GLOVE EXAMINATION, nitrile, pf, size L |  | 5000 | 0.066 | 330 | 0.0070701 | 35.3504 | 3.2418e-05
CMSUGLEN1M1--A1 | GLOVE EXAMINATION, nitrile, pf, size M |  | 5000 | 0.066 | 330 | 0.0070701 | 35.3504 | 3.2418e-05
CMSUGLEN1S1--A1 | GLOVE EXAMINATION, nitrile, pf, size S |  | 2500 | 0.066 | 165 | 0.0070701 | 17.6752 | 3.2418e-05
CMSUGLEN1XL--A1 | GLOVE EXAMINATION, nitrile, pf, size XL |  | 2500 | 0.066 | 165 | 0.0070701 | 17.6752 | 3.2418e-05
CPPEMASS2RL--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASS2RM--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASS2RS--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASPF205-A1 | RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEFSHIED02-A1 | FACE SHIELD, clear plastic, disp. |  | 200 | 0.42824 | 85.6481 | 0.01 | 2
CMSUTHERI01--A1 | THERMOMETER, INFRARED, no contact, handheld |  | 10 | 25 | 250 | 0.02 | 0.2 | 5e-05
CINSCONTC51--A1 | SAFETY BOX, needles/syringes, 5l, cardboard for incineration |  | 100 | 0.82176 | 82.1759 | 0.33 | 33 | 0.00074
OPACUN62BS1--A1 | BOX, triple packaging, biological substance UN3373 +pouch |  | 5 | 6.1775 | 30.8874 | 2 | 10
OPACUN62IS1--A1 | BOX, triple packaging, infectious substance UN2814 |  | 5 | 30.2844 | 151.4221 | 2 | 10
|  |  | Total: |  | 12076.1257