## Summary Sheet
| Budget Item | TOTAL Estimated amount | Comments | Immediate investment needs in 2020 | % of estimated total need when applicable | Mid term investment needs for strenghtening health systems capacity and providing needed supplies and securing emergency stocks in 2021 | % of estimated total need when applicable
| Personal Protective Equipment | 65614100 | See PPE sheet for details: IPC and ICU equipment needs the worst case scenario was used in order to estimate the number of masks, gowns, gloves and the similar that are needed by Georgia in order to respond to the outbreak until it ends (presumption of 50% of the population being infected, with 19% of these requiring hospitalization and 6% intensive care). | 45929870 | 70% | 19684230 | 30%
| ICU equipment (ventilators and ECMO) | 9160860 | This includes ventilators and ECMO machines listed on PPE sheet. | 9160860 | 100% | 0 | 0%
| Emergency/Ambulance service equipment | 14925000 | See PPE sheet in red font | 14925000 | 100% | 0
| Laboratory testing needs | 975296.2572 | See Lugar-testing, PPE-reg. labs, Testing-reg.labs for details; For laboratory supplies the epidemiological forecasting tool for influenza was used in order to estimate the needs for the next 1-2 months. The tool does not allow forecasting beyond this time period, since the need of testing depends greatly on various factors that will vary with time. It is fully acknowledged that none of the methodologies are perfect and accurate considering the extremely short span of the novel coronavirus outbreak in the country. | 3901185.0289 | 400% | 1950592.5145 | 200%
| Hospital Infrustructure Strenghtening | 77500000 |  |  |  | 0
1 | Infectious Disease Hospital in Tbilisi | 25000000 | Procurement of a new building, its refurbishment, Hospital equipment and supplies for up to 200 beds | 25000000 | 100% | 0 | 0%
| Procurment of new Building | 12000000 |  |  |  | 0
| Refurbishment | 5000000 |  |  |  | 0
| Equipment | 8000000 |  |  |  | 0
2 | Central Republican Hospital in Tbilisi | 17000000 | Refurbishment, Hospital equipment and supplies for 350 beds | 8500000 | 50% | 8500000 | 50%
| Refurbishment | 10000000 |  |  |  | 0
| Equipment | 7000000 |  |  |  | 0
0
3 | Rukhi Hospital in Samegrelo | 13500000 | Hospital equipment and supplies for 350 beds | 13500000 | 100% | 0 | 0%
| Equipment | 13500000 |  |  |  | 0
4 | Republican Hospital in Adjara | 10000000 | This is a newly built building. Investment is needed for Hospital equipment and supplies for 200 beds
| Equipment | 10000000 |  | 10000000 | 100% | 0 | 0%
[6 empty] | 0 | 100%
5 | Lisi Oncology Hospital in Tbilisi | 12000000 | Hospital rehabilitation, equipment and supplies for 300 beds |  |  |  | 100%
| Refurbishment | 5000000 |  | 2500000 | 50% | 2500000 | 50%
| Equipment | 7000000 |  | 3500000 | 50% | 3500000 | 50%
6 | Equipment for village ambulatories | 20000000
| Basic equipment | 10000000 |  | 10000000 | 100% | 0 | 0%
| Telemedicine equipment | 10000000 |  | 7000000 | 70% | 3000000 | 30%
| SERVICE COSTS | 25575483.871 |  |  | 100% | 0 | 0%
| Compansation for hospitals after transforming them into COVID19 | 15575483.871 | Based on GoG decision selected hospitals (29) will be fully converted into COVID19 and 16 hospitals into fever clinics- compensation should be provided to cover direct and indirect costs related to hospital infrastructure maintenance and salaries for staff within the COVID 19 program- See service costs sheet for details | 15575483.871 | 100% | 0 | 0%
| Clinical Management of COVID cases | 10000000 | This is estimated case based service costs for 5000 cases to be treated in hospital wards and emergency units | 10000000 | 100% | 0 | 0%
|  |  |  | ESTIMATED NEEDS in 2020 |  | Estimated needs in 2021
| TOTAL |  | 218627221.4143 | 179492398.8999 |  | 39134822.5145

## Servicecosts
COVID კლინიკების კომპენსაცია | [5 empty] | 40000000 | 3 თვეზე გათვლით.
COVID შემთხვევების მართვა | [5 empty] | 30000000 | 6000 შემთხვევაზე
რუხის კლინიკის სრული აღჭურვა | [5 empty] | 40000000
ბათუმის რესპუბლიკური საავადმყოფოს აღჭურვა | [5 empty] | 30000000
ინფექციური საავადმყოფოს შენობის შესყიდვა | [5 empty] | 37800000
ინფექციური საავადმყოფოს აღჭურვა/რემონტი | [5 empty] | 20000000
ამბულატორიების აღჭურვა(პიველადი ჯანდაცვა) | [5 empty] | 30000000
227800000
SERVICE Costs (Compensation for Clinics) | Per month in GEL | Months |  | TOTAL in GEL | TOTAL in USD | 1 USD=3,1 GEL
Central Rebuplican Hospital | 800000 | 1 |  |  | 258064.5161
COVID and FEVER CLINICS
Stage 1 - 1050 Beds | 3780000 | 2 | in March and April | 7560000 | 2438709.6774 | 3.1
Stage 2 - 2000 Beds | 7200000 | 1 | 2 weeks in May | 7200000 | 2322580.6452
Stage 3- 4040 Beds | 14544000 | 1 | May-September | 14544000 | 4691612.9032
Maintanance and Recovary phase | 7200000 | 2 | October November | 14400000 | 4645161.2903
| 3780000 | 1 | December | 3780000 | 1219354.8387
TOTAL |  |  |  |  | 15575483.871

## PPEs
COVID-19 DISEASE COMMODITIES NEEDS - GEORGIA AND ABKHAZIA (estimations based on the worst case outbreak scenario)
| Est. unit price (USD) | No of units requested - GEO | Total cost per item - GEO | No of units requested - ABK | Total cost per item - ABK
Gloves | 0.07 | 15000000 | 1050000 | 4000000 | 280000
Gowns | 0.8 | 20000000 | 16000000 | 4000000 | 3200000
Goggles | 13 | 100000 | 1300000 | 100000 | 1300000
Surgical masks | 0.66 | 30000000 | 19800000 | 10000000 | 6600000
N95 respirator masks | 0.66 | 3000000 | 1980000 | 1000000 | 660000
N95 mask fit test kit | 400 | 25 | 10000 | 4 | 1600
Antibacterial liquid soap (liters) | 10 | 100000 | 1000000 | 42000 | 420000
Alcohol-based hand rub (70%, liters) | 12 | 100000 | 1200000 | 42000 | 504000
Chlorine-based cleaning solution for surfaces | 15 | 50000 | 750000 | 10000 | 150000
Disposable paper tissue rolls | 5 | 200000 | 1000000 | 20000 | 100000
Thermometers (standard) | 4 | 1000 | 4000 | 1000 | 4000
Infrared thermometers | 25 | 2000 | 50000 | 20 | 500
portable transport ventilator for adults pediatric and neonatal patients, aroved for use helicopters and airplanes | 25000 | 50 | 1250000
Patient ventilator, for critical care | 14000 | 320 | 4480000 | 30 | 420000
Defibrilator with patient monitoring system for adults and pediatric peds | 4000 | 350 | 1400000
ECG 12 lead | 1400 | 1150 | 1610000
ambulance car b type | 60000 | 50 | 3000000
ambulance car c type (intensive care mobile unit) | 80000 | 30 | 2400000
portable oxygen generation system (pogs) | 30000 | 90 | 2700000
patient monitor for vital signs | 1500 | 950 | 1425000
portable oxygen concentrator | 1200 | 950 | 1140000
Extracorporeal membrane oxygenation machine | 75000 | 20 | 1500000 | 2 | 150000
Pulse oximeters | 18 | 320 | 5760 | 50 | 900
Oxygen masks | 15 | 450000 | 6750000 | 100000 | 1500000
Portable HEPA filters, for negative pressure | 4500 | 20 | 90000 | 3 | 13500
Test tubes with viral transport media | 7 | 250000 | 1750000 | 60000 | 420000 |  | GEOGRIA | ABK
Insulated transport boxes for moving lab material | 100 | 10 | 1000 | 5 | 500 | Equipment | 8077660 | 1083200
Hospital tents sets | 25000 | 10 | 250000 | 3 | 75000 | Consumable and other items | 50894000 | 14720100
Waste bins | 15 |  |  | 200 | 3000 | Emergency/Ambulance service equipment | 14925000
Triple packaging boxes for international shipping of samples | 30 | 30 | 900 | 10 | 300 | TOTAL | 73896660
TOTAL COST: |  |  | 73896660 |  | 15803300
GRAND TOTAL: |  |  |  |  | 89699960

## Lugar - testing
COVID19 PCR reagents and consumables - needs for NCDC Lugar Center for 20,000 tests
|  |  |  | Total price in USD | Total price in USD
Sample collection tubes with VTM and 2 plastic swab aplicators |  |  | 20000
QIAamp Viral RNA Mini Kit | QIAGEN | 52906 | 80 | 1100 | 88000
QIAamp Mini Collection Tubes | QIAGEN | 19201 | 20 | 240 | 4800
AVL buffer for QIAamp Viral RNA Mini Kit | QIAGEN | 19073 | 80 | 160 | 12800
AVE buffer QIAamp Viral RNA Mini Kit | QIAGEN | 1020953 | 10 | 515 | 5150
MagMax Core (100 rxn) | Thermo | A32700 | 10 | 150 | 1500
MagMax Core (500 rxn) | Thermo | A32702 | 40 | 250 | 10000
KingFisher Deepwell 96 Plate, V-bottom, polypropylene | Thermo | 95040450 | 40 | 130 | 5200
KingFisher 96 KF microplate (200μL) | Thermo | 97002540 | 15 | 180 | 2700
KingFisher 96 tip comb for DW magnets, 10 x 10 pcs/box | Thermo | 97002534 | 8 | 150 | 1200
Thermo Scientific™ Matrix™ Pipette Tips (960 per case) | THERMOFISHER | 8045 | 50 | 200 | 10000
200 nmol, nCoV Forward primer (HKU-ORF1b-nsp14F): 5’-TGGGGYTTTACRGGTAACCT-3’ | Eurofins |  | 3 | 35 | 105
200 nmol, nCoV Reverse primer (HKU- ORF1b-nsp14R)): 5’-AACRCGCTTAACAAAGCACTC-3’ | Eurofins |  | 4 | 35 | 140
200 nmol, nCoV Probe (HKU-ORF1b-nsp141P): 5’-FAM-TAGTTGTGATGCWATCATGACTAG-TAMRA-3’ | Eurofins |  | 10 | 500 | 5000
200 nmol, nCoV Forward primer (HKU-NF): 5’-TAATCAGACAAGGAACTGATTA-3’ | Eurofins |  | 5 | 30 | 150
200 nmol, nCoV Reverse primer (HKU-NR): 5’-CGAAGGTGTGACTTCCATG-3’ | Eurofins |  | 3 | 30 | 90
200 nmol, nCoV Probe (HKU-NP): 5’-FAM-GCAAATTGTGCAATTTGCGG-TAMRA-3’ | Eurofins |  | 6 | 500 | 3000
TaqMan™ Fast Virus 1-Step Master Mix | AB | 4444434 | 20 | 2000 | 40000
Modular Wuhan CoV E-gene | Roche | 9155368001 | 200 | 450 | 90000
Modular Wuhan CoV RdRP-gene | Roche | 9155376001 | 10 | 450 | 45000
LightCycler® Multiplex RNA Virus Master | Roche | 6754155001 | 105 | 450 | 47500
VIRAL RNA / DNA KIT | Roboklon | E3592-02 | 20 | 250 | 5000
Molecular grade Ethanol, 500 ml bottle | any | any | 5 | 200 | 1000
|  | Total: |  |  | 378335

## PPE - reg.labs
PPE for GEO regional laboratories - 200,000 samples
[7 empty] | 9487.538 | 0.005625
WHO Code | Lab technician PPE kit elements | Comments | Qtity | Unit Cost USD | Total cost (USD) | Estim. Unit Weight (kg) | Estim. Total Weight (kg) | Estim. Unit Volume (m3)
YMEQGLASWS1--A1 | GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  | 2000 | 13 | 26000 | 0.86 | 1720 | 5e-05
PEXTALCO1G---A1 | ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  | 10000 | 1.2881 | 12880.5621 | 0.12 | 1200
EWASBAGBR007-A1 | BAG BIOHAZARD, REFUSE, AUTOCLAVABLE, 30x50cm, yellow |  | 20000 | 0.35 | 7000 | 0.005 | 100
EWASYCHN5G1--A1 | CHLORINE NaDCC, 45-55%, gran., 1kg, pot |  | 100 | 6 | 600 | 1 | 100
CPPEGOWI3L---A1 | GOWN, AAMI level 3, non sterile, disp., size L |  | 15000 | 0.8 | 12000 | 0.11467 | 1720.0534 | 0.0011256
CPPEGOWI3M---A1 | GOWN, AAMI level 3, non sterile, disp., size M |  | 15000 | 0.8 | 12000 | 0.11467 | 1720.0534 | 0.0011256
CPPEGOWI3XL--A1 | GOWN, AAMI level 3, non sterile, disp., size XL |  | 5000 | 0.8 | 4000 | 0.11467 | 573.3511 | 0.0011256
CPPEGOWI3XXL-A1 | GOWN, AAMI level 3, non sterile, disp., size XXL |  | 5000 | 0.8 | 4000 | 0.11467 | 573.3511 | 0.0011256
CMSUGLEN1L1--A1 | GLOVE EXAMINATION, nitrile, pf, size L |  | 50000 | 0.066 | 3300 | 0.0070701 | 353.5038 | 3.2418e-05
CMSUGLEN1M1--A1 | GLOVE EXAMINATION, nitrile, pf, size M |  | 50000 | 0.066 | 3300 | 0.0070701 | 353.5038 | 3.2418e-05
CMSUGLEN1S1--A1 | GLOVE EXAMINATION, nitrile, pf, size S |  | 25000 | 0.066 | 1650 | 0.0070701 | 176.7519 | 3.2418e-05
CMSUGLEN1XL--A1 | GLOVE EXAMINATION, nitrile, pf, size XL |  | 25000 | 0.066 | 1650 | 0.0070701 | 176.7519 | 3.2418e-05
CPPEMASS2RL--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASS2RM--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASS2RS--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASPF205-A1 | RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEFSHIED02-A1 | FACE SHIELD, clear plastic, disp. |  | 2000 | 0.42824 | 856.4815 | 0.01 | 20
CMSUTHERI01--A1 | THERMOMETER, INFRARED, no contact, handheld |  | 100 | 25 | 2500 | 0.02 | 2 | 5e-05
CINSCONTC51--A1 | SAFETY BOX, needles/syringes, 5l, cardboard for incineration |  | 1000 | 0.82176 | 821.7593 | 0.33 | 330 | 0.00074
OPACUN62BS1--A1 | BOX, triple packaging, biological substance UN3373 +pouch |  | 50 | 6.1775 | 308.8737 | 2 | 100
OPACUN62IS1--A1 | BOX, triple packaging, infectious substance UN2814 |  | 50 | 30.2844 | 1514.2207 | 2 | 100
|  |  | Total: |  | 120761.2572

## Testing - reg.labs
COVID19 PCR reagents and consumables for 200, 000 tests - GEO regional laboratories
|  | Quantities needed | Price units USD | Total cost USD
nCov-2019 PCR detection kit (primer & control probe) | For 200000 reaction (200 kits x 100 test) | 200 | 500 | 100000
SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | For 200000 reaction (200 kits x 100 test) | 200 | 150 | 30000
Tris (1 M), pH 8.0, RNase-free | 5000ml (100mlx50) | 50 | 50 | 2500
RT-PCR Grade Water | 5000ml (100mlx50) | 50 | 30 | 1500
PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 200000 tubes (250 tubesx 800 paks) | 800 | 50 | 40000
VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | For 200000 extraction | 20000 | 2 | 40000
TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 20000 tubes (50 tubes x 400 rack) | 400 | 50 | 20000
DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 10000 tabs (50 tabs x 200 pack) | 200 | 25 | 5000
PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 800000 tips (1000 tips x 800 box) | 800 | 50 | 40000
PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 200000 tubes (500 tubes x 400 box) | 400 | 50 | 20000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 400000 tubes (500 tubes x 800 box) | 800 | 25 | 20000
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 200000 swabs | 20000 | 0.5 | 10000
decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 100 tubes x 250 ml | 100 | 30 | 3000
| Total: |  |  | 392000

## Abkhazia - labs
COVID19 PCR reagents and consumables for 20,000 tests - Abkhazia laboratories
|  | Quantities needed | Price units USD | Total cost USD
nCov-2019 PCR detection kit (primer & control probe) | For 20000 reaction (20 kits x 100 test) | 20 | 500 | 10000
SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | For 20000 reaction (20 kits x 100 test) | 20 | 150 | 3000
Tris (1 M), pH 8.0, RNase-free | 5000ml (100mlx5) | 5 | 50 | 250
RT-PCR Grade Water | 5000ml (100mlx5) | 5 | 30 | 150
PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 20000 tubes (250 tubes x 80 packs) | 80 | 50 | 4000
VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | For 20000 extraction | 20000 | 2 | 40000
TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 20000 tubes (50 tubes x 40 rack) | 40 | 50 | 2000
DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 10000 tabs (50 tabs x 20 pack) | 20 | 25 | 500
PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 80000 tips (1000 tips x 80 box) | 80 | 50 | 4000
PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 20000 tubes (500 tubes x 40 box) | 40 | 50 | 2000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 40000 tubes (500 tubes x 80 box) | 80 | 25 | 2000
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 20000 swabs | 20000 | 0.5 | 10000
decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 10 tubes x 250 ml | 10 | 30 | 300
| Total: |  |  | 84200

## Abkhazia - PPE
PPE for Abkhazia regional laboratories - 20,000 samples
[7 empty] | 948.7538 | 0.005625
WHO Code | Lab technician PPE kit elements | Comments | Qtity | Unit Cost USD | Total cost (USD) | Estim. Unit Weight (kg) | Estim. Total Weight (kg) | Estim. Unit Volume (m3)
YMEQGLASWS1--A1 | GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  | 200 | 13 | 2600 | 0.86 | 172 | 5e-05
PEXTALCO1G---A1 | ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  | 1000 | 1.2881 | 1288.0562 | 0.12 | 120
EWASBAGBR007-A1 | BAG BIOHAZARD, REFUSE, AUTOCLAVABLE, 30x50cm, yellow |  | 2000 | 0.35 | 700 | 0.005 | 10
EWASYCHN5G1--A1 | CHLORINE NaDCC, 45-55%, gran., 1kg, pot |  | 10 | 6 | 60 | 1 | 10
CPPEGOWI3L---A1 | GOWN, AAMI level 3, non sterile, disp., size L |  | 1500 | 0.8 | 1200 | 0.11467 | 172.0053 | 0.0011256
CPPEGOWI3M---A1 | GOWN, AAMI level 3, non sterile, disp., size M |  | 1500 | 0.8 | 1200 | 0.11467 | 172.0053 | 0.0011256
CPPEGOWI3XL--A1 | GOWN, AAMI level 3, non sterile, disp., size XL |  | 500 | 0.8 | 400 | 0.11467 | 57.3351 | 0.0011256
CPPEGOWI3XXL-A1 | GOWN, AAMI level 3, non sterile, disp., size XXL |  | 500 | 0.8 | 400 | 0.11467 | 57.3351 | 0.0011256
CMSUGLEN1L1--A1 | GLOVE EXAMINATION, nitrile, pf, size L |  | 5000 | 0.066 | 330 | 0.0070701 | 35.3504 | 3.2418e-05
CMSUGLEN1M1--A1 | GLOVE EXAMINATION, nitrile, pf, size M |  | 5000 | 0.066 | 330 | 0.0070701 | 35.3504 | 3.2418e-05
CMSUGLEN1S1--A1 | GLOVE EXAMINATION, nitrile, pf, size S |  | 2500 | 0.066 | 165 | 0.0070701 | 17.6752 | 3.2418e-05
CMSUGLEN1XL--A1 | GLOVE EXAMINATION, nitrile, pf, size XL |  | 2500 | 0.066 | 165 | 0.0070701 | 17.6752 | 3.2418e-05
CPPEMASS2RL--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASS2RM--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASS2RS--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASPF205-A1 | RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEFSHIED02-A1 | FACE SHIELD, clear plastic, disp. |  | 200 | 0.42824 | 85.6481 | 0.01 | 2
CMSUTHERI01--A1 | THERMOMETER, INFRARED, no contact, handheld |  | 10 | 25 | 250 | 0.02 | 0.2 | 5e-05
CINSCONTC51--A1 | SAFETY BOX, needles/syringes, 5l, cardboard for incineration |  | 100 | 0.82176 | 82.1759 | 0.33 | 33 | 0.00074
OPACUN62BS1--A1 | BOX, triple packaging, biological substance UN3373 +pouch |  | 5 | 6.1775 | 30.8874 | 2 | 10
OPACUN62IS1--A1 | BOX, triple packaging, infectious substance UN2814 |  | 5 | 30.2844 | 151.4221 | 2 | 10
|  |  | Total: |  | 12076.1257

## Hospital equipment
HOSPITAL EQUIPMENT ICU
ventilator: resusitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invaseve breathing regimes.
ventilator: portable (pediatric and adult) with opxygen tank different breathing regimes.
basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen.
patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, IBP, NIBP, LAN/WiFI (invasive)
patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, NIP , IBP, CO2 lAN/WIFI (high class model for pediatric and adult use)
patient monitor for transportation ECG, Resp, HR, NIBP,Temp, SpO2
central monitoring station: connects at least 30 monitors
ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment.
ICU bed, pediatric: four-section resuscitation medical bed (with electric control) pediatric. Divided into appropriate sections, with a mattress resistant to washing-chemical processing
anti pressure sores mattress with compressor control
Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions
negatoscope 35*43
medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides.
medical cart: shock table, with drawers
Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system.
syringe pump, volumetric: Drip chamber, compatible with different manufacturer systems
pressure infusion bag
high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L
12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes
Cabinet for medicines and consumables
High-risk medication Wardrobe with lock
Safe (medium size, cabin. 30 * 50 * 40 cm)
LED mobile lights
Wheelchair, to move the patient within the building
privacy screen with 3-4 wings
Video laryngoscope with different sized blades 2-2 pieces with multiple blades
Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality)
Laryngoscope set, miller with 1,2,3,4 size blades (high quality)
Laryngoscope set, pediatric with blades size 0.1 and higher (high quality)
Ambu - Masks for adults
Ambu - Masks pediatric
Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter)
glucometer with strips
Stainless steel Shelves
Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests
X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz.
Ultrasound diagnostic device, portable, high class, with at least 3 transducers, with proper cart, integrated batteries. General tests Color Doppler display, Cardiology. With abdominal, linear, and cardio transduction
Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​
bronchoscope
gastroscope
pump
dialysis machine
Solution heating system
Portable pulse oximeter for adults
Multiple use silicone contour with compatible valve
ER
ventilator: resusitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invaseve breathing regimes.
ventilator: portable (pediatric and adult) with opxygen tank different breathing regimes.
basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen.
pediatric shock stretcher
stretcher for adults, with maximum patient weight 200 kg or higher
Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions
negatoscope 35*42
medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides.
medical cart: shock table, with drawers
Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system.
syringe pump, volumetric: Drip chamber, compatible with different manufacturer systems
pressure infusion bag
high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L
12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes
Cabinet for medicines and consumables
High-risk medication Wardrobe with lock
Safe (medium size, cabin. 30 * 50 * 40 cm)
LED mobile lights
Wheelchair, to move the patient within the building
privacy screen with 3-4 wings
Video laryngoscope with different sized blades, 2-2 pieces with multiple blades
Ambu - Masks for adults
Ambu - Masks pediatric
Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter)
glucometer with strips
Stainless steel Shelves
mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteriesand With different software capabilities.
Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​
tool stand
Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests
Portable pulse oximeter for adults
OR
An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized
Patient monitor, compatible with anesthetic apparatus. With at least a 15-inch screen. ECG, Resp, HR, NIBP, Temp, SpO2, NIPP, IBP, lAN / WIFI, OxyCRG (High Class Pediatric / Adult)
Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit.
Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod.
Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions
medical cart: shock table, with drawers
Infusion Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system.
syringe pump, volumetric: Drip chamber, compatible with different manufacturer systems
pressure infusion bag
high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L
12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes
Cabinet for medicines and consumables
Safe (medium size, cabin. 30 * 50 * 40 cm)
Video laryngoscope with different sized blades 2-2 pieces with multiple blades
Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality)
Laryngoscope set, miller with 1,2,3,4 size blades (high quality)
Laryngoscope set, pediatric with blades size 0.1 and higher (high quality)
Ambu - Masks for adults
Ambu - Masks pediatric
Surgical instruments set (general thoraco-abdominal, neuro, microsurgical)
solution heating system
patient heating system
Radiology Unit
Computer tomography: at least 64 layers, with different applications, with a special program comatable modern protocol for lung tests with subsequent appropriate updates in future. Gentry diameter not less than 72 cm, table load capacity, not less than 220 kg; ; Set: digital printer for different sizes of tapes; Continuous power supply of appropriate capacity and characteristics, injector for 200 ml syringes, cart, remote control.
Digital Xray
Ultrosound machine
Clinical Laboratory
Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes
Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately)
automatic Immunological analyzer, (list of reagents provided separately)
Coagulometer, automatic
Urine analyzer, automatic
Centrifuge, 10-1500 rpm; general
Centrifuge, for small samples 2-20000b / min
Pipette set (should include 5 mcg - 1000 mcl, with different scales)
Dispenser, for adjustable dosing
Laboratory Scale
work bench
work bench for equipment
cabinet
shelf
WARDS
Table for patient feeding, table-top, mobile
Defibrillator Biphasic 360 Joules, Adult and Pediatric Multiple Electrodes, Cardio Version, Self-Test Diagnosis.
Shock table (cart)
Cardiograph with a 3-channel color liquid crystal display, the display should have 12 outputs. With different software capabilities. With the ability to process a cardiogram. With multiple chest and limb electrodes. (Can be sterilized and disinfected), with proper cart, with multiple electrodes
Patient monitor, basic: (ECG, Resp, HR, NIBP,Temp, SpO2, ), sensory,with easy to clean screen
Glucometer with strips (100)
Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more; ფლოუმეტრი, დამატენიანებელი ჭიქით: ფლოუმეტრი სამედიცინო ჟანგბადის DIN სტანდარტის ბუდით: მაღალი მედეგობის, მეტალის მონობლოკური, სკალიანი მზომით გამჭვირვალე მასალის (polyamide): 0-15ლ/წთ; რეგულატორით; სპეციალური სხვადასხვა დიამატრიანი ადაპტორი/გადამყვანი და ცალკე - სათანადო დამატენიანებელი ჭიქა 250მლ ან მეტი;
Tripod
Laryngoscope set, Macintosh, 1,2,3,4 size with blades (high quality)
Laryngoscope set, Miller, 1,2,3,4 size with blades (high quality)
High-pressure surgical resection not less than 50 l / min, with two jars, not less than 2 l ამომქაჩი მაღალი წნევის ქირურგიული არანაკლებ 50₾ლ/წთ , ორი ქილით, არანაკლებ 2ლ
Infusomat, volumetric: Drip compatible with different manufacturer's systems ინფუზომატი, ვოლუმეტრული: წვეთოვანი სხვადასხვა მწარმოებლის სისტემებთან თავსებადი
Soap dispenser
STERILAZATION
2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials
Plasmic sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization.
Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers)
Stainless steel shelf: app. 40 * 100 * 200 cm
Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set
Ultrasonic washer, capacity 20 l or more
Table, stainless metal: app. size 70 * 70 * 150 cm, proper, easy to wash, adjustable in height with a soft-seat, round chair
Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers
Washing sink (deep chan) with warm, cold, clean water and compressed air supply
Working table - lockable, for packing irons and rolls with proper stand-up, approximate length-width: 150 * 100 cm
IT Equipment
PC
Printer/scanner
Server
Router
48-port "smart" steering switch
8-port simple switch
jacks
cable 305 m
external hard drive 3tb
external hard drive 1tb
Jakemaker
UTP cable tester
Powerful laptop with ssd hard drive

## Equipmentforambulatories
# | CPV | ჩასატარებელი ტენდერის რაოდენობა | საქონლის დასახელება | რაოდენობა | განზომილების ერთეული | S.p.s. "medteqnika" |  |  |  |  | S.p.s. AMTS |  | S.p.s. "modern vila" |  | S.p.s. teqnobumi |  | saukeTeso fasi | სავარაუდო ღირებულება (ლარი) | სულ ჯამი
[6 empty] | erTeulis Rirebuleba | sul jami | Sps "Tbilisi mediki" | sul jami |  | erTeulis Rirebuleba | sul jami | erTeulis Rirebuleba | sul jami | erTeulis Rirebuleba | sul jami
1 | 39100000 (ავეჯი) | 1 | საოფისე მაგიდა (ზომებით არანაკლებ- 1200X770X570 მმ. მასალა - არანაკლებ 18 მმ-ანი ლამინირებული ფილა (დსპ); კომპიუტერის პროცესორის თაროთი; კლავიატურის და თაგვის გამოსაწევი კონსოლით და ფეხის დასადგმელი მილით. ჩაშენებული ტუმბოთი ზომებით არანაკლებ - 450X550X570მმ; მასალა - არანაკლებ 18 მმ-ანი ლამინირებული ფილა (დსპ); სამი უჯრით; ერთი უჯრა საკეტით). | 1 | ცალი | [7 empty] | 165 | 165 |  |  | 165 | 200 | 200 | შპს "ტიფანი
2 |  |  | საოფისე სკამი (საერთო ზომა: 80X53X61, დასაჯდომის სიგანე - არანაკლებ 47 სმ, სიღრმე - არანაკლებ 43 სმ, ზურგის სიგანე - არანაკლებ 45 სმ, სიმაღლე - არანაკლებ 36 სმ. მეტალის ხრომირებული კარკასი, ოთხი არაგორგოლაჭებიანი ფეხით, სკამის ფეხი ბოლოვდება პლასტმასის იატაკის დამცავი ძირებით. სახელურების გარეშე, რბილი საზურგითა და დასაჯდომით, საზურგე და დასაჯდომი დაფარული ქსოვილის რბილი ზედაპირით, მაღალი ხარისხის ტილოს ქსოვილით, საზურგესა და დასაჯდომს აქვს პლასტმასის გარეკანი, ფერი - შავი) | 6 | ცალი | [7 empty] | 40 | 240 |  |  | 240 | 40 | 240 | შპს "ტიფანი
3 |  |  | საოფისე კარადა (ნახევრად ღია კარადა ბაინდერებისათვის, ლამინატის, ყავისფერი (ვენგე), კუთხეები პივისით დაკანტული, ზომები: არანაკლებ 1.90 X 1.0 X 0.40 მ, არაუმეტეს - 2.00 X 1.2 X 0.50 მ; ზედა ნაწილი ღია, თაროების რაოდენობა - 2, ქვედა ნაწილი დახურული, ორი კარით, თაროების რაოდენობა - 1, თაროებს შორის დაშორება - არანაკლებ 35 სმ; ) | 1 | ცალი | [7 empty] | 365 | 365 |  |  | 365 | 190 | 190 | შპს მირალი
[17 empty] | 770 |  | 630
1 | 33100000 (სამედიცინო მოწყობილობები) | 2 | პაციენტის გასასინჯი ტახტი (მყარი ფიქსირებული ფეხები, მსუბუქი ფერის მატრასი, თავის სექცია რეგულირებადი, ზომები 1840X600X730 მმ. ზომებში დასაშვებია 8 % ცდომილობა, ყველა მეტალის ნაწილი დაფარული უნდა იყოს ელექტროსტატიური საღებავით; მაღალი ხარისხის ტყავის მატრასით; ხელით რეგულირებადი საზურგე; დასაკეცი პეხებით ) | 2 | ცალი | 270 | 540 | 402.72 | 805.44 | 220 | 475 | 950 |  |  |  |  | 540 | 400 | 800 | შპს "თბილისი მედიკი"
2 |  |  | ახალშობილის შესახვევი მაგიდა (მყარი კარკასი, ერთი თაროთი, თარო რეცხვადი, ხელოვნური ტყავის მასალის მატრასით, ახალშობილის გარდმოვარდნისაგან დამცავი გვერდებით, ზომები არანაკლებ: სიგანე - 550 მმ. სიგრძე - 800 მმ. სიმაღლე 950 მმ. ზომებში დასაშვებია 8 % ცდომილობა) | 1 | ცალი | 375 | 375 | 352.38 | 352.38 | 460 | 950 | 950 |  |  |  |  | 375 | 630 | 630 | შპს "თბილისი მედიკი"
3 |  |  | სასწორი (ციფრული, დატვირთვა 200 კგ.) | 1 | ცალი | 336 | 336 | 55.37 | 55.37 | 60 | 130 | 130 |  |  |  |  | 130 | 300 | 300 | შპს "თბილისი მედიკი"
4 |  |  | სასწორი ბავშვის (ციფრული, დატვირთვა 20 კგ. ელექტრო) | 1 | ცალი | 180 | 180 | 1661.12 | 1661.12 | 70 | 160 | 160 |  |  |  |  | 160 | 220 | 220 | შპს "თბილისი მედიკი"
5 |  |  | სამანიპულაციო მაგიდა (ქრომნიკელის ზედაპირით; ზედა და ქვედა თარო ნიკელის ორი თასის ჩასადები; თაროების გარდა მთლიანი კარკასი დაფარულია ელექტროსტატიური საღებავით; ზომები არანაკლებ - სიგანე 700 მმ. სიგრძე 410 მმ. სიმაღლე 850 მმ. არანაკლებ ორი თაროთი ბორბლებზე, ზომებში დასაშვებია 8 % ცდომილობა) | 1 | ცალი | 370 | 370 | 1426.3 | 1426.3 | 250 | 450 | 450 |  |  |  |  | 370 | 600 | 600 | შპს "თბილისი მედიკი"
6 |  |  | კარადა მედიკამენტების/ინსტრუმენტების (ლითონის მყარი კონსტრუქცია საკეტით, მინა 4 მმ. სიმაღლე 1800 მმ. სიღრმე 410 მმ. სიგანე 900 მმ. მინის თაროებით, მინის გამძლეობა არანაკლებ 20 კგ.ზომებში დასაშვებია 8 % ცდომილობა ) | 1 | ცალი | 660 | 660 | 855.78 | 855.78 | 630 | 1425 | 1425 |  |  |  |  | 660 | 1300 | 1300 | შპს "თბილისი მედიკი"
7 |  |  | სასტერილიზაციო მაგიდა (მინის თაროთი, ბორბლებზე. ორი თაროთი. ზომები 790X740X400 მმ. ზომებში დასაშვებია 8 % ცდომილობა) | 1 | ცალი | 240 | 240 | 1090.7 | 1090.7 | 850 | 450 | 450 |  |  |  |  | 240 | 550 | 550 | შპს "თბილისი მედიკი"
[17 empty] | 2475 |  | 4400
1 |  | 3 | სიმაღლის საზომი (პორტატული 2 მ.) | 1 | ცალი | 40 | 40 | 35.24 | 35.24 |  | 18 | 18 |  |  |  |  | 18 | 55 | 55 | შპს "თბილისი მედიკი"
2 |  |  | სანტიმეტრი (რულერი სამედიცინო, არანაკლებ 1,5 მ.) | 1 | ცალი | 0 | 0 |  | 0 | 7 | 10 | 10 |  |  |  |  | 10 | 20 | 20 | შპს "თბილისი მედიკი"
3 |  |  | სფიგმომანომეტრი ფონეიდოსკოპით | 1 | ცალი | 20 | 20 | 30.2 | 30.2 | 13 | 30 | 30 |  |  |  |  | 20 | 45 | 45 | შპს "თბილისი მედიკი"
4 |  |  | სტეტოსკოპი | 1 | ცალი | 14 | 14 | 25.17 | 25.17 | 9 | 20 | 20 |  |  |  |  | 14 | 60 | 60 | შპს "თბილისი მედიკი"
5 |  |  | თერმომეტრი სამედიცინო (ვერცხლის წყლის) | 2 | ცალი | 1.2 | 2.4 | 6.17 | 12.34 | 4 | 5 | 10 |  |  |  |  | 2.4 | 5 | 10 | შპს "თბილისი მედიკი"
6 |  |  | თირკმლისებური ჭურჭელი (მეტალის) | 2 | ცალი | 11 | 22 |  |  |  | 100 | 200 |  |  |  |  | 11 | 30 | 60 | შპს "თბილისი მედიკი"
7 |  |  | გლუკომეტრი (არანაკლებ 10 საჩხვლეტით) | 1 | ცალი | 94 | 94 | 402.72 | 402.72 | 150 | 200 | 200 |  |  |  |  | 94 | 130 | 130 | შპს "თბილისი მედიკი"
8 |  |  | გლუკომეტრის საჩხვლეტი და სტრიპები (100 ცალიანი) | 1 | ცალი | 12 | 12 |  |  |  | 18 | 18 |  |  |  |  | 24 | 170 | 170 | შპს "თბილისი მედიკი"
9 |  |  | შტატივი გადასხმისთვის (ორი საკიდით) | 1 | ცალი | 40 | 40 |  |  |  | 50 | 50 |  |  |  |  | 40 | 120 | 120 | შპს "თბილისი მედიკი"
10 |  |  | ინჰალატორი (ელექტრო, ჰაერის ნაკადი 14ლ/წთ. მაქსიმალური წნევა 2,5 ბარი) | 1 | ცალი | 55 | 55 | 58.73 | 58.73 |  | 50 | 50 |  |  |  |  | 50 | 150 | 150 | შპს "თბილისი მედიკი"
11 |  |  | პინცეტი ქირურგიული (145-160 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 75 | 75 | 66.11 | 66.11 | 40 | 80 | 80 |  |  |  |  | 75 | 25 | 25 | შპს "თბილისი მედიკი"
12 |  |  | პინცეტი ქირურგიული (195-210 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 60 | 60 | 0 | 0 | 48 | 100 | 100 |  |  |  |  | 120 | 30 | 30 | შპს "თბილისი მედიკი"
13 |  |  | პინცეტი ანატომიური (145-160 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 60 | 60 | 0 | 0 | 40 | 90 | 90 |  |  |  |  | 120 | 25 | 25 | შპს "თბილისი მედიკი"
14 |  |  | პინცეტი ანატომიური (195-210 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 129 | 129 | 90.61 | 90.61 | 35 | 90 | 90 |  |  |  |  | 90 | 30 | 30 | შპს "თბილისი მედიკი"
15 |  |  | მაკრატელი ანატომიური (145-160 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 8.9 | 8.9 | 20 | 20 | 2.2 | 5.4 | 5.4 |  |  |  |  | 5.4 | 25 | 25 | შპს "თბილისი მედიკი"
16 |  |  | მაკრატელი ლიტერის (145-160 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 12 | 12 | 20 | 20 | 2.2 | 5.8 | 5.8 |  |  |  |  | 5.8 | 25 | 25 | შპს "თბილისი მედიკი"
17 |  |  | ნემსის დამჭერი (145-160 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 6.5 | 6.5 | 20 | 20 | 5 | 5 | 5 |  |  |  |  | 5 | 30 | 30 | შპს "თბილისი მედიკი"
18 |  |  | არტერიული მომჭერი (145-160 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 12 | 12 | 20 | 20 | 4.5 | 5.6 | 5.6 |  |  |  |  | 5.6 | 30 | 30 | შპს "თბილისი მედიკი"
19 |  |  | სკალპელი ( 145-160 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 17 | 17 | 20 | 20 | 5.2 | 8.5 | 8.5 |  |  |  |  | 8.5 | 25 | 25 | შპს "თბილისი მედიკი"
20 |  |  | სკალპელი (175-190 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 17 |  | 0 | 0 |  | 10.2 | 10.2 |  |  |  |  | 10.2 | 25 | 25 | შპს "თბილისი მედიკი"
21 |  |  | ზონდი ყურის | 3 | ცალი | 26 | 78 | 10 | 30 | 2 | 11.75 | 35.25 |  |  |  |  | 11.75 | 40 | 120 | შპს "თბილისი მედიკი"
22 |  |  | მაკრატელი ნაკერების მოსახსნელად (165-175 მმ.-მდე უჟანგავი მეტალის) | 1 | ცალი | 19 | 19 |  |  |  | 11.75 | 11.75 |  |  |  |  | 11.75 | 25 | 25 | შპს "თბილისი მედიკი"
23 |  |  | ბიქსი 180 მმ. | 1 | ცალი | 8.4 | 8.4 | 10 | 10 | 2 | 4 | 4 |  |  |  |  | 4 | 140 | 140 | შპს "თბილისი მედიკი"
24 |  |  | ოტოსკოპი (მინიმუმ ორჯერადი გადიდებით) | 1 | ცალი | 8.4 | 8.4 |  |  |  | 4 | 4 |  |  |  |  | 4 | 180 | 180 | შპს "თბილისი მედიკი"
25 |  |  | ოფთალმოსკოპი | 1 | ცალი | 4.3 | 4.3 |  |  |  | 0 | 0 |  |  |  |  | 12.9 | 250 | 250 | შპს "თბილისი მედიკი"
[17 empty] | #REF! |  | 1805
1 | 33100000 (სამედიცინო მოწყობილობები) | 4 | ელექტროკარდიოგრაფი (ელექტროკარდიოგრაფი სამარხიანი, ციფრული, სტანდარტული 12-განხრიანი, მრავალჯერადი ელექტროდებით კიდურებისა (მომჭერი) და გულმკერდისათვის (მიმწოვი ბურთულებით). ფერადი ეკრანით 5", Resolution: 800x400 ან უფრო დიდი და სათანადო კლავიშებით, სიჩქარე: 5, 12.5, 25, 50 mm/s, მგრძნობელობა: 5, 10, 20 mm/mV, Auto; ჩაშენებული პრინტერი: ქაღალდის ზომა არანაკლებ 80მმ როგორც რულონური ისე დაკეცილი ფორმატისათვს; მონაცემების სრული ანალიზისა და ინტერპრეტაციის შესაძლებლობა; Internal storage: 800 or more ECGs; Power: 100 to 240 VAC Battery-type: rechargeable Lithium ion battery, 2,500 mAh or more; capacity: 500 ECGs or more; სრული კომპლექტი სათანადო აქსესუარებით, მზად ექსპლუტაციისათვის) | 1 | ცალი | 1100 | 1100 | 1082.31 | 1082.31 | 650 | 1470 | 1470 |  |  |  |  | 1100 | 1375 | 1375 | შპს "მოწინავე სამედიცინო ტექნოლოგიები და სერვისი"
2 |  |  | მშრალი ჰაერის სტერილიზატორი (არანაკლებ 40 ლიტრის მოცულობით) | 1 | ცალი | 790 | 790 | 5537.4 | 5537.4 | 4500 | 1100 | 1100 |  |  |  |  | 790 | 2050 | 2050 | შპს "თბილისი მედიკი"
2 | [18 empty] | 3425
[17 empty] | 790 |  | 3425
1 | 39700000 (მაცივარი) | 5 | მაცივარი (ტიპი: ერთკამერიანი ან ორკამერიანი საერთო მოცულობა: არანაკლებ 250 ლ გალღობის სისტემა: Nნორდფროსტი (მშრალი), ძაბვა: 220-240V ენერგო მოხმარების კლასი: არანაკლებ A+ ხმაურის დონე: არაუმეტეს 43 DB, ფერი თეთრი ან ვერცხლისფერი.) | 1 | ცალი | [9 empty] | 330 | 330 | 330 | 700 | 700 | შპს "gs"
700
|  |  | სულ 18 ამბულატორიის აღჭურვის სავარაუდო ღირებულება (ლარი) | [7 empty] | sul 81 ambulatoris aRWurvis Rirebuleba | [6 empty] | 10960
erTi ambulatoriis aRWurvis Rirebuleba