## Sheet1
Needs Assessment provided by the World Bank
Item | Number of Units | Unit price | Total
PCR Reagents and Consumables |  |  | 833785
Sample collection tubes with VTM and 2 plastic swab applicators | 20000 | 1 | 20000
QIAamp Viral RNA Mini Kit | 80 | 1100 | 88000
QIAamp Mini Collection Tubes | 20 | 240 | 4800
AVL buffer for QIAamp Viral RNA Mini Kit | 80 | 160 | 12800
AVE buffer QIAamp Viral RNA Mini Kit | 10 | 515 | 5150
MagMax Core (100 rxn) | 10 | 150 | 1500
MagMax Core (500 rxn) | 40 | 250 | 10000
KingFisher Deepwell 96 Plate, V-bottom, polypropylene | 40 | 130 | 5200
KingFisher 96 KF microplate (200μL) | 15 | 180 | 2700
KingFisher 96 tip comb for DW magnets, 10 x 10 pcs/box | 8 | 150 | 1200
Thermo Scientific™ Matrix™ Pipette Tips (960 per case) | 50 | 200 | 10000
200 nmol, nCoV Forward primer (HKU-ORF1b-nsp14F): 5’-TGGGGYTTTACRGGTAACCT-3’ | 3 | 35 | 105
200 nmol, nCoV Reverse primer (HKU- ORF1b-nsp14R)): 5’-AACRCGCTTAACAAAGCACTC-3’ | 4 | 35 | 140
200 nmol, nCoV Probe (HKU-ORF1b-nsp141P): 5’-FAM-TAGTTGTGATGCWATCATGACTAG-TAMRA-3’ | 10 | 500 | 5000
200 nmol, nCoV Forward primer (HKU-NF): 5’-TAATCAGACAAGGAACTGATTA-3’ | 5 | 30 | 150
200 nmol, nCoV Reverse primer (HKU-NR): 5’-CGAAGGTGTGACTTCCATG-3’ | 3 | 30 | 90
200 nmol, nCoV Probe (HKU-NP): 5’-FAM-GCAAATTGTGCAATTTGCGG-TAMRA-3’ | 6 | 500 | 3000
TaqMan™ Fast Virus 1-Step Master Mix | 20 | 2000 | 40000
Modular Wuhan CoV E-gene | 200 | 450 | 90000
Modular Wuhan CoV RdRP-gene | 10 | 450 | 4500
LightCycler® Multiplex RNA Virus Master | 105 | 450 | 47250
VIRAL RNA / DNA KIT | 20 | 250 | 5000
Molecular grade Ethanol, 500 ml bottle | 5 | 200 | 1000
nCov-2019 PCR detection kit (primer & control probe) | 220 | 500 | 110000
SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | 220 | 150 | 33000
Tris (1 M), pH 8.0, RNase-free | 55 | 50 | 2750
RT-PCR Grade Water | 55 | 30 | 1650
PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 880 | 50 | 44000
VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | 40000 | 2 | 80000
TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 440 | 50 | 22000
DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 220 | 25 | 5500
PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 440 | 50 | 22000
PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 880 | 50 | 44000
PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 440 | 50 | 22000
PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 440 | 50 | 22000
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 440 | 50 | 22000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 880 | 25 | 22000
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 40000 | 0.5 | 20000
decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 110 | 30 | 3300
833785
PPE |  |  | 11758803.3
GOGGLE | 150000 | 13 | 1950000
GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. | 150000 | 13 | 1950000
GOWN | 2400000 | 0.8 | 1920000
GOWN, AAMI level 3, non sterile, disp., size L | 900000 | 0.8 | 720000
GOWN, AAMI level 3, non sterile, disp., size M | 900000 | 0.8 | 720000
GOWN, AAMI level 3, non sterile, disp., size XL | 300000 | 0.8 | 240000
GOWN, AAMI level 3, non sterile, disp., size XXL | 300000 | 0.8 | 240000
GLOVE | 3000000 | 0.07 | 210000
GLOVE EXAMINATION, nitrile, pf, size L | 1000000 | 0.07 | 70000
GLOVE EXAMINATION, nitrile, pf, size M | 1000000 | 0.07 | 70000
GLOVE EXAMINATION, nitrile, pf, size S | 500000 | 0.07 | 35000
GLOVE EXAMINATION, nitrile, pf, size XL | 500000 | 0.07 | 35000
MASK | 2502229 |  | 4002546
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L | 500000 | 0.66 | 330000
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M | 500000 | 0.66 | 330000
MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S | 500000 | 0.66 | 330000
RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip | 1000000 | 3 | 3000000
FACE SHIELD, clear plastic, disp. | 2200 | 0.43 | 946
N95 mask fit test kit | 29 | 400 | 11600
SANITAZER LIQUID | 371000 |  | 3614190
ALCOHOL-BASED HAND RUB, gel, 100mL, bottle | 11000 | 1.29 | 14190
Antibacterial liquid soap (liters) | 100000 | 10 | 1000000
Alcohol-based hand rub (70%, liters) | 100000 | 12 | 1200000
Chlorine-based cleaning solution for surfaces | 60000 | 15 | 900000
Disposable paper tissue rolls | 100000 | 5 | 500000
OTHER CONSUMABLES | 5340 |  | 62067.3
SAFETY BOX, needles/syringes, 5l, cardboard for incineration | 1100 | 0.82 | 902
BOX, triple packaging, biological substance UN3373 +pouch | 55 | 6.18 | 339.9
BOX, triple packaging, infectious substance UN2814 | 55 | 30.28 | 1665.4
CHLORINE NaDCC, 45-55%, gran., 1kg, pot | 110 | 6 | 660
Thermometers (standard) | 2000 | 4 | 8000
Infrared thermometers | 2020 | 25 | 50500
HOSPITAL EQUIPMENT |  |  | 11740490
| 1049 |  | 1773920
Pulmonary Ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and non invasive breathing regimes. | 50 | 20000 | 1000000
Pulmonary Ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 10 | 6000 | 60000
basic patient monitor system: (ECG, Resp, HR, NIBP,Temp, SpO2,) with touch screen. | 45 | 1500 | 67500
patient monitor ECG, Resp, HR, NIBP,T2000$emp, SpO2, IBP, NIBP, LAN/WiFI (invasive) | 20 | 2000 | 40000
patient monitor ECG, Resp, HR, NIBP,Temp, SpO2, NIP , IBP, CO2 lAN/WIFI (high class model for pediatric and adult use) | 6 | 3500 | 21000
patient monitor for transportation ECG, Resp, HR, NIBP,Temp, SpO2 | 3 | 1200 | 3600
central monitoring station: connects at least 30 monitors | 3 | 3000 | 9000
ICU bed: four-section ICU medical bed (with electric control) for adults, remote control, control panel on the sides, with locking function. Automatic CPR, Trendelenburg - / +; Max Weight of the patient 220 kg., Divided into appropriate sections, with a mattress resistant to washing-chemical treatment. | 50 | 1500 | 75000
ICU bed, pediatric: four-section resuscitation medical bed (with electric control) pediatric. Divided into appropriate sections, with a mattress resistant to washing-chemical processing | 6 | 1400 | 8400
anti pressure sores mattress with compressor control | 15 | 140 | 2100
Defibrillator biphasic: 360 Julian, adult and pediatric with multiple electrodes, cardio version, self-test and diagnostic functions | 6 | 3500 | 21000
negatoscope 35*43 | 3 | 500 | 1500
medical Instrument table (manipulation table), rack, wheels, protective surface barrier from 3 sides. | 20 | 350 | 7000
medical cart: shock table, with drawers | 16 | 2200 | 35200
Syringe Pump: Compatible with different manufacturer's syringes (10-50mm or larger) must be able to change operating parameters, with built-in batteries and a proper alarm system. | 144 | 1100 | 158400
Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 21 | 1300 | 27300
pressure infusion bag | 67 | 50 | 3350
high pressure surgical suction pump not less then 50 liters per minute . Two cans not less then 2 L | 7 | 1000 | 7000
12 channel cardiograph machine with cart for a4 paper: Cable suspension,for clamping multiple use electrodes and use of adhesive electrodes | 3 | 1300 | 3900
Cabinet for medicines and consumables | 17 | 700 | 11900
High-risk medication Wardrobe with lock | 3 | 800 | 2400
Safe (medium size, cabin. 30 * 50 * 40 cm) | 3 | 450 | 1350
LED mobile lights | 2 | 500 | 1000
Wheelchair, to move the patient within the building | 7 | 200 | 1400
privacy screen with 3-4 wings | 110 | 120 | 13200
Video laryngoscope with different sized blades 2-2 pieces with multiple blades | 3 | 3500 | 10500
Laryngoscope set, Macintosh, with1,2,3,4 size blades (high quality) | 7 | 100 | 700
Laryngoscope set, miller with 1,2,3,4 size blades (high quality) | 4 | 100 | 400
Laryngoscope set, pediatric with blades size 0.1 and higher (high quality) | 4 | 80 | 320
Ambu - Masks for adults | 57 | 40 | 2280
Ambu - Masks pediatric | 13 | 40 | 520
Portable oxigen tank 5-10 liters, with reductor (with DIN standard fowmeter) | 5 | 500 | 2500
glucometer with strips | 10 | 50 | 500
Stainless steel Shelves | 15 | 100 | 1500
Gas and electrolyte analyzer, with appropriate reagents for at least 100 tests | 2 | 7000 | 14000
X-ray machine, mobile: fully digital, integrated with a high-resolution screen that will instantly display the patient's image. Wireless Detector 35 * 35 or larger, generator with not less than 15KW power, with integrated power supply that provides imaging for at least 30 patients with maximum power. It should be easy to move eround clinic. LAN / WIFi support, 230V / 50Hz. | 1 | 70000 | 70000
Ultrasound diagnostic device, portable, high class, with at least 3 transducers, with proper cart, integrated batteries. General tests Color Doppler display, Cardiology. With abdominal, linear, and cardio transduction | 1 | 25000 | 25000
Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more;​ | 100 | 50 | 5000
bronchoscope | 2 | 3500 | 7000
gastroscope | 1 | 3200 | 3200
pump | 50 | 400 | 20000
dialysis machine | 1 | 20000 | 20000
Solution heating system | 6 |  | 0
Portable pulse oximeter for adults | 10 | 800 | 8000
Multiple use silicone contour with compatible valve | 120 |  | 0
ER | 95 |  | 109400
ventilator: resuscitation model, works on compressed air and oxygen. With stand, universal (pediatric and adult) with invasive and noninvasive breathing regimes. | 1 | 20000 | 20000
ventilator: portable (pediatric and adult) with oxygen tank different breathing regimes. | 2 | 6000 | 12000
pediatric shock stretcher | 2 | 1000 | 2000
stretcher for adults, with maximum patient weight 200 kg or higher | 20 | 1000 | 20000
negatoscope 35*42 | 2 | 500 | 1000
Infusion pump, volumetric: Drip chamber, compatible with different manufacturer systems | 5 | 800 | 4000
high pressure surgical suction pump not less than 50 liters per minute . Two cans not less than 2 L | 3 | 1000 | 3000
12 channel cardiograph machine with cart for a4 paper: Cable suspension, for clamping multiple use electrodes and use of adhesive electrodes | 3 | 1300 | 3900
Video laryngoscope with different sized blades, 2-2 pieces with multiple blades | 1 | 3500 | 3500
Portable oxygen tank 5-10 liters, with reductor (with DIN standard flowmeter) | 5 | 500 | 2500
mobile Ultrasound machine high-end, at least 4 transmitters, with cart, integrated batteries and With different software capabilities. | 1 | 25000 | 25000
tool stand | 50 | 250 | 12500
OR | 11 |  | 91900
An anesthetic machine designed for adults and pediatric patients. With two evaporators, an anesthetic gas module. The color screen to display various breathing parameters as well as the concentration of oxygen and the percentage of anesthetic supplied in the air. The respiratory pneumatic module should be washable and sterilized | 2 | 30000 | 60000
Patient monitor, compatible with anesthetic apparatus. With at least a 15-inch screen. ECG, Resp, HR, NIBP, Temp, SpO2, NIPP, IBP, lAN / WIFI, OxyCRG (High Class Pediatric / Adult) | 2 | 2200 | 4400
Operational surgical lighting with LED technology, two satellites 150000/110000 lux. With the ability to adjust the light temperature range and brightness. With different software capabilities of the lights. With a high possibility of protection from shading. Additional sterile handles should be included in the kit. | 1 | 12000 | 12000
Operating Surgical Table. Electric or electric hydraulic. The patient's weight less than 160 kg. With high quality washable mattress. Accessories: gynecological / urological legs, anesthetic stand, infusion tripod. | 1 | 10500 | 10500
Surgical instruments set (general thoraco-abdominal, neuro, microsurgical) | 1 |  | 0
solution heating system | 2 |  | 0
patient heating system | 2 | 2500 | 5000
Radiology Unit | 3 |  | 680000
Computer tomography: at least 64 layers, with different applications, with a special program compatible modern protocol for lung tests with subsequent appropriate updates in future. Gentry diameter not less than 72 cm, table load capacity, not less than 220 kg; ; Set: digital printer for different sizes of tapes; Continuous power supply of appropriate capacity and characteristics, injector for 200 ml syringes, cart, remote control. | 1 | 450000 | 450000
Digital Xray | 1 | 160000 | 160000
Ultrosound machine | 1 | 70000 | 70000
Clinical Laboratory | 16 |  | 95020
Hematological analyzer: 5-dip, standard and additional parameters, including CRP and NLP; With adequate reagents sufficient for at least 300 analyzes | 1 | 22000 | 22000
Biochemical analyzer, automatic-performance 220 tests / h or more (list of reagents provided separately) | 1 | 14000 | 14000
automatic Immunological analyzer, (list of reagents provided separately) | 1 | 18000 | 18000
Coagulometer, automatic | 1 | 12000 | 12000
Urine analyzer, automatic | 1 | 20000 | 20000
Centrifuge, 10-1500 rpm; general | 1 | 2500 | 2500
Centrifuge, for small samples 2-20000b / min | 1 | 3200 | 3200
Pipette set (should include 5 mcg - 1000 mcl, with different scales) | 1 |  | 0
Dispenser, for adjustable dosing | 1 |  | 0
Laboratory Scale | 1 | 400 | 400
work bench | 1 | 500 | 500
work bench for equipment | 3 | 500 | 1500
cabinet | 1 | 800 | 800
shelf | 1 | 120 | 120
WARDS | 486 |  | 268150
Standard hospital beds | 0 |  | 0
Table for patient feeding, table-top, mobile | 150 | 475 | 71250
ICU stations | 30 |  | 0
Resuscitation beds | 20 | 2500 | 50000
Defibrillator Biphasic 360 Joules, Adult and Pediatric Multiple Electrodes, Cardio Version, Self-Test Diagnosis. | 10 | 3500 | 35000
Shock table (cart) | 10 | 2000 | 20000
Cardiograph with a 3-channel color liquid crystal display, the display should have 12 outputs. With different software capabilities. With the ability to process a cardiogram. With multiple chest and limb electrodes. (Can be sterilized and disinfected), with proper cart, with multiple electrodes | 60 | 700 | 42000
Patient monitor, basic: (ECG, Resp, HR, NIBP,Temp, SpO2, ), sensory,with easy to clean screen | 50 | 700 | 35000
Glucometer with strips (100) | 2 | 50 | 100
Flowmeter with Moisturizing Cup: Flumeter with Medical Oxygen Standard DIN Standard: High Resistance, Metal Monobloc, Scale Transparent Material (polyamide): 0-15 l / min; With regulator; Special different diaphragm adapter / transmitter and separate - appropriate moisturizing cup 250 ml or more; | 4 | 50 | 200
Tripod | 72 | 50 | 3600
Laryngoscope set, Macintosh, 1,2,3,4 size with blades (high quality) | 1 | 100 | 100
Laryngoscope set, Miller, 1,2,3,4 size with blades (high quality) | 1 | 100 | 100
High-pressure surgical resection not less than 50 l / min, with two jars, not less than 2 l | 2 | 1000 | 2000
Infusomat, volumetric: Drip compatible with different manufacturer's systems | 2 | 800 | 1600
Soap dispenser | 72 | 100 | 7200
STERILAZATION | 1827 |  | 8722100
2-door horizontal Steam sterilizer: mint 300 l. With different sterilization modes. With built-in printer. crystal color screen, with proper cart for loading / unloading materials | 2 | 55000 | 110000
Plasma sterilizer: at least 100 liters, with liquid crystal color screen. Different modes of sterilization. | 1 | 45000 | 45000
Sterile packing irons: High quality, designed for high hospital load. With the possibility of temperature regulation. The minimum width of the package is min 45 cm. (Should be able to pack Packages for plasma sterilizers) | 2 | 2200 | 4400
Stainless steel shelf: app. 40 * 100 * 200 cm | 10 | 1000 | 10000
Washing utensils (durable plastic container 4 different sizes up to 5-40 liters, set | 3 |  | 0
Ultrasonic washer, capacity 20 l or more | 1 | 2700 | 2700
Table, stainless metal: app. size 70 * 70 * 150 cm, proper, easy to wash, adjustable in height with a soft-seat, round chair | 3 |  | 0
Sterile item cart, with a closing door, locking wheels, to keep at least 4 big sterilization containers | 2 |  | 0
Washing sink (deep chan) with warm, cold, clean water and compressed air supply | 2 |  | 0
Working table - lockable, for packing irons and rolls with proper stand-up, approximate length-width: 150 * 100 cm | 1 |  | 0
Standard equipment set per primary care clinics (otoscope, ophalmoscope, ECG | 1200 | 3500 | 4200000
Standard furniture per unit | 500 | 1700 | 850000
Integrated telemedicine equipment for primary care sites | 100 | 35000 | 3500000
AMBULANCES | 80 |  | 5400000
ambulance car b type | 50 | 60000 | 3000000
ambulance car c type (intensive care mobile unit) | 30 | 80000 | 2400000