Annex 1

| № | Item | description | # needed | # proposed to purchase directly under the WBG project |
| --- | --- | --- | --- | --- |
| 1 | Office Desk | Rectangular, 2 drawer | 900 | 330 |
| 2 | Office Cupboard | Open upper part, 2 shelves 2-doors lower section with 1 shelf | 900 | 330 |
| 3 | Office Chair |  | 2700 | 990 |
| 4 | Couch for patient examination | Metal padded | 900 | 150 |
| 5 | Newborn treatment table | Metal padded | 450 | 150 |
| 6 | Scales adult |  | 450 | 150 |
| 7 | Scales for children / newborn |  | 450 | 150 |
| 8 | Trolley / Medical, dressing, instruments, emergency | For medical use manipulations | 900 | 150 |
| 9 | Cupboard / medical supplies | For medicines, dressing materials, instruments | 900 | 150 |
| 10 | Trolley / medical for sterile stock | medical for sterile stock | 450 | 150 |
| 11 | Refrigerator | Double door / cameras | 450 | 150 |
| 12 | Oxygen Concentrator with inbuilt Nebulizer | At least 5 l, 93% generation capacity | 450 | 150 |
| 15 | Dry Air Sterilizer |  | 450 | 150 |
| 16 | Electrocardiograph | 12 channel, manual and automatic mode, with function for data transmission (LAN/WiFi) | 950 | 150 |
| 17 | Otoscope | Twice the field of view | 950 | 150 |
| 18 | Ophthalmoscope |  | 950 | 150 |
| 19 | Height meter | Portable, 2m | 950 | 150 |
| 20 | Centimeter | Medical 1.5m | 950 | 150 |
| 21 | Sphygmomanometer with Stethoscope |  | 950 | 150 |
| 22 | Stethoscope |  | 950 | 150 |
| 23 | Thermometer | Medical, mercury in glass | 950 | 150 |
| 24 | Medical Dish, Kidney shaped |  | 950 | 150 |
| 25 | Glucometer |  | 950 | 150 |
| 26 | Glucometer strips and lancets #100 |  | 950 | 150 |
| 27 | Transfusion stand | With two hooks | 950 | 150 |
| 28 | Pulse oximeter | Portable | 950 | 150 |
| 29 | Surgical forceps | 160mm | 950 | 150 |
| 30 | Surgical forceps | 200mm | 950 | 150 |
| 31 | Anatomical forceps | 160mm | 950 | 150 |
| 32 | Anatomical forceps | 200mm | 950 | 150 |
| 33 | Anatomic Scissors | 160mm | 950 | 150 |
| 34 | Scissors | 160mm | 950 | 150 |
| 35 | Needle holder | 160mm | 950 | 150 |
| 36 | Artery clamp | 160mm | 950 | 150 |
| 37 | Scalpel | 150mm | 950 | 150 |
| 38 | Scalpel | 180mm | 950 | 150 |
| 39 | Ear Curette |  | 1900 | 300 |
| 40 | Scissors to remove stitches | 170mm | 950 | 150 |
| 41 | Sterilization container | 180mm | 950 | 150 |