## Summary Sheet
| Budget Item | TOTAL Estimated amount | Comments | Immediate investment needs in 2020 | % of estimated total need when applicable | Mid term investment needs for strenghtening health systems capacity and providing needed supplies and securing emergency stocks in 2021 | % of estimated total need when applicable
| Personal Protective Equipment | 65614100 | See PPE sheet for details: IPC and ICU equipment needs the worst case scenario was used in order to estimate the number of masks, gowns, gloves and the similar that are needed by Georgia in order to respond to the outbreak until it ends (presumption of 50% of the population being infected, with 19% of these requiring hospitalization and 6% intensive care). | 45929870 | 70% | 19684230 | 30%
| ICU equipment (ventilators and ECMO) | 9160860 | This includes ventilators and ECMO machines listed on PPE sheet. | 9160860 | 100% | 0 | 0%
| Laboratory testing needs | 975296.2572 | See Lugar-testing, PPE-reg. labs, Testing-reg.labs for details; For laboratory supplies the epidemiological forecasting tool for influenza was used in order to estimate the needs for the next 1-2 months. The tool does not allow forecasting beyond this time period, since the need of testing depends greatly on various factors that will vary with time. It is fully acknowledged that none of the methodologies are perfect and accurate considering the extremely short span of the novel coronavirus outbreak in the country. | 3901185.0289 | 400% | 3901185.0289 | 400%
| Hospital Infrustructure Strenghtening | 69000000
1 | Infectious Disease Hospital in Tbilisi | 23000000 | Procurement of a new building, its refurbishment, Hospital equipment and supplies for up to 200 beds | 23000000 | 100% | 0 | 0%
| Procurment of new Building | 10000000
| Refurbishment | 5000000
| Equipment | 8000000
2 | Central Republican Hospital in Tbilisi | 17000000 | Refurbishment, Hospital equipment and supplies for 350 beds | 8500000 | 50% | 8500000 | 50%
| Refurbishment | 10000000
| Equipment | 7000000
3 | Rukhi Hospital in Samegrelo | 10000000 | Hospital equipment and supplies for 350 beds | 10000000 | 100% | 0 | 0%
| Equipment | 10000000
4 | Republican Hospital in Adjara | 7000000 | This is a newly built building. Investment is needed for Hospital equipment and supplies for 200 beds | 7000000 | 100% | 0 | 0%
| Equipment | 7000000
0
5 | Lisi Oncology Hospital in Tbilisi | 12000000 | Hospital rehabilitation, equipment and supplies for 300 beds | 6000000 | 50% | 6000000 | 50%
| Refurbishment | 5000000
| Equipment | 7000000 | TOTAL | 113491915.0289 |  | 38085415.0289
| TOTAL | 144750256.2572

## PPEs
COVID-19 DISEASE COMMODITIES NEEDS - GEORGIA AND ABKHAZIA (estimations based on the worst case outbreak scenario)
| Est. unit price (USD) | No of units requested - GEO | Total cost per item - GEO | No of units requested - ABK | Total cost per item - ABK
Gloves | 0.07 | 15000000 | 1050000 | 4000000 | 280000
Gowns | 0.8 | 20000000 | 16000000 | 4000000 | 3200000
Goggles | 13 | 100000 | 1300000 | 100000 | 1300000
Surgical masks | 0.66 | 30000000 | 19800000 | 10000000 | 6600000
N95 respirator masks | 0.66 | 3000000 | 1980000 | 1000000 | 660000
N95 mask fit test kit | 400 | 25 | 10000 | 4 | 1600
Antibacterial liquid soap (liters) | 10 | 100000 | 1000000 | 42000 | 420000
Alcohol-based hand rub (70%, liters) | 12 | 100000 | 1200000 | 42000 | 504000
Chlorine-based cleaning solution for surfaces | 15 | 50000 | 750000 | 10000 | 150000
Disposable paper tissue rolls | 5 | 200000 | 1000000 | 20000 | 100000
Thermometers (standard) | 4 | 1000 | 4000 | 1000 | 4000
Infrared thermometers | 25 | 2000 | 50000 | 20 | 500
portable transport ventilator for adults pediatric and neonatal patients, aroved for use helicopters and airplanes | 25000 | 20 | 500000
Patient ventilator, for critical care | 14000 | 320 | 4480000 | 30 | 420000
Defibrilator with patient monitoring system for adults and pediatric peds | 4000 | 150 | 600000
ECG 12 lead | 1400 | 250 | 350000
Extracorporeal membrane oxygenation machine | 75000 | 20 | 1500000 | 2 | 150000
Pulse oximeters | 18 | 320 | 5760 | 50 | 900
Oxygen masks | 15 | 450000 | 6750000 | 100000 | 1500000
Portable HEPA filters, for negative pressure | 4500 | 20 | 90000 | 3 | 13500
Test tubes with viral transport media | 7 | 250000 | 1750000 | 60000 | 420000 |  | GEOGRIA | ABK
Insulated transport boxes for moving lab material | 100 | 10 | 1000 | 5 | 500 | Equipment | 8077660 | 1083200
Hospital tents sets | 25000 | 10 | 250000 | 3 | 75000 | Consumable and other items | 50894000 | 14720100
Waste bins | 15 |  |  | 200 | 3000
Triple packaging boxes for international shipping of samples | 30 | 30 | 900 | 10 | 300 | TOTAL | 58971660
TOTAL COST: |  |  | 60421660 |  | 15803300
GRAND TOTAL: |  |  |  |  | 76224960

## Lugar - testing
COVID19 PCR reagents and consumables - needs for NCDC Lugar Center for 20,000 tests
|  |  |  | Total price in USD | Total price in USD
Sample collection tubes with VTM and 2 plastic swab aplicators |  |  | 20000
QIAamp Viral RNA Mini Kit | QIAGEN | 52906 | 80 | 1100 | 88000
QIAamp Mini Collection Tubes | QIAGEN | 19201 | 20 | 240 | 4800
AVL buffer for QIAamp Viral RNA Mini Kit | QIAGEN | 19073 | 80 | 160 | 12800
AVE buffer QIAamp Viral RNA Mini Kit | QIAGEN | 1020953 | 10 | 515 | 5150
MagMax Core (100 rxn) | Thermo | A32700 | 10 | 150 | 1500
MagMax Core (500 rxn) | Thermo | A32702 | 40 | 250 | 10000
KingFisher Deepwell 96 Plate, V-bottom, polypropylene | Thermo | 95040450 | 40 | 130 | 5200
KingFisher 96 KF microplate (200μL) | Thermo | 97002540 | 15 | 180 | 2700
KingFisher 96 tip comb for DW magnets, 10 x 10 pcs/box | Thermo | 97002534 | 8 | 150 | 1200
Thermo Scientific™ Matrix™ Pipette Tips (960 per case) | THERMOFISHER | 8045 | 50 | 200 | 10000
200 nmol, nCoV Forward primer (HKU-ORF1b-nsp14F): 5’-TGGGGYTTTACRGGTAACCT-3’ | Eurofins |  | 3 | 35 | 105
200 nmol, nCoV Reverse primer (HKU- ORF1b-nsp14R)): 5’-AACRCGCTTAACAAAGCACTC-3’ | Eurofins |  | 4 | 35 | 140
200 nmol, nCoV Probe (HKU-ORF1b-nsp141P): 5’-FAM-TAGTTGTGATGCWATCATGACTAG-TAMRA-3’ | Eurofins |  | 10 | 500 | 5000
200 nmol, nCoV Forward primer (HKU-NF): 5’-TAATCAGACAAGGAACTGATTA-3’ | Eurofins |  | 5 | 30 | 150
200 nmol, nCoV Reverse primer (HKU-NR): 5’-CGAAGGTGTGACTTCCATG-3’ | Eurofins |  | 3 | 30 | 90
200 nmol, nCoV Probe (HKU-NP): 5’-FAM-GCAAATTGTGCAATTTGCGG-TAMRA-3’ | Eurofins |  | 6 | 500 | 3000
TaqMan™ Fast Virus 1-Step Master Mix | AB | 4444434 | 20 | 2000 | 40000
Modular Wuhan CoV E-gene | Roche | 9155368001 | 200 | 450 | 90000
Modular Wuhan CoV RdRP-gene | Roche | 9155376001 | 10 | 450 | 45000
LightCycler® Multiplex RNA Virus Master | Roche | 6754155001 | 105 | 450 | 47500
VIRAL RNA / DNA KIT | Roboklon | E3592-02 | 20 | 250 | 5000
Molecular grade Ethanol, 500 ml bottle | any | any | 5 | 200 | 1000
|  | Total: |  |  | 378335

## PPE - reg.labs
PPE for GEO regional laboratories - 200,000 samples
[7 empty] | 9487.538 | 0.005625
WHO Code | Lab technician PPE kit elements | Comments | Qtity | Unit Cost USD | Total cost (USD) | Estim. Unit Weight (kg) | Estim. Total Weight (kg) | Estim. Unit Volume (m3)
YMEQGLASWS1--A1 | GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  | 2000 | 13 | 26000 | 0.86 | 1720 | 5e-05
PEXTALCO1G---A1 | ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  | 10000 | 1.2881 | 12880.5621 | 0.12 | 1200
EWASBAGBR007-A1 | BAG BIOHAZARD, REFUSE, AUTOCLAVABLE, 30x50cm, yellow |  | 20000 | 0.35 | 7000 | 0.005 | 100
EWASYCHN5G1--A1 | CHLORINE NaDCC, 45-55%, gran., 1kg, pot |  | 100 | 6 | 600 | 1 | 100
CPPEGOWI3L---A1 | GOWN, AAMI level 3, non sterile, disp., size L |  | 15000 | 0.8 | 12000 | 0.11467 | 1720.0534 | 0.0011256
CPPEGOWI3M---A1 | GOWN, AAMI level 3, non sterile, disp., size M |  | 15000 | 0.8 | 12000 | 0.11467 | 1720.0534 | 0.0011256
CPPEGOWI3XL--A1 | GOWN, AAMI level 3, non sterile, disp., size XL |  | 5000 | 0.8 | 4000 | 0.11467 | 573.3511 | 0.0011256
CPPEGOWI3XXL-A1 | GOWN, AAMI level 3, non sterile, disp., size XXL |  | 5000 | 0.8 | 4000 | 0.11467 | 573.3511 | 0.0011256
CMSUGLEN1L1--A1 | GLOVE EXAMINATION, nitrile, pf, size L |  | 50000 | 0.066 | 3300 | 0.0070701 | 353.5038 | 3.2418e-05
CMSUGLEN1M1--A1 | GLOVE EXAMINATION, nitrile, pf, size M |  | 50000 | 0.066 | 3300 | 0.0070701 | 353.5038 | 3.2418e-05
CMSUGLEN1S1--A1 | GLOVE EXAMINATION, nitrile, pf, size S |  | 25000 | 0.066 | 1650 | 0.0070701 | 176.7519 | 3.2418e-05
CMSUGLEN1XL--A1 | GLOVE EXAMINATION, nitrile, pf, size XL |  | 25000 | 0.066 | 1650 | 0.0070701 | 176.7519 | 3.2418e-05
CPPEMASS2RL--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASS2RM--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASS2RS--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEMASPF205-A1 | RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  | 10000 | 0.65948 | 6594.84 | 0.0042054 | 42.0544 | 3.8213e-05
CPPEFSHIED02-A1 | FACE SHIELD, clear plastic, disp. |  | 2000 | 0.42824 | 856.4815 | 0.01 | 20
CMSUTHERI01--A1 | THERMOMETER, INFRARED, no contact, handheld |  | 100 | 25 | 2500 | 0.02 | 2 | 5e-05
CINSCONTC51--A1 | SAFETY BOX, needles/syringes, 5l, cardboard for incineration |  | 1000 | 0.82176 | 821.7593 | 0.33 | 330 | 0.00074
OPACUN62BS1--A1 | BOX, triple packaging, biological substance UN3373 +pouch |  | 50 | 6.1775 | 308.8737 | 2 | 100
OPACUN62IS1--A1 | BOX, triple packaging, infectious substance UN2814 |  | 50 | 30.2844 | 1514.2207 | 2 | 100
|  |  | Total: |  | 120761.2572

## Testing - reg.labs
COVID19 PCR reagents and consumables for 200, 000 tests - GEO regional laboratories
|  | Quantities needed | Price units USD | Total cost USD
nCov-2019 PCR detection kit (primer & control probe) | For 200000 reaction (200 kits x 100 test) | 200 | 500 | 100000
SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | For 200000 reaction (200 kits x 100 test) | 200 | 150 | 30000
Tris (1 M), pH 8.0, RNase-free | 5000ml (100mlx50) | 50 | 50 | 2500
RT-PCR Grade Water | 5000ml (100mlx50) | 50 | 30 | 1500
PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 200000 tubes (250 tubesx 800 paks) | 800 | 50 | 40000
VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | For 200000 extraction | 20000 | 2 | 40000
TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 20000 tubes (50 tubes x 400 rack) | 400 | 50 | 20000
DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 10000 tabs (50 tabs x 200 pack) | 200 | 25 | 5000
PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 800000 tips (1000 tips x 800 box) | 800 | 50 | 40000
PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 400000 tips (1000 tips x 400 box) | 400 | 50 | 20000
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 200000 tubes (500 tubes x 400 box) | 400 | 50 | 20000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 400000 tubes (500 tubes x 800 box) | 800 | 25 | 20000
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 200000 swabs | 20000 | 0.5 | 10000
decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 100 tubes x 250 ml | 100 | 30 | 3000
| Total: |  |  | 392000

## Abkhazia - labs
COVID19 PCR reagents and consumables for 20,000 tests - Abkhazia laboratories
|  | Quantities needed | Price units USD | Total cost USD
nCov-2019 PCR detection kit (primer & control probe) | For 20000 reaction (20 kits x 100 test) | 20 | 500 | 10000
SuperScript™ III One-Step qRT-PCR System with Platinum™ Taq DNA Polymerase or similar | For 20000 reaction (20 kits x 100 test) | 20 | 150 | 3000
Tris (1 M), pH 8.0, RNase-free | 5000ml (100mlx5) | 5 | 50 | 250
RT-PCR Grade Water | 5000ml (100mlx5) | 5 | 30 | 150
PCR Tubes, 0.2 ml (250) , QIAGEN or similar | 20000 tubes (250 tubes x 80 packs) | 80 | 50 | 4000
VIRAL RNA EXTRACTION KIT (QIAamp) for RNA preps kit (250 or 100 or 50 tests) | For 20000 extraction | 20000 | 2 | 40000
TUBE CENTRIFUGE, PP, 15 ml, sterile, screw cap, rack-50, case-500 Thermo | 20000 tubes (50 tubes x 40 rack) | 40 | 50 | 2000
DISINFECTANT VIRUCIDAL (Virkon) , 50 g, 5 l solution / tab, pack-50Park Scientific | 10000 tabs (50 tabs x 20 pack) | 20 | 25 | 500
PIPETTE TIP FILTER (Pipetman diamond) , 0.1 - 10 ul, ster., box-960Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
PIPETTE TIP FILTER (Pipetman diamond) , 10 - 100 ul, ster., box-960 | 80000 tips (1000 tips x 80 box) | 80 | 50 | 4000
PIPETTE TIP FILTER (Pipetman diamond) , 20 - 200 ul, ster., box-960Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
PIPETTE TIP FILTER (Top-Line) , 100 - 1000 ul, ster., box-960 Gilson | 40000 tips (1000 tips x 40 box) | 40 | 50 | 2000
TUBE CRYOGENIC, PP, 2ml, ster., self stand., ext. thread + cap, natural, box-500 Greiner | 20000 tubes (500 tubes x 40 box) | 40 | 50 | 2000
CENTRIFUGE Tube, PP, 1.5 ml, non ster., PCR clean, flat cap, pack-500 VWR | 40000 tubes (500 tubes x 80 box) | 80 | 25 | 2000
swab with breakpoint and VTM (3mls) for collection of nasopharyngeal specimens (Sigma MW950SENT 74.7 GBP) | 20000 swabs | 20000 | 0.5 | 10000
decontaminant - RNAse AwayTM Fisher Scientific; cat. #21-236-21 | 10 tubes x 250 ml | 10 | 30 | 300
| Total: |  |  | 84200

## Abkhazia - PPE
PPE for Abkhazia regional laboratories - 20,000 samples
[7 empty] | 948.7538 | 0.005625
WHO Code | Lab technician PPE kit elements | Comments | Qtity | Unit Cost USD | Total cost (USD) | Estim. Unit Weight (kg) | Estim. Total Weight (kg) | Estim. Unit Volume (m3)
YMEQGLASWS1--A1 | GOGGLES PROTECTIVE, wraparound, soft frame, indirect vent. |  | 200 | 13 | 2600 | 0.86 | 172 | 5e-05
PEXTALCO1G---A1 | ALCOHOL-BASED HAND RUB, gel, 100mL, bottle |  | 1000 | 1.2881 | 1288.0562 | 0.12 | 120
EWASBAGBR007-A1 | BAG BIOHAZARD, REFUSE, AUTOCLAVABLE, 30x50cm, yellow |  | 2000 | 0.35 | 700 | 0.005 | 10
EWASYCHN5G1--A1 | CHLORINE NaDCC, 45-55%, gran., 1kg, pot |  | 10 | 6 | 60 | 1 | 10
CPPEGOWI3L---A1 | GOWN, AAMI level 3, non sterile, disp., size L |  | 1500 | 0.8 | 1200 | 0.11467 | 172.0053 | 0.0011256
CPPEGOWI3M---A1 | GOWN, AAMI level 3, non sterile, disp., size M |  | 1500 | 0.8 | 1200 | 0.11467 | 172.0053 | 0.0011256
CPPEGOWI3XL--A1 | GOWN, AAMI level 3, non sterile, disp., size XL |  | 500 | 0.8 | 400 | 0.11467 | 57.3351 | 0.0011256
CPPEGOWI3XXL-A1 | GOWN, AAMI level 3, non sterile, disp., size XXL |  | 500 | 0.8 | 400 | 0.11467 | 57.3351 | 0.0011256
CMSUGLEN1L1--A1 | GLOVE EXAMINATION, nitrile, pf, size L |  | 5000 | 0.066 | 330 | 0.0070701 | 35.3504 | 3.2418e-05
CMSUGLEN1M1--A1 | GLOVE EXAMINATION, nitrile, pf, size M |  | 5000 | 0.066 | 330 | 0.0070701 | 35.3504 | 3.2418e-05
CMSUGLEN1S1--A1 | GLOVE EXAMINATION, nitrile, pf, size S |  | 2500 | 0.066 | 165 | 0.0070701 | 17.6752 | 3.2418e-05
CMSUGLEN1XL--A1 | GLOVE EXAMINATION, nitrile, pf, size XL |  | 2500 | 0.066 | 165 | 0.0070701 | 17.6752 | 3.2418e-05
CPPEMASS2RL--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size L |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASS2RM--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size M |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASS2RS--A1 | MASK SURGICAL, type IIR, level 2, s.u, non sterile, earloop, size S |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEMASPF205-A1 | RESPIRATOR, mask, FFP2/N95, type IIR, s.u., unvalved, noseclip |  | 1000 | 0.65948 | 659.484 | 0.0042054 | 4.2054 | 3.8213e-05
CPPEFSHIED02-A1 | FACE SHIELD, clear plastic, disp. |  | 200 | 0.42824 | 85.6481 | 0.01 | 2
CMSUTHERI01--A1 | THERMOMETER, INFRARED, no contact, handheld |  | 10 | 25 | 250 | 0.02 | 0.2 | 5e-05
CINSCONTC51--A1 | SAFETY BOX, needles/syringes, 5l, cardboard for incineration |  | 100 | 0.82176 | 82.1759 | 0.33 | 33 | 0.00074
OPACUN62BS1--A1 | BOX, triple packaging, biological substance UN3373 +pouch |  | 5 | 6.1775 | 30.8874 | 2 | 10
OPACUN62IS1--A1 | BOX, triple packaging, infectious substance UN2814 |  | 5 | 30.2844 | 151.4221 | 2 | 10
|  |  | Total: |  | 12076.1257