## Clinic furniture
დანართი 2: ჩინეთის საგრანტო პროექტით გათვალისწინებული აღჭურვილობის ჩამონათვალი | [10 empty] | Certification
No.序号 | Department | 科室 | Item Name | 名称 | Reference Pic.参考图 | Specification | 参数 | შემოთავაზე- ბული რაოდენობა | რაოდენობა, რომლის მიღებაც ცენტრს შეუძლია დღევანდელი მდგომარეობით | Certification
1 | Outpatient | 门诊 | Examination Table | 诊察桌 |  | L1600XW700XH750mm1.E-1 level environmental protection chipboard 2.Steel table frame,comprises of woodenkeyboard holder and a push drawer cabinet | L1600XW700XH750mm 1.E-1 级环保板材 2.钢制框架,带键盘托和一抽屉柜 | 20 | 10 | N/A | N/A
2 | Medical record room/OT/Fee Room | 病案室手术室收费室 | Office furniture | 办公家具 |  | L1200XW700XH760mm1.Cold rolled steel with electrostatics powder coating 2.Fire-proof plate material top 3.Comprises of three drawers cabinet with casters and selflocking 4.Setup with keyboard holder | L1200XW700XH760mm 1.材质冷轧钢，静电喷涂 2.防火板桌面 3.三抽屉柜子，带脚轮，自锁 4.带键盘托 | 30 | 10 | N/A | N/A
3 | Ward ICU | 病房ICU | Office desk&Chair | 办公室会议桌椅 |  | Main Table: L1600XW700XH750mm Side Table: L1000XW500XH750mm 1.L shape table, E-1 levelenvironmental protection chipboard 2.Steel table frame,comprises of wooden keyboard holder and a push drawer cabinet | 主桌: L1600XW700XH750mm 边桌: L1000XW500XH750mm 1.L 型, E-1 环保板材 2.钢制框架,带键盘托和一抽屉柜 | 15 | 0 | N/A | N/A
4 | Imaging/OT | 影像科手术室 | Office desk | 办公桌 |  | L1400XW700XH760mm1.Cold rolled steel with electrostatics powder coating 2.E-1 level environmental protection chipboard 3.Comprises of three drawers with self-locking 4.Setup with keyboard holder | L1400XW700XH760mm1.1.材质冷轧钢，静电喷涂 2.E-1 环保板材 3.三抽屉柜子，带脚轮，自锁 4.带键盘托 | 20 | 6 | N/A | N/A
5 | Laboratory dept | 病理检验科 | Office desk&Chair | 办公桌椅 |  | Main Table: L1600XW700XH750mm Side Table: L1000XW500XH750mm 1.L shape table, E-1 level environmental protection chipboard 2.Steel table frame, comprises of wooden keyboard holder and a push drawer cabinet | 主桌: L1600XW700XH750mm 边桌: L1000XW500XH750mm 1.L 型, E-1环保板材 2.铁质框架, 带键盘托和一抽屉柜子 | 20 | 0 | N/A | N/A
6 | Medical record room | 病案室 | Medical record Shelf | 病案架（密集架） |  |  |  | 20 | 20 | N/A | N/A
7 | ICU | ICU | Storage cabinet | 储存柜 |  | 880X410X18501. Brush finish 304# stainless steel 2. Double door design 3. Transparent glass door 4. Five shelves 5. With lock | 880X410X18501. 304# 不锈钢拉丝处理 2. 双门设计 3. 透明玻璃门 4. 5架子 5. 带锁 | 35 | 10 | CE | CE
8 | Ward | 病房 | Phone | 电话 |  |  |  | 65 | 30 | N/A | N/A
9 | Imaging/Ward | 病房影像科 | 电脑桌 | 电脑桌 |  | L1400XW700XH760mm1.Cold rolled steel with electrostatics powder coating 2.Fire-proof plate material top 3.Comprises of four drawers with self-locking 4.Setup with keyboard holder and mainframe space | L1400XW700XH760mm1.1.冷轧钢静电喷涂 2.防火板台面 3.四抽屉带锁 4.带键盘托 | 10 | 10 | N/A | N/A
10 | OT | 手术室 | Shoe cabinet | 更鞋柜 |  | L980XW410XH1850mm1. Powder coated cold rolled steel 2. 15 cabinets 3. With lock, name lables and air vent | 规格：980*410*1850mm 参数： 1.整体选用冷轧钢材料制作，表面静电喷涂处理； 2、柜门采用15个单扇门设计； 3、柜门上有通风孔和插卡槽 4、柜门配ABS扣手及锁 | 0 | 0 | CE | CE
11 | OT/ICU/Emergency/Pediatric/Out patient | 手术室ICU病房急诊儿科门诊 | Locker | 更衣柜 |  | L980XW410XH1850mm1. Powder coated cold rolled steel 2. 15 cabinets 4. With lock, name lables and air vent | 规格：980*410*1850mm 参数： 1.整体选用冷轧钢材料制作，表面静电喷涂处理； 2、柜门采用15个单扇门设计； 3、柜门上有通风孔和插卡槽 4、柜门配ABS扣手及锁 | 10 | 5 | CE | CE
12 | Outpatient | 门诊 | Waiting Chair | 候诊椅 |  | L1985*W690*H890mm 1. The sturcture is made of cold rolled steel with electroplated 2. Three seats, net type backrest 3. Two armrest on the each side of seat 4. Four foot margin | 规格：L1985*W690*H890mm 1.主体选用优质冷轧钢材料制作，表面电镀处理 2.三人座位，网式靠背； 3.候诊椅两侧带扶手; 4.配可调地脚。 | 15 | 15 | CE | CE
13 | Emergency/Pediatric/Outpatient | 急诊儿科门诊 | Nurse desk | 护士办公桌 |  | L1200XW700XH760mm 1.Cold rolled steel with electrostatics powder coating 2.Fire-proof plate material top 3.Comprises of three drawers with self-locking 4.Setup with keyboard holder | L1200XW700XH760mmL1400XW700XH760mm1.1.冷轧钢静电喷涂 2.防火板台面 3.三抽屉带锁 4.带键盘托 | 35 | 5 | N/A | N/A
14 | Emergency Pediatric Outpatient | 急诊儿科门诊 | Cabinet | 库房柜子 |  | 880*410*1850mm 1. Cold rolled steel with electrostatics powder coating 2. 4 cabinets 3. With lock and name lable 4. A mirror is mounted on the inside of door, mirror size 140*100mm | 880*410*1850mm 规格：880*410*1850mm 参数： 1.整体选用冷轧钢材料制作，表面静电喷涂处理，板材厚度0.8mm，坚固耐用； 2.柜体采用四个单开门设计 3.每个柜门内设屉板一块，挂衣杆一个，门上带通风孔，门上配镜子（镜子尺寸：140*100mm）； 4.柜门配锁和标签 | 110 | 30 | CE | CE
15 | Emergency、ICU | 急诊、ICU | Screen | 屏风 |  | 174.5x35x195cm Product short description: 1. Foldable separation screen 3 sections, two hinges per curtained panel 2. Heavy carriage mounted on 6 swivel castors, of which two central ones with brake 3. Swivel castors are spaciously arranged, 4 central and 2 peripheral, for maximal stability 4. Curtains integrated centrally in the frame, leave no gaps near the hinges Material: 5. High resistance to corrosion (tropical environment) 6. Frame: epoxy coated tubular steel 7. Curtains: plastic, flexible, non-transparent, tear resistant, flame retardant, disinfectant- and liquid proof, washable. 8. Caster frame/bracket: steel 9. Caster brake: total-lock type, wheels lock 10. Caster wheel: single wheel, mold-on type, non-hooded (for easy maintenance | 174.5x35x195cm 1. 三段式可折叠,每节两个铰链 2. 6个脚轮两个带刹车 3.两段两个脚轮，中间四个脚轮外扩，保持稳定。 4. 屏布平整无缝隙 5. 防锈蚀 6. 框架: 环氧喷涂钢管 7. 屏布: 不透, 防撕, 阻燃, 可洗. 8. 框架：钢 9. 轮刹 10.脚轮：单面轮，易维护，防缠绕 | 55 | 30 | N/A | N/A
16 | OT | 手术室 | SS Cabinet | 物品柜 |  | 880X410X1850 1. Brush finish 304# stainless steel 2. Double door design 3. Transparent glass door 4. Five shelves 5. With lock | 规格：880*410*1850mm 参数： 1.整体采用优质304不锈钢； 3.柜体采用玻璃对开门设计，配有4层屉板；底部2个静音滑轨抽屉的设计。 4.玻璃选用4.0mm厚； 5.柜门配锁和扣手。 6.玻璃可选： 透明、磨砂、条纹 | 15 | 0 | CE | CE
17 | Emergency/Padiatrics/Imaging/ OT | 急诊儿科门诊影像科手术室 | Chair | 椅子 |  | L500XW500XH900mm 1.Electroplate steel support 2.Foam cushion 3.Breathable backrest design | L500XW500XH900mm 1.电镀钢框架 2.泡沫椅垫 3.透气靠背 | 430 | 180 | N/A | N/A
18 | OB/GYN/Emergency/pediatric/Outpatient/ECG /debridement/stomatology/ENT | 妇产科急诊儿科门诊心电图室清创室支具室口腔诊室五官科 | Examination Desk&Chair | 诊查桌椅 |  | L1600XW700XH750mm1.L shape table, E-1 level environmental protection chipboard 2.Steel table frame, comprises of wooden keyboard holder | L1600XW700XH750mm1.L 型, E-1 环保板材 2.钢框架带键盘托 | 60 | 0 | N/A | N/A
19 | Ward Emergency | 病房急诊 | Stretcher | 平车 |  | 1900*649*730mm 1.304＃304# stainless steel, brush finished panel and polish finished pipe. 3.Two-sided foldable side rails, four anti-winding noise-free castor Φ150mm with brakes, moving smoothly 4.Optional Accessories: I.V pole, plastic basket, mattress | 规格：1900*649*730mm 参数： 1.整体选用304#不锈钢材料制作 2.平车两侧配有可上下折叠的不锈钢护栏； 3.底部采用四只包罩轮，脚轮Φ150mm灰色静音轮，带刹车； 4.选配不锈钢可调输液杆、塑料杂物筐、床垫。 | 20 | 20 | CE | CE
20 | Outpatient/OB/GYN/Emergency/pediatric/debridement/acupuncture/ENT | 普通诊室妇产科急诊儿科门诊清创室支具室针灸室五官科 | Examination Bed | 检查床 |  | L1870XW600XH700mmCold Rolled Steel&PU+Foam | 外型尺寸：1870*600*650mm 参数： 1.整体床框为木质框架， 2、床面为优质皮革包面，内包高高密度海绵，内包海绵枕头 | 30 | 20 | CE | CE
21 | Emergency/pediatric/Outpatient | 急诊儿科门诊 | Infusion Chair | 输液椅 |  | Three seats for infusion | 输液椅，三座位 | 2 | 2 | N/A | N/A
22 | Emergency | 急诊 | IV Pole | 输液杆 |  | 500*500*1300-1900mm 1. Polish finished 304# stainless steel 2. 4 infusion hooks 3. Height adjustment 4. A round shpe SS handle 5. Four Ø50mm castors with brakes | 规格：500*500*1300-1900mm 参数： 1. 整体采用优质304不锈钢 2. 架子配备4个输液挂钩，圆形不锈钢把手，且车体高度可调节 3. 4个带闸Ø50mm小灰轮， | 25 | 25 | CE | CE
23 | Emergency/Pediatric/Outpatient/OT/Ward | 急诊儿科门诊手术室病房 | IV Pole | 输液架 |  | 600*600*1530-1850mm 1. Polish finished 304# stainless steel and powder coated cold olled steel 2. 4 infusion hooks 3. Height adjustment 4. A round shpe ABS handle, 2 rays inside of handle 5. Four 4个Ø80mm castors with brakes | 规格：600*600*1530-1850mm 参数： 1. 主体采用优质304不锈钢 2. 架子配备4个输液挂钩，圆形ABS把手，且车体高度可调节 3. 4个Ø80mm带闸包罩轮 | 100 | 50 | CE | CE
24 | Emergency | 急诊 | Laundry trolley | 被服车 |  | L800XW500XH900mm1. Brush finish 304# stainless steel 2. One storage for cloth, 2 nylon bags 3. One big handle 4. Two Ø100mm castors with brake | 规格：800*500*900mm 参数： 1. 整体采用优质304不锈钢 2. 配2个绿色卡丹尼布袋 3. 四个带闸Ø100mm包罩轮 4. 配超大推手 | 25 | 15 | CE | CE
25 | Emergency | 急诊 | Beding Matress | 被服、床垫 |  |  |  | 90 | 90 | N/A | N/A
26 | Ward/Classic Ward/Clinic/debridement/stomatology/ENT /Emergency/OT/Patriatc | 病房普通诊室清创室支具室口腔诊室五官科急诊手术室、儿科门诊 | X-Ray Viewer | 观片灯 |  | 1. L800*H440*D105mm 2. LED display 3. Four tubes | 1. L800*H440*D105mm 2. LED 屏 3. 4灯管 | 50 | 10 | N/A | N/A
27 | OT/Emergency | 手术室急诊 | 3 Crank Bed | 3揺床 |  | Dimensions: L2220*W980*H430-680mm Bed Surface: 1980*900mm Backrest adjustment: 0-75° Legrest adjustment: 0-45° Height adjustmen: 430-680mm Material: 1. Bed surface, structure and leg are all made of premium cold rolled steel with electrostatic powder coating 2. The bed surface comprises four foldable sections, shaped by once-forming of stamping 3. Detachable ABS bed head and foot with corner bumper 4. Stainless steel collapsible side rails Features: 1. Three functions: Backrest, legrest, height adjustment 2. Mechanical crank operation with overload protection 3. The screw handle is foldable under the bed foot 4. Clear acrylic head card for patient name display 5. Four infusion holes, four drainage hooks around the bed 6. Four 125mm diameter castors with wheels brake 7. Load capacity: 250KG Optional accessories: I.V pole, Central lock system, Mattress | Dimensions: L2220*W980*H430-680mm Bed Surface: 1980*900mm Backrest adjustment: 0-75° Legrest adjustment: 0-45° Height adjustmen: 430-680mm Material: 1. Bed surface, structure and leg are all made of premium cold rolled steel with electrostatic powder coating 2. The bed surface comprises four foldable sections, shaped by once-forming of stamping 3. Detachable ABS bed head and foot with corner bumper 4. Stainless steel collapsible side rails Features: 1. Three functions: Backrest, legrest, height adjustment 2. Mechanical crank operation with overload protection 3. The screw handle is foldable under the bed foot 4. Clear acrylic head card for patient name display 5. Four infusion holes, four drainage hooks around the bed 6. Four 125mm diameter castors with wheels brake 7. Load capacity: 250KG Optional accessories: I.V pole, Central lock system, Mattress | 30 | 30 | CE FDA CFDA | CE FDA CFDA
28 |  |  | 2 Crank Bed | 2摇床 |  | Dimensions: L2220*W980*H500mm Bed Surface: 1980*900mm Backrest adjustment: 0-75° Legrest adjustment: 0-45° Material: 1. Bed surface, structure and leg are all made of premium cold rolled steel with electrostatic powder coating 2. The bed surface comprises four foldable sections, shaped by once-forming of stamping 3. Detachable ABS bed head and foot with corner bumper 4. Stainless steel collapsible side rails Features: 1. Two functions: Backrest, legrest adjustment 2. Mechanical crank operation with overload protection 3. The screw handle is foldable under the bed foot 4. Clear acrylic head card for patient name display 5. Four infusion holes, four drainage hooks around the bed 6. Four 125mm diameter castors with wheels brake 7. Load capacity: 250KG Optional accessories: I.V pole, Central lock system, Mattress | 外型尺寸：2220*980*500mm 床体尺寸：1980*900mm 参数： 1.整体床框为冷轧钢，一次冲压床板，喷涂颜色JDSC-05； 2.安颐ABS床头、床尾,型号JDPCT111； 3.铝合金上杆不锈钢五柱折叠护栏JDPHL111； 4.两功能，背部折起0-75°、腿部折起0-45； 5.可选配脚轮中控刹车或带刹脚轮，直径125mm。 标准配件：输液杆，杂物筐 选配配件：折叠、可伸缩餐桌，床垫 | 40 | 40 | CE FDA CFDA | CE FDA CFDA
29 | Ward | 病房 | Bed+Bedside cabinet+Matress+Beding | 病床+床头柜+床垫+被褥 |  | Lori 3fuctions bed ABS beside cabinet Matress | 乐怡三功能床 ABS床头柜 床垫 | 35 | 0 | CE FDA CFDA | CE FDA CFDA
30 | ICU | ICU | Bedsid Cabinet | 床头柜 |  | 480*480*780mm 1. Materials: ABS plastic 2. Functions: one drawer with an extendible dining table and one door for storage; 2pcs towel hangers on the each sides of cabinet, hooks, (shoe rack), water bottleholder inside 3. Color: Blue, Gray, White, and Various colors available 4. Feature: Reliable quality, strong packing, saving space, modern design, match any type of bed 5. Scope of application: Home/Hospital/ Hotel/ Sanatorium | 480*480*780mm 1. Materials: ABS plastic 2. Functions: one drawer with an extendible dining table and one door for storage; 2pcs towel hangers on the each sides of cabinet, hooks, (shoe rack), water bottleholder inside 3. Color: Blue, Gray, White, and Various colors available 4. Feature: Reliable quality, strong packing, saving space, modern design, match any type of bed 5. Scope of application: Home/Hospital/ Hotel/ Sanatorium | 125 | 80 | CE | CE
31 |  |  | Matress | 床垫 |  | L1980×W880xH80mm | L1980×W880xH80mm | 90 | 85 | N/A | N/A
32 | Ward | 病房 | Attendant Couch | 陪护椅 |  | 1900*700*600mm（Lying position）L825*W700*H948mm(Seat Position) 1. Material: Framework is all made of 304＃304# stainless steel, polish finished; the cover of chair is high quality simulation leather, high-density sponge with pillow, thickness of sponge is 100mm; large armrest; a storage shelf under the seat; 2.Functions: Easily foldable by just one hand; with lock device; with four castors 3Features: Easily cleaning; Strong structure; Saving space; Corrosion resistance 4. Loading capacity: 200 KG 5. Scope of application: Home/Hospital/Clinic/Pharmacy/Sanatorium | 规格：1900*700*600mm（躺位）L825*W700*H948mm（坐位） 参数： 1.主体选用304不锈钢材料； 2.椅面为皮革面，内包高弹力高密度海绵，厚度10cm，内包枕头； 3.ABS加宽扶手； 4.陪护椅座部下设杂物架； 5.展开时只需轻抬座部前方，拉出即可，采用气弹簧缓冲装置； 6.展开机构配置锁具。 | 110 | 60 | CE | CE
33 | Ward | 病房 | Treatment Bed | 治疗床 |  | L1870XW600XH700mmCold Rolled Steel&PU+Foam | 外型尺寸：2000*650*650mm 参数： 1.整体选用优质冷轧钢，喷涂颜色JDSC-14； 2.床面为皮革面，内包高密度海绵,床头一侧内包小枕头； 3.四腿安装橡胶防滑胶套。 选配：卷纸轴 枕头 | 20 | 0 | CE | CE
34 | TCM Massage room | 中医科推拿室 | Massage Bed | 按摩床 |  | L1870XW600XH700mm304# Stainless Steel&PU+Foam | 外型尺寸：1870*600*700mm 床体尺寸： 参数： 1.整体床框为冷轧钢，喷涂颜色JDSC-14； 2.床面为皮革面，内包高密度海绵； 3.两功能，背部折起0-45°，腿部抬起0-30°； 4.四腿安装橡胶防滑胶套。 5、带脸孔 | 5 | 0 | CE | CE
35 | Pharmacy ICU、Emergency、Ward OT | 药剂科病房ICU、急诊、病房手术室 | Storage cabinet（Medicine、Disposable、Instrument） | 货柜（药品、敷料、器械） |  | 900X450X1800 1. Brush finish 304# stainless steel 2. Open design 3. Allowed to install 12 medicine boxes 4. One bottom cabinet 5. With lock | 规格：900*450*1800mm 参数： 1.整体采用优质304不锈钢； 2、上柜体ABS药盒抽拉结构； 3、下柜体对开门设计 4、柜门配不锈钢扣手 | 50 | 20 | CE | CE
36 | OT | 手术室 | Rack | 货架 |  | 800*500*1800mm 1. Polish finished 304# stainless steel 2. Four side netty rim 3. Five shelves 4. Four Ø100mm castors with brakes | 规格：800*500*1800mm 参数： 1. 整体采用优质304不锈钢 3. 底部装配4个Ø100mm带闸包罩轮 | 10 | 2 | CE | CE
37 | Emergency | 急诊 | Medical record Cabinet | 病历存放柜 |  | 880*410*1850mm 1. Brush finish 304# stainless steel 2. Double door design 3. Transparent glass door, thickness of glass is 5mm 4. Four tiers divider 5. Two bottom drawers 6. With lock | 规格：880*410*1850mm 参数： 1.整体采用优质304不锈钢； 3.柜体采用玻璃对开门设计，配有4层屉板；底部2个静音滑轨抽屉的设计。 4.玻璃选用4.0mm厚； 5.柜门配锁和扣手。 6.玻璃可选： 透明、磨砂、条纹 | 60 | 20 | CE | CE
38 | Emergency | 急诊 | File Holder | 病历夹 |  | ABS materials A4 size | ABS A4 | 180 | 180 | N/A | N/A
39 | Ward/Pharmacy/Emergency/pediatric/Outpatient/OT | 病房药剂科急诊儿科门诊手术室 | Refrigerator | 冰箱 |  | 1. Brand: Haier 2. Two doors 3. Silver color 4. 118L 5. L536*D475*H1136 | 1.品牌海尔 2. 双门 3. 银色 4. 118L 5. L536*D475*H1136 | 65 | 30 | N/A | N/A
40 | Ward ICU | 病房ICU | Housekeeping Trolley | 护理车 |  | 1050*475*900 Materials: 1.Surface: ABS molded table mounting 304 stainless steel plate, features abrasion resistance and corrosion resistance; three-sided 304 stainless steel fence to avoid any falling of materials. 2.Pillar: Aluminum alloy pillar with powder coated. 3.Round bumper: on the bottom of trolley body. 4.Loading: Drawer loading: 50KG; Overall loading: 200KG. | 1050*475*900 材质: 1.台面: ABS台面 覆盖 不锈钢板, 防刮防腐蚀; 三面304不锈钢护栏，防落物. 2.立柱: 铝型材. 3.防撞: 下部四角. 4.承重:抽屉 50KG; 整体: 200KG. | 25 | 12 | CE | CE
41 | Ward ICU | 病房ICU | Medicine Trolley | 服药车 |  | 650*475*900 A. Materials: 1.Surface: ABS molded table mounting 304 stainless steel plate, features abrasion resistance and corrosion resistance; three-sided 304 stainless steel fence to avoid any falling of materials. 2.Pillar: Aluminum alloy pillar with powder coated. 3.Board: High-quality aluminum composite panel for side board and back board. 4.Drawer: All drawers are detachable design, easy cleaning and replace.Zinc coated steel drawer. 5.Drawer handle: ABS B.Spaces: Lager and classified storage with PC dividers. C.Castor: Noise-free caster with brake, of which diameter is 100mm. D.Round bumper: on the bottom of trolley body. E.Loading: Drawer loading: 50KG; Overall loading: 200KG.1. Extension Table; 2. Waste Bin; 3. PC Transparent Divider; 4. 304SS Wire Basket; 5. Castor With Brake; 6. Non-slip Mat; 7. Soft Closing Drawer; 8. Central Lock. | 650*475*900 1.台面: ABS台面 覆盖 不锈钢板, 防刮防腐蚀; 三面304不锈钢护栏，防落物. 2.立柱: 铝型材. 3.板材: 背板和侧板为高品质铝塑板. 4.抽屉: 所有抽屉可拆卸，易处理清洁。镀锌板抽屉 5.抽屉拉手: ABS B.抽屉: 大抽屉PC隔板分类存储. C.脚轮: 100mm静音双面脚轮. D.防撞:车体下部. E.4.承重:抽屉 50KG; 整体: 200KG. .1. 侧拉板 2. 污物桶; 3. PC 隔板; 4. 304SS不锈钢框; 5. 刹车脚轮; 6. 防滑垫; 7. 阻尼滑轨; 8. 中控锁. | 25 | 12 | CE | CE
42 | Ward ICU | 病房ICU | Medical Record trolley | 病历车 |  | 650*475*900 A. Materials: 1.Surface: ABS molded table mounting 304 stainless steel plate, features abrasion resistance and corrosion resistance; three-sided 304 stainless steel fence to avoid any falling of materials. 2.Pillar: Aluminum alloy pillar with powder coated. 3.Board: High-quality aluminum composite panel for side board and back board. 4.Drawer: All drawers are detachable design, easy cleaning and replace.Zinc coated steel drawer. 5.Drawer handle: ABS B.Spaces: Lager and classified storage with PC dividers. C.Castor: Noise-free caster with brake, of which diameter is 100mm. D.Round bumper: on the bottom of trolley body. E.Loading: Drawer loading: 50KG; Overall loading: 200KG. 1.Soft Closing Drawer; 2.Castor With Brake; 3.Non-slip Mat. | 650*475*900 1.台面: ABS台面 覆盖 不锈钢板, 防刮防腐蚀; 三面304不锈钢护栏，防落物. 2.立柱: 铝型材. 3.板材: 背板和侧板为高品质铝塑板. 4.抽屉: 所有抽屉可拆卸，易处理清洁。镀锌板抽屉 5.抽屉拉手: ABS B.抽屉: 大抽屉PC隔板分类存储. C.脚轮: 100mm静音双面脚轮. D.防撞:车体下部. E.4.承重:抽屉 50KG; 整体: 200KG. 1.阻尼滑轨; 2.带刹脚轮; 3.防滑垫. | 10 | 0 | CE | CE
43 | WardICU、Emergency pediatric Outpatient | 病房ICU、急诊儿科门诊 | Emergency Trolley | 急救车 |  | 650*475*970 A. Materials: 1.Surface: ABS molded table mounting 304 stainless steel plate, features abrasion resistance and corrosion resistance; three-sided 304 stainless steel fence to avoid any falling of materials. 2.Pillar: Aluminum alloy pillar with powder coated. 3.Board: High-quality aluminum composite panel for side board and back board. 4.Drawer: All drawers are detachable design, easy cleaning and replace.Zinc coated steel drawer. 5.Drawer handle: ABS B.Spaces: Lager and classified storage with PC dividers. C.Castor: Noise-free caster with brake, of which diameter is 100mm. D.Round bumper: on the bottom of trolley body. E.Loading: Drawer loading: 50KG; Overall loading: 200KG.1. Extension Table; 2. Waste Bin; 3. PC Transparent Divider; 4. 304SS Wire Basket; 5. Castor With Brake; 6. Non-slip Mat; 7. Soft Closing Drawer; 8. Central Lock. 1. CRS Defibrillator Shelf; 2. Extension Table; 3. 'L'Shape I.V. Pole; 4. CPR Board; 5. Waste Bin; 6. External Power Holder And Plug Board; 7. Oxygen Tank Holder; 8. PC Transparent Divider; 9. 340SS Wire Basket; 10. Castor With Brake; 11. Non-slip Mat; 12. Soft Closing Drawer; 13. Seals or Central Locks. | 650*475*970 1.台面: ABS台面 覆盖 不锈钢板, 防刮防腐蚀; 三面304不锈钢护栏，防落物. 2.立柱: 铝型材. 3.板材: 背板和侧板为高品质铝塑板. 4.抽屉: 所有抽屉可拆卸，易处理清洁。镀锌板抽屉 5.抽屉拉手: ABS B.抽屉: 大抽屉PC隔板分类存储. C.脚轮: 100mm静音双面脚轮. D.防撞:车体下部. E.4.承重:抽屉 50KG; 整体: 200KG. 1. 侧拉板; 2. 污物桶; 3. PC 隔板; 4. 304SS不锈钢框; 5. 带刹脚轮; 6. 防滑垫; 7. 阻尼滑轨; 8. 中控锁. 9. CRS 仪器平台; 10. 插座 11. 氧气瓶支架; | 5 | 5 | CE | CE
44 | WardICU、Emergency pediatric Outpatient | 外科急诊儿科门诊手术室 | Treatment Trolley | 治疗车 |  | 650*475*970 A. Materials: 1.Surface: ABS molded table mounting 304 stainless steel plate, features abrasion resistance and corrosion resistance; three-sided 304 stainless steel fence to avoid any falling of materials. 2.Pillar: Aluminum alloy pillar with powder coated. 3.Board: High-quality aluminum composite panel for side board and back board. 4.Drawer: All drawers are detachable design, easy cleaning and replace.Zinc coated steel drawer. 5.Drawer handle: ABS B.Spaces: Lager and classified storage with PC dividers. C.Castor: Noise-free caster with brake, of which diameter is 100mm. D.Round bumper: on the bottom of trolley body. E.Loading: Drawer loading: 50KG; Overall loading: 200KG.1. Extension Table; 2. Waste Bin; 3. PC Transparent Divider; 4. 304SS Wire Basket; 5. Castor With Brake; 6. Non-slip Mat; 7. Soft Closing Drawer; 8. Central Lock. 1. CRS Defibrillator Shelf; 2. Extension Table; 3. 'L'Shape I.V. Pole; 4. CPR Board; 5. Waste Bin; 6. External Power Holder And Plug Board; 7. Oxygen Tank Holder; 8. PC Transparent Divider; 9. 340SS Wire Basket; 10. Castor With Brake; 11. Non-slip Mat; 12. Soft Closing Drawer; 13. Seals or Central Locks. 1. Extension Table; 2. Waste Bin; 3. PC Transparent Divider; 4. 304SS Wire Basket; 5. Castor With Brake; 6. Non-slip Mat; 7. Soft Closing Drawer; 8. Central Lock. | 650*475*900 1.台面: ABS台面 覆盖 不锈钢板, 防刮防腐蚀; 三面304不锈钢护栏，防落物. 2.立柱: 铝型材. 3.板材: 背板和侧板为高品质铝塑板. 4.抽屉: 所有抽屉可拆卸，易处理清洁。镀锌板抽屉 5.抽屉拉手: ABS B.抽屉: 大抽屉PC隔板分类存储. C.脚轮: 100mm静音双面脚轮. D.防撞:车体下部. E.4.承重:抽屉 50KG; 整体: 200KG..1. 侧拉板; 2. 污物桶; 3. PC 隔板; 4. 304SS 不锈钢框; 5. 带刹脚轮; 6. 防滑垫; 7.阻尼抽屉; | 5 | 5 | CE | CE
45 | OT | 手术室 | Instrument Trolley | 仪器车 |  | 600*450*900mm 1. Brush finished 304# stainless steel 2. Trolley table is with three-side rims, the bottom shelf is with four-side rims 3. One bottom shelf 4. One drawers 5. Four Ø100mm castors with brakes | 规格：600*450*900mm 参数： 1. 整体采用优质304不锈钢 2. 车体采用第一层1个抽屉，第二层屉板配四面围栏的设计理念 3. 四个带闸Ø100mm包罩轮 | 5 | 5 | CE | CE
46 | OT | 手术室 | Equipment Trolley | 器械车 |  | L650XW450XH900mm1. Brush finish 304# stainless steel 2. Two shelves 3. Three sided rim and four side rim on the bottom shelf 4. Two Ø100mm castors with brake | 规格：750*500*900 参数： 1. 整体采用优质304不锈钢 2. 车体采用第一层三面围栏屉板，第二层屉四面围栏屉板的设计理念 3. 四个带闸Ø100mm包罩轮 | 5 | 5 | CE | CE
47 | Ward ICU | 病房ICU | Bin Trolley | 污物车 |  | 856*650*978mm 1. Cold rolled steel frame work with electrostatic powder coating, 2. ABS cover, two high quality ABS buckets for garbage classification, four Φ100mm noise-free anti-winding castors 3. White frame work, yellow and blue ABS cover 4. Pedal switch, Φ100mm castor with brakes, easy cleaning | 规格：856*650*978mm （估值） 参数： 1.主体框架采用优质冷轧钢和304#不锈钢材质，表面静电喷涂处理JDSC-14 白色； 2.ABS模具成型污物盖，带扶手； 3.车体设计为两联，灰色桶身，污物桶盖为三种颜色可选，黄绿蓝色； 4.脚踏开盖设计，复位功能，橡胶脚踏垫不磨损； 5.底部采用四只包罩轮，脚轮Φ100mm，四支脚轮全部带刹车。 | 20 | 20 | CE | CE
48 | Outpatient | 病房门诊 | electronic sphygmomanometer | 电子血压计 |  | Brand: Omron | 品牌：欧姆龙 | 50 | 50 | N/A | N/A
49 | ENT | 五官科 | ENT Treatment Cabinet | 耳鼻喉综合治疗台 |  | 930x700x2000mm 1. One shelf in top cabinet 2. One shelf in the middle of cabinet 3. One ABS medicine tray in each of drawer 4. Six ABS medicine tray in the bottom cabinet 5. Tilt tray design, easy to manage the medicine 6. Microlite table 7. Stainless steel skirting line | 930x700x2000mm 1. 每个顶柜配一个梯板 2. 中部配一个梯板 3.每个抽屉内配一个ABS托盘 4.底部柜内配6个ABS托盘 5. 折叠托盘设计 6. 微晶板台面 7. 不锈钢踢脚线 | 5 | 5 | N/A | N/A
50 | OT、ICU、Ward/Stomatology | 手术室、ICU、病房口腔诊室 | Treatment Cabinet | 治疗台 |  | 930*700*900 1. One ABS medicine tray in each of drawer 2. Six ABS medicine tray in the bottom cabinet 3. Tilt tray design, easy to manage the medicine 4. Microlite table 5. Stainless steel skirting line | 930x700x900mm 1. 每个抽屉一个ABS托盘 2. 底柜6个ABS托盘 3. 折叠托盘设计 4. 微晶石台面 5. 304不锈钢踢脚线 | 35 | 15 | N/A | N/A
51 | Ward Emergency | 病房急诊 | Wheel chair | 轮椅 |  | 1. Cold rolled steel frame with powder coated 2. 660*1070*900mm 3. Foldable | 1. 冷轧钢喷涂 2. 660*1070*900mm 3. 可折叠 | 15 | 15 | N/A | N/A
52 | Ward | 病房 | Waste Bin | 污物桶 |  | 1. Stainless steel 2. 20L | 1. 不锈钢 2. 20L | 175 | 80 | N/A | N/A
53 | Ward | 病房 | UV Disinfection Trolley | 紫外线灯车 |  | 450X350X1170 1.Lamp-tube: 2 tubes inside, 30W each 2.Input power: AC220V+22V; 50Hz+1Hz 3.Irradiance: ≥90mμ/cm2 4.Timing control: between 0-60 minutes, tolerance:+10% | 外形尺寸：450X350X1170 1.灯管: 2 灯管, 30W每只 2.输入电源: AC220V+22V; 50Hz+1Hz 3.辐射: ≥90mμ/cm2 4.定时：l: 0-60 分,+10% | 20 | 10 | CE | CE
54 | OT | 手术室 | Operation Table | 手术床 |  | Product Name Operating Table External dimensions all areas extended L201*W50*H76-101cm Height adjustment 76-101cm Height adjustable feet, footprint 5.4-6.6cm (diameter) Upholstery thickness 5cm Carrying capacity 176kg Knockdown construction no | 手术台 外形尺寸 L201*W50*H76-101cm 高度调节 76-101cm 垫材厚度 5cm 承重 176kg 不可拆卸 | 1 | 1 | CE | CE
55 | ICU | ICU | Electric ICU Bed | 电动ICU床 |  | Dimensions: L2250*W1060*H450-750mm Bed Surface: 1980*900mm Backrest adjustment: 0-75° Legrest adjustment: 0-45° Height adjustmen: 450-750mm Trendelenburg and reverse trendelenburg: 0-±12° Material: 1. Bed surface, structure and leg are all made of premium cold rolled steel with electrostatic powder coating 2. The bed surface comprises four foldable sections, shaped by once-forming of stamping 3. Detachable 'Smile face' ABS bed head and foot 4. Four-section 'Smile face' ABS gas spring side rails Features: 1. Electric eight functions: Backrest, legrest, height adjustment, trendeleburg and reverse trendeleburg, backrest and legrest adjustment simultaneously, dual side CPR(optional), weighing scale system(optional) 2. Four Linak motors, high quality and noise-free, with remote control 3. Clear acrylic head card for patient name display 4. Four infusion holes, four drainage hooks around the bed 5. Four 125mm diameter castors with wheel wheels brake 6. Load capacity: 250KG Optional accessories: I.V pole, nurse control panel, Central lock system, backup battery, Mattress | 外型尺寸：2250*1060*450-750mm 床体尺寸：1980*900mm 参数： 1.整体床框为冷轧钢,自制折边床板，喷涂颜色：JDSC-05卡其白； 2.乐颐ABS床头、床尾型号JDPCT271； 3.乐颐ABS护栏，型号JDPHL271； 4.五功能，背部折起0-75°、腿部折起0-45°、整体升降450-750mm、整体倾斜±12° 、背膝联动 5.选配功能，称重(最小刻度精确到10g)功能，手动CPR功能 6.Linak电机； 7.可选配脚轮中控脚轮（施可瑞）和带刹脚轮，直径125mm。 标准配件：输液杆 选配配件：可伸缩餐桌，床垫，备用电池 | 15 | 15 | CE FDA CFDA | CE FDA CFDA
56 | OB/GYN | 妇产科 | gynecological examining bed | 妇检床 |  | Product Name Gynecology and Delivery Table External dimensions including padding L162*W75*H85.5cm Frame material dimension 3cm (outside, across), 2m (thickness) Upholstery thickness 5cm Carrying capacity 160kg Slide-out basin-tray capacity 4L Knockdown construction yes | 妇科诊查床 外形尺寸（包含床垫）g、 L162*W75*H85.5cm 框架 3cm (直径), 2mm (厚度) 垫材厚度 5cm 承重 160kg 拖盆容积 4L 可拆卸 | 2 | 1 | CE | CE
57 | OT | 手术室 | Sugical Sink | 外科洗手池 |  | 1400 Sink height: 900-1000mm 1. Brush finished 304# stainless steel 2. Sesor mixer tap, Splash proof 3. Sesor soap or disinfecting liquid dispenser 4. Brush container 5. With mirrors 6. With lights 7. A bottom cabinet Optional Accessories: Heating machine, hand drier | 规格：1400*585*1900mm;倾斜台面，前低后高900/1000mm； 1.整体选用304#不锈钢材料焊接打磨而成，板材拉丝处理，管材抛光处理； 2.感应专用防飞溅水龙头； 3.自动给水、自动给皂/液、自动加热、后背板安装刷手盒、灯； 4.洗手池上部配置理容镜； 5、包装内口尺寸：1410*600*1900 6、托盘尺寸：1430*630 | 5 | 2 | CE | CE
58 | OT | 手术室 | OT Transfer Trolley | 对接平车 |  | 3650*640*640-970mm 1. Aluminum alloy slide rail for Patient transfer trolley, two seperated trolley can be jointed 2. PP plastic bed surface and side rails 3. ABS hydraulic spring side rails, easy operation by single hand, imported damper for backrest 70° and height adjustment, central brake system, 4.Optional Accessories: 304# stainless steel infusion stand, mattress,oxygen tank holder | 规格：3650*640*640-970mm 1.铝合金轨道车架，表面静电粉末喷涂； 2.PP床面及护栏，护栏采用液压助力系统； 3.背部可无级调节升降，气压助力方式，背部折起≥70º； 4.可升降导向轮，中控静音脚轮，脚轮直径150mm； 5.对接车配转移垫、输液架。 | 5 | 5 | CE | CE
59 | OT | 手术室 | OT Seat | 手术椅 |  | Ø340X500-650mm1. Polish finish stainless steel 2. Swivel chair top 3. Chair top is made of leather 4.Gas spring up and down | 规格：Ø340*500-650mm 参数： 1、主体框架选用不锈钢材质 2、可顺畅升降 3、圆凳座面采用优质皮革包面 4、脚轮采用直径50mm黑色脚轮， | 40 | 20 | CE | CE
合计 | [7 empty] | 2595

## Laboratory furniture
No.序号 | 科室Department | Item Name | 品名 | Reference Pic.参考图 | Certification | Unit单位 | შემოთავაზე- ბული რაოდენობა | რაოდენობა, რომლის მიღებაც ცენტრს შეუძლია დღევანდელი მდგომარეობით
1 | Laboratory | Central Lab Table | Central Lab Table |  | N/A | Set | 14 | 0
2 | Laboratory | Lab Table | Lab Table |  | N/A | Set | 25 | 0
合计 | [6 empty] | 39